## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BENZTROPINE | 2440 | 67997LCM56 | 2014-10-25 | ng/L | 0.4981 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 63.24 | BENZTROPINE | E | 24 | 31.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4981 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.44177 | 0.079667 | 0.44177 | 0.11267 | 0.083518
BENZTROPINE | 2440 | 67997LCM56 | 2015-04-30 | ng/L | 0.38544 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 33.728 | BENZTROPINE | E | 24 | 13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38544 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.44177 | 0.079667 | 0.44177 | 0.11267 | 0.083518
BENZTROPINE | 2440 | 67997LCM56 | 2015-02-06 | ng/L | 0.40627 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 63.75 | BENZTROPINE | E | 24 | 25.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40627 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.40627 |  | 0.40627 | 0 | 0
BENZTROPINE | 2440 | 67997LCM56 | 2015-07-30 | ng/L | 0.62569 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 72.24 | BENZTROPINE | E | 24 | 45.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62569 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.45681 | 0.23883 | 0.45681 | 0.33776 | 0.25038
BENZTROPINE | 2440 | 67997LCM56 | 2015-08-11 | ng/L | 0.28793 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 36.12 | BENZTROPINE | E | 24 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.28793 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.45681 | 0.23883 | 0.45681 | 0.33776 | 0.25038
BENZTROPINE | 2440 | 67997LCM56 | 2015-07-31 | ng/L | 0.55094 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 72.24 | BENZTROPINE | E | 24 | 39.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55094 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.55094 |  | 0.55094 | 0 | 0
BENZTROPINE | 2440 | 67997LCM56 | 2015-10-01 | ng/L | 1.2112 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 144.48 | BENZTROPINE | E | 24 | 175 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2112 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2112 |  | 1.2112 | 0 | 0
BENZTROPINE | 2440 | 67997LCM56 | 2015-03-11 | ng/L | 0.40941 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 63.75 | BENZTROPINE | E | 24 | 26.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40941 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.40941 |  | 0.40941 | 0 | 0
BENZTROPINE | 2440 | 67997LCM56 | 2014-10-11 | ng/L | 0.31059 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 63.75 | BENZTROPINE | E | 24 | 19.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31059 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.42255 | 0.11387 | 0.41882 | 0.22765 | 0.16875
BENZTROPINE | 2440 | 67997LCM56 | 2014-12-06 | ng/L | 0.41882 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 63.75 | BENZTROPINE | E | 24 | 26.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41882 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.42255 | 0.11387 | 0.41882 | 0.22765 | 0.16875
BENZTROPINE | 2440 | 67997LCM56 | 2014-12-07 | ng/L | 0.53824 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 34 | BENZTROPINE | E | 24 | 18.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53824 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.42255 | 0.11387 | 0.41882 | 0.22765 | 0.16875
BENZTROPINE | 2440 | 67997LCM56 | 2014-10-24 | ng/L | 0.37951 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 33.728 | BENZTROPINE | E | 24 | 12.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.37951 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.48545 | 0.10925 | 0.47913 | 0.21822 | 0.16176
BENZTROPINE | 2440 | 67997LCM56 | 2014-12-07 | ng/L | 0.59772 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 63.24 | BENZTROPINE | E | 24 | 37.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59772 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.48545 | 0.10925 | 0.47913 | 0.21822 | 0.16176
BENZTROPINE | 2440 | 67997LCM56 | 2015-03-10 | ng/L | 0.47913 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 63.24 | BENZTROPINE | E | 24 | 30.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47913 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.48545 | 0.10925 | 0.47913 | 0.21822 | 0.16176
BENZTROPINE | 2440 | 67997LCM56 | 2015-04-29 | ng/L | 0.38745 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 63.75 | BENZTROPINE | E | 24 | 24.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38745 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.38745 |  | 0.38745 | 0 | 0
BENZTROPINE | 2440 | 67997LCM56 | 2015-10-01 | ng/L | 1.0936 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 144.48 | BENZTROPINE | E | 24 | 158 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0936 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0936 |  | 1.0936 | 0 | 0
BENZTROPINE | 2440 | 67997LCM56 | 2015-09-15 | ng/L | 0.57222 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 36 | BENZTROPINE | E | 24 | 20.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57222 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.57222 |  | 0.57222 | 0 | 0
BENZTROPINE | 2440 | 67997LCM56 | 2015-09-09 | ng/L | 0.71389 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 36 | BENZTROPINE | E | 24 | 25.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71389 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.71389 |  | 0.71389 | 0 | 0
BENZTROPINE | 2440 | 67997LCM56 | 2015-10-01 | ng/L | 0.52778 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 72 | BENZTROPINE | E | 24 | 38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52778 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.52778 |  | 0.52778 | 0 | 0