## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BETAMETHASONE | 2440 | 67485LCM56 | 2014-05-17 | ng/L | 0.87892 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 228.69 | BETAMETHASONE | . | 114 | 201 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87892 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89058 | 0.088036 | 0.87892 | 0.17491 | 0.12966
BETAMETHASONE | 2440 | 67485LCM56 | 2014-06-11 | ng/L | 0.98386 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 457.38 | BETAMETHASONE | E | 114 | 450 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98386 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.89058 | 0.088036 | 0.87892 | 0.17491 | 0.12966
BETAMETHASONE | 2440 | 67485LCM56 | 2014-06-28 | ng/L | 0.80896 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 228.69 | BETAMETHASONE | . | 114 | 185 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80896 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89058 | 0.088036 | 0.87892 | 0.17491 | 0.12966
BETAMETHASONE | 2440 | 67485LCM56 | 2014-09-12 | ng/L | 0.94888 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 228.69 | BETAMETHASONE | . | 114 | 217 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94888 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.94383 | 0.17389 | 0.99917 | 0.24187 | 0.17929
BETAMETHASONE | 2440 | 67485LCM56 | 2014-10-25 | ng/L | 1.0801 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 457.38 | BETAMETHASONE | . | 114 | 494 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0801 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.94383 | 0.17389 | 0.99917 | 0.24187 | 0.17929
BETAMETHASONE | 2440 | 67485LCM56 | 2015-02-10 | ng/L | 1.0495 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 243.936 | BETAMETHASONE | . | 114 | 256 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0495 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.94383 | 0.17389 | 0.99917 | 0.24187 | 0.17929
BETAMETHASONE | 2440 | 67485LCM56 | 2015-04-30 | ng/L | 0.6969 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 243.936 | BETAMETHASONE | . | 114 | 170 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6969 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.94383 | 0.17389 | 0.99917 | 0.24187 | 0.17929
BETAMETHASONE | 2440 | 67485LCM56 | 2014-05-30 | ng/L | 1.1369 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 228.69 | BETAMETHASONE | . | 114 | 260 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1369 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0349 | 0.13719 | 1.0888 | 0.25799 | 0.19125
BETAMETHASONE | 2440 | 67485LCM56 | 2014-06-22 | ng/L | 0.87892 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 457.38 | BETAMETHASONE | E | 114 | 402 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87892 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0349 | 0.13719 | 1.0888 | 0.25799 | 0.19125
BETAMETHASONE | 2440 | 67485LCM56 | 2014-07-13 | ng/L | 1.0888 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 228.69 | BETAMETHASONE | . | 114 | 249 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0888 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0349 | 0.13719 | 1.0888 | 0.25799 | 0.19125
BETAMETHASONE | 2440 | 67485LCM56 | 2014-10-10 | ng/L | 1.1447 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 228 | BETAMETHASONE | . | 114 | 261 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1447 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1732 | 0.040318 | 1.1554 | 0.074561 | 0.055272
BETAMETHASONE | 2440 | 67485LCM56 | 2014-11-04 | ng/L | 1.1554 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 243.2 | BETAMETHASONE | E | 114 | 281 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1554 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.1732 | 0.040318 | 1.1554 | 0.074561 | 0.055272
BETAMETHASONE | 2440 | 67485LCM56 | 2015-02-06 | ng/L | 1.2193 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 456 | BETAMETHASONE | . | 114 | 556 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2193 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1732 | 0.040318 | 1.1554 | 0.074561 | 0.055272
BETAMETHASONE | 2440 | 67485LCM56 | 2015-07-30 | ng/L | 1.0351 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 341.04 | BETAMETHASONE | E | 114 | 353 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0351 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.88699 | 0.20941 | 0.88699 | 0.29615 | 0.21954
BETAMETHASONE | 2440 | 67485LCM56 | 2015-08-11 | ng/L | 0.73892 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 170.52 | BETAMETHASONE | E | 114 | 126 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73892 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.88699 | 0.20941 | 0.88699 | 0.29615 | 0.21954
BETAMETHASONE | 2440 | 67485LCM56 | 2015-06-09 | ng/L | 1.0028 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 170.52 | BETAMETHASONE | . | 114 | 171 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0028 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0028 |  | 1.0028 | 0 | 0
BETAMETHASONE | 2440 | 67485LCM56 | 2015-06-26 | ng/L | 0.70959 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 170.52 | BETAMETHASONE | . | 114 | 121 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70959 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71986 | 0.014514 | 0.71986 | 0.020525 | 0.015215
BETAMETHASONE | 2440 | 67485LCM56 | 2015-07-31 | ng/L | 0.73012 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 341.04 | BETAMETHASONE | E | 114 | 249 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73012 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.71986 | 0.014514 | 0.71986 | 0.020525 | 0.015215
BETAMETHASONE | 2440 | 67485LCM56 | 2015-10-01 | ng/L | 0.4413 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 682.08 | BETAMETHASONE | E | 114 | 301 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4413 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.4413 |  | 0.4413 | 0 | 0
BETAMETHASONE | 2440 | 67485LCM56 | 2014-07-20 | ng/L | 0.8114 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 228 | BETAMETHASONE | . | 114 | 185 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8114 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94225 | 0.1647 | 0.88816 | 0.31579 | 0.23409
BETAMETHASONE | 2440 | 67485LCM56 | 2014-08-21 | ng/L | 0.88816 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 456 | BETAMETHASONE | . | 114 | 405 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88816 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94225 | 0.1647 | 0.88816 | 0.31579 | 0.23409
BETAMETHASONE | 2440 | 67485LCM56 | 2015-03-11 | ng/L | 1.1272 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 456 | BETAMETHASONE | . | 114 | 514 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1272 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94225 | 0.1647 | 0.88816 | 0.31579 | 0.23409
BETAMETHASONE | 2440 | 67485LCM56 | 2014-10-11 | ng/L | 0.8443 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 456 | BETAMETHASONE | . | 114 | 385 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8443 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91274 | 0.078993 | 0.89474 | 0.15488 | 0.11481
BETAMETHASONE | 2440 | 67485LCM56 | 2014-12-06 | ng/L | 0.89474 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 456 | BETAMETHASONE | . | 114 | 408 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89474 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91274 | 0.078993 | 0.89474 | 0.15488 | 0.11481
BETAMETHASONE | 2440 | 67485LCM56 | 2014-12-07 | ng/L | 0.99918 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 243.2 | BETAMETHASONE | . | 114 | 243 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99918 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91274 | 0.078993 | 0.89474 | 0.15488 | 0.11481
BETAMETHASONE | 2440 | 67485LCM56 | 2014-08-30 | ng/L | 1 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 228 | BETAMETHASONE | . | 114 | 228 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1 |  | 1 | 0 | 0
BETAMETHASONE | 2440 | 67485LCM56 | 2014-10-24 | ng/L | 0.93877 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 243.936 | BETAMETHASONE | . | 114 | 229 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93877 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.084 | 0.12943 | 1.126 | 0.24843 | 0.18416
BETAMETHASONE | 2440 | 67485LCM56 | 2014-12-07 | ng/L | 1.126 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 457.38 | BETAMETHASONE | . | 114 | 515 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.126 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.084 | 0.12943 | 1.126 | 0.24843 | 0.18416
BETAMETHASONE | 2440 | 67485LCM56 | 2015-03-10 | ng/L | 1.1872 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 457.38 | BETAMETHASONE | . | 114 | 543 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1872 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.084 | 0.12943 | 1.126 | 0.24843 | 0.18416
BETAMETHASONE | 2440 | 67485LCM56 | 2015-04-29 | ng/L | 0.9364 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 456 | BETAMETHASONE | . | 114 | 427 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9364 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9364 |  | 0.9364 | 0 | 0
BETAMETHASONE | 2440 | 67485LCM56 | 2015-10-01 | ng/L | 0.81662 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 682.08 | BETAMETHASONE | E | 114 | 557 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81662 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.81662 |  | 0.81662 | 0 | 0
BETAMETHASONE | 2440 | 67485LCM56 | 2015-09-15 | ng/L | 0.8655 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 171 | BETAMETHASONE | . | 114 | 148 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8655 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8655 |  | 0.8655 | 0 | 0
BETAMETHASONE | 2440 | 67485LCM56 | 2015-09-09 | ng/L | 0.7076 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 171 | BETAMETHASONE | . | 114 | 121 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7076 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7076 |  | 0.7076 | 0 | 0
BETAMETHASONE | 2440 | 67485LCM56 | 2015-10-01 | ng/L | 0.86257 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 342 | BETAMETHASONE | . | 114 | 295 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86257 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86257 |  | 0.86257 | 0 | 0