## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BUPROPION | 2440 | 67439LCM56 | 2014-05-17 | ng/L | 0.78115 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 35.3325 | BUPROPION | . | 17.8 | 27.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78115 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76841 | 0.069514 | 0.78115 | 0.13727 | 0.10175
BUPROPION | 2440 | 67439LCM56 | 2014-06-11 | ng/L | 0.83068 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 70.665 | BUPROPION | . | 17.8 | 58.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83068 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76841 | 0.069514 | 0.78115 | 0.13727 | 0.10175
BUPROPION | 2440 | 67439LCM56 | 2014-06-28 | ng/L | 0.69341 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 35.3325 | BUPROPION | . | 17.8 | 24.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69341 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76841 | 0.069514 | 0.78115 | 0.13727 | 0.10175
BUPROPION | 2440 | 67439LCM56 | 2014-09-12 | ng/L | 0.43029 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 35.325 | BUPROPION | . | 17.8 | 15.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43029 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.60695 | 0.12626 | 0.63783 | 0.17321 | 0.1284
BUPROPION | 2440 | 67439LCM56 | 2014-10-25 | ng/L | 0.66525 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 70.65 | BUPROPION | . | 17.8 | 47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66525 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.60695 | 0.12626 | 0.63783 | 0.17321 | 0.1284
BUPROPION | 2440 | 67439LCM56 | 2015-02-10 | ng/L | 0.72187 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 37.68 | BUPROPION | . | 17.8 | 27.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72187 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.60695 | 0.12626 | 0.63783 | 0.17321 | 0.1284
BUPROPION | 2440 | 67439LCM56 | 2015-04-30 | ng/L | 0.6104 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 37.68 | BUPROPION | . | 17.8 | 23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6104 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.60695 | 0.12626 | 0.63783 | 0.17321 | 0.1284
BUPROPION | 2440 | 67439LCM56 | 2014-05-21 | ng/L | 0.75992 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 70.665 | BUPROPION | . | 17.8 | 53.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75992 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.717 | 0.058043 | 0.74011 | 0.10896 | 0.080775
BUPROPION | 2440 | 67439LCM56 | 2014-07-12 | ng/L | 0.74011 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 70.665 | BUPROPION | . | 17.8 | 52.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74011 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.717 | 0.058043 | 0.74011 | 0.10896 | 0.080775
BUPROPION | 2440 | 67439LCM56 | 2014-10-10 | ng/L | 0.65096 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 35.3325 | BUPROPION | . | 17.8 | 23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65096 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.717 | 0.058043 | 0.74011 | 0.10896 | 0.080775
BUPROPION | 2440 | 67439LCM56 | 2014-11-04 | ng/L | 0.65273 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 37.688 | BUPROPION | . | 17.8 | 24.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65273 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69562 | 0.093419 | 0.69713 | 0.14983 | 0.11106
BUPROPION | 2440 | 67439LCM56 | 2014-12-06 | ng/L | 0.58869 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 70.665 | BUPROPION | . | 17.8 | 41.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58869 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69562 | 0.093419 | 0.69713 | 0.14983 | 0.11106
BUPROPION | 2440 | 67439LCM56 | 2015-01-16 | ng/L | 0.74153 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 70.665 | BUPROPION | . | 17.8 | 52.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74153 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69562 | 0.093419 | 0.69713 | 0.14983 | 0.11106
BUPROPION | 2440 | 67439LCM56 | 2015-05-07 | ng/L | 0.79955 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 70.665 | BUPROPION | . | 17.8 | 56.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79955 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69562 | 0.093419 | 0.69713 | 0.14983 | 0.11106
BUPROPION | 2440 | 67439LCM56 | 2015-07-09 | ng/L | 0.64565 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 26.64 | BUPROPION | . | 17.8 | 17.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64565 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.64565 |  | 0.64565 | 0 | 0
BUPROPION | 2440 | 67439LCM56 | 2015-06-26 | ng/L | 0.6982 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 26.64 | BUPROPION | . | 17.8 | 18.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6982 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69632 | 0.0026543 | 0.69632 | 0.0037538 | 0.0027826
BUPROPION | 2440 | 67439LCM56 | 2015-07-31 | ng/L | 0.69444 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 53.28 | BUPROPION | . | 17.8 | 37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69444 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69632 | 0.0026543 | 0.69632 | 0.0037538 | 0.0027826
BUPROPION | 2440 | 67439LCM56 | 2015-10-01 | ng/L | 1.1389 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 108 | BUPROPION | . | 17.8 | 123 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1389 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1389 |  | 1.1389 | 0 | 0
BUPROPION | 2440 | 67439LCM56 | 2015-09-10 | ng/L | 0.82395 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 53.28 | BUPROPION | . | 17.8 | 43.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82395 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82395 |  | 0.82395 | 0 | 0
BUPROPION | 2440 | 67439LCM56 | 2014-07-20 | ng/L | 0.59718 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 35.3325 | BUPROPION | . | 17.8 | 21.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59718 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71794 | 0.11892 | 0.72172 | 0.23774 | 0.17624
BUPROPION | 2440 | 67439LCM56 | 2014-08-21 | ng/L | 0.72172 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 70.665 | BUPROPION | . | 17.8 | 51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72172 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71794 | 0.11892 | 0.72172 | 0.23774 | 0.17624
BUPROPION | 2440 | 67439LCM56 | 2015-03-11 | ng/L | 0.83493 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 70.665 | BUPROPION | . | 17.8 | 59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83493 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71794 | 0.11892 | 0.72172 | 0.23774 | 0.17624
BUPROPION | 2440 | 67439LCM56 | 2014-10-11 | ng/L | 0.53503 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 70.65 | BUPROPION | . | 17.8 | 37.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53503 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.54901 | 0.027968 | 0.53503 | 0.050425 | 0.037379
BUPROPION | 2440 | 67439LCM56 | 2014-12-06 | ng/L | 0.53079 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 70.65 | BUPROPION | . | 17.8 | 37.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53079 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.54901 | 0.027968 | 0.53503 | 0.050425 | 0.037379
BUPROPION | 2440 | 67439LCM56 | 2014-12-07 | ng/L | 0.58121 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 37.68 | BUPROPION | . | 17.8 | 21.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58121 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.54901 | 0.027968 | 0.53503 | 0.050425 | 0.037379
BUPROPION | 2440 | 67439LCM56 | 2014-10-11 | ng/L | 0.52282 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 37.68 | BUPROPION | . | 17.8 | 19.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52282 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.56605 | 0.057478 | 0.54406 | 0.10846 | 0.080398
BUPROPION | 2440 | 67439LCM56 | 2015-03-10 | ng/L | 0.63128 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 70.65 | BUPROPION | . | 17.8 | 44.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63128 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.56605 | 0.057478 | 0.54406 | 0.10846 | 0.080398
BUPROPION | 2440 | 67439LCM56 | 2015-04-10 | ng/L | 0.54406 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 37.68 | BUPROPION | . | 17.8 | 20.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54406 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.56605 | 0.057478 | 0.54406 | 0.10846 | 0.080398
BUPROPION | 2440 | 67439LCM56 | 2014-07-13 | ng/L | 0.6426 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 35.325 | BUPROPION | . | 17.8 | 22.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6426 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57749 | 0.056404 | 0.54636 | 0.09908 | 0.073447
BUPROPION | 2440 | 67439LCM56 | 2014-08-16 | ng/L | 0.54352 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 35.325 | BUPROPION | . | 17.8 | 19.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54352 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57749 | 0.056404 | 0.54636 | 0.09908 | 0.073447
BUPROPION | 2440 | 67439LCM56 | 2014-08-28 | ng/L | 0.54636 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 70.65 | BUPROPION | E | 17.8 | 38.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54636 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.57749 | 0.056404 | 0.54636 | 0.09908 | 0.073447
BUPROPION | 2440 | 67439LCM56 | 2015-10-01 | ng/L | 0.94444 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 27 | BUPROPION | . | 17.8 | 25.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94444 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94444 |  | 0.94444 | 0 | 0
BUPROPION | 2440 | 67439LCM56 | 2015-09-09 | ng/L | 0.82958 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 26.64 | BUPROPION | . | 17.8 | 22.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82958 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82958 |  | 0.82958 | 0 | 0
BUPROPION | 2440 | 67439LCM56 | 2015-10-01 | ng/L | 0.81667 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 54 | BUPROPION | . | 17.8 | 44.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81667 |  | 0.81667 | 0 | 0
BUPROPION | 2440 | 67439LCM56 | 2015-07-31 | ng/L | 0.93148 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 54 | BUPROPION | . | 17.8 | 50.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93148 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93148 |  | 0.93148 | 0 | 0