## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CAFFEINE | 2440 | 67440LCM56 | 2014-05-21 | ng/L | 0.74897 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 360.495 | CAFFEINE | . | 90.7 | 270 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74897 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76099 | 0.014235 | 0.75729 | 0.02774 | 0.020563
CAFFEINE | 2440 | 67440LCM56 | 2014-07-12 | ng/L | 0.75729 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 360.495 | CAFFEINE | . | 90.7 | 273 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75729 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76099 | 0.014235 | 0.75729 | 0.02774 | 0.020563
CAFFEINE | 2440 | 67440LCM56 | 2014-10-10 | ng/L | 0.77671 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 180.2475 | CAFFEINE | . | 90.7 | 140 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77671 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76099 | 0.014235 | 0.75729 | 0.02774 | 0.020563
CAFFEINE | 2440 | 67440LCM56 | 2014-11-04 | ng/L | 0.71354 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 192 | CAFFEINE | . | 90.7 | 137 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71354 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76797 | 0.079218 | 0.7526 | 0.12517 | 0.09279
CAFFEINE | 2440 | 67440LCM56 | 2014-12-06 | ng/L | 0.69722 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 360 | CAFFEINE | . | 90.7 | 251 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69722 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76797 | 0.079218 | 0.7526 | 0.12517 | 0.09279
CAFFEINE | 2440 | 67440LCM56 | 2015-01-16 | ng/L | 0.79167 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 360 | CAFFEINE | . | 90.7 | 285 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79167 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76797 | 0.079218 | 0.7526 | 0.12517 | 0.09279
CAFFEINE | 2440 | 67440LCM56 | 2015-05-07 | ng/L | 0.86944 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 360 | CAFFEINE | E | 90.7 | 313 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86944 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.76797 | 0.079218 | 0.7526 | 0.12517 | 0.09279
CAFFEINE | 2440 | 67440LCM56 | 2014-05-30 | ng/L | 0.76007 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 180.2475 | CAFFEINE | . | 90.7 | 137 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76007 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76654 | 0.12634 | 0.76007 | 0.25243 | 0.18712
CAFFEINE | 2440 | 67440LCM56 | 2014-06-22 | ng/L | 0.89599 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 360.495 | CAFFEINE | E | 90.7 | 323 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89599 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.76654 | 0.12634 | 0.76007 | 0.25243 | 0.18712
CAFFEINE | 2440 | 67440LCM56 | 2014-07-13 | ng/L | 0.64356 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 180.2475 | CAFFEINE | . | 90.7 | 116 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64356 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76654 | 0.12634 | 0.76007 | 0.25243 | 0.18712
CAFFEINE | 2440 | 67440LCM56 | 2014-10-10 | ng/L | 0.76007 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 180.2475 | CAFFEINE | . | 90.7 | 137 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76007 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78757 | 0.047646 | 0.76007 | 0.082525 | 0.061175
CAFFEINE | 2440 | 67440LCM56 | 2014-11-04 | ng/L | 0.84259 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 192.264 | CAFFEINE | . | 90.7 | 162 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84259 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78757 | 0.047646 | 0.76007 | 0.082525 | 0.061175
CAFFEINE | 2440 | 67440LCM56 | 2015-02-06 | ng/L | 0.76007 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 360.495 | CAFFEINE | . | 90.7 | 274 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76007 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78757 | 0.047646 | 0.76007 | 0.082525 | 0.061175
CAFFEINE | 2440 | 67440LCM56 | 2015-07-30 | ng/L | 0.93988 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 272.3746 | CAFFEINE | E | 90.7 | 256 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93988 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.79743 | 0.20146 | 0.79743 | 0.2849 | 0.21119
CAFFEINE | 2440 | 67440LCM56 | 2015-08-11 | ng/L | 0.65498 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 136.1873 | CAFFEINE | E | 90.7 | 89.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65498 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.79743 | 0.20146 | 0.79743 | 0.2849 | 0.21119
CAFFEINE | 2440 | 67440LCM56 | 2015-07-09 | ng/L | 0.75631 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 136.1873 | CAFFEINE | E | 90.7 | 103 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75631 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.75631 |  | 0.75631 | 0 | 0
CAFFEINE | 2440 | 67440LCM56 | 2015-09-10 | ng/L | 0.81858 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 271.2 | CAFFEINE | . | 90.7 | 222 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81858 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81858 |  | 0.81858 | 0 | 0
CAFFEINE | 2440 | 67440LCM56 | 2014-08-30 | ng/L | 0.72222 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 180 | CAFFEINE | . | 90.7 | 130 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72222 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72222 |  | 0.72222 | 0 | 0
CAFFEINE | 2440 | 67440LCM56 | 2014-10-11 | ng/L | 1.4407 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 192.264 | CAFFEINE | . | 90.7 | 277 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4407 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98638 | 0.39433 | 0.78503 | 0.70736 | 0.52436
CAFFEINE | 2440 | 67440LCM56 | 2015-03-10 | ng/L | 0.78503 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 360.495 | CAFFEINE | . | 90.7 | 283 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78503 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98638 | 0.39433 | 0.78503 | 0.70736 | 0.52436
CAFFEINE | 2440 | 67440LCM56 | 2015-04-10 | ng/L | 0.73337 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 192.264 | CAFFEINE | . | 90.7 | 141 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73337 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98638 | 0.39433 | 0.78503 | 0.70736 | 0.52436
CAFFEINE | 2440 | 67440LCM56 | 2014-07-13 | ng/L | 0.86111 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 180 | CAFFEINE | . | 90.7 | 155 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86111 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55889 | 0.26512 | 0.45 | 0.49556 | 0.36735
CAFFEINE | 2440 | 67440LCM56 | 2014-08-16 | ng/L | 0.36556 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 180 | CAFFEINE | E | 90.7 | 65.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36556 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.55889 | 0.26512 | 0.45 | 0.49556 | 0.36735
CAFFEINE | 2440 | 67440LCM56 | 2014-08-28 | ng/L | 0.45 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 360 | CAFFEINE | E | 90.7 | 162 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.55889 | 0.26512 | 0.45 | 0.49556 | 0.36735
CAFFEINE | 2440 | 67440LCM56 | 2014-10-24 | ng/L | 0.91146 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 192 | CAFFEINE | . | 90.7 | 175 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91146 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.889 | 0.12376 | 0.91146 | 0.24444 | 0.1812
CAFFEINE | 2440 | 67440LCM56 | 2014-12-07 | ng/L | 0.75556 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 360 | CAFFEINE | . | 90.7 | 272 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75556 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.889 | 0.12376 | 0.91146 | 0.24444 | 0.1812
CAFFEINE | 2440 | 67440LCM56 | 2015-03-10 | ng/L | 1 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 360 | CAFFEINE | . | 90.7 | 360 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.889 | 0.12376 | 0.91146 | 0.24444 | 0.1812
CAFFEINE | 2440 | 67440LCM56 | 2015-04-29 | ng/L | 1.2417 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 360 | CAFFEINE | . | 90.7 | 447 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2417 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2417 |  | 1.2417 | 0 | 0
CAFFEINE | 2440 | 67440LCM56 | 2015-10-01 | ng/L | 0.58075 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 542.4 | CAFFEINE | E | 90.7 | 315 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58075 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.58075 |  | 0.58075 | 0 | 0
CAFFEINE | 2440 | 67440LCM56 | 2015-09-15 | ng/L | 0.87758 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 135.6 | CAFFEINE | . | 90.7 | 119 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87758 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87758 |  | 0.87758 | 0 | 0
CAFFEINE | 2440 | 67440LCM56 | 2015-10-01 | ng/L | 0.2559 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 135.6 | CAFFEINE | E | 90.7 | 34.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.2559 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.2559 |  | 0.2559 | 0 | 0
CAFFEINE | 2440 | 67440LCM56 | 2015-07-31 | ng/L | 1.028 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 272.3746 | CAFFEINE | E | 90.7 | 280 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.028 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.028 |  | 1.028 | 0 | 0
CAFFEINE | 2440 | 67440LCM56 | 2014-04-23 | ng/L | 0.77778 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 180 | CAFFEINE | . | 90.7 | 140 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77778 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77778 |  | 0.77778 | 0 | 0