## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-05-17 | ng/L | 0.84529 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 8.2575 | CARBAMAZEPINE | . | 11 | 6.98 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.84529 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 3 | 0.7577 | 0.13329 | 0.82349 | 0.24099 | 0.17865
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-06-11 | ng/L | 0.82349 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 16.515 | CARBAMAZEPINE | . | 11 | 13.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82349 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.7577 | 0.13329 | 0.82349 | 0.24099 | 0.17865
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-06-28 | ng/L | 0.6043 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 8.2575 | CARBAMAZEPINE | . | 11 | 4.99 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.6043 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 3 | 0.7577 | 0.13329 | 0.82349 | 0.24099 | 0.17865
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-09-12 | ng/L | 0.63063 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 8.325 | CARBAMAZEPINE | . | 11 | 5.25 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.63063 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 1 | [5 empty] | 4 | 0.6647 | 0.14939 | 0.7027 | 0.23142 | 0.17155
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-10-25 | ng/L | 0.77477 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 16.65 | CARBAMAZEPINE | . | 11 | 12.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77477 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.6647 | 0.14939 | 0.7027 | 0.23142 | 0.17155
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-02-10 | ng/L | 0.78604 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 8.88 | CARBAMAZEPINE | . | 11 | 6.98 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.78604 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 1 | [5 empty] | 4 | 0.6647 | 0.14939 | 0.7027 | 0.23142 | 0.17155
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-04-30 | ng/L | 0.46734 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 8.88 | CARBAMAZEPINE | . | 11 | 4.15 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.46734 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 1 | [5 empty] | 4 | 0.6647 | 0.14939 | 0.7027 | 0.23142 | 0.17155
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-05-21 | ng/L | 0.75689 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 16.515 | CARBAMAZEPINE | . | 11 | 12.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75689 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74236 | 0.030565 | 0.75689 | 0.055707 | 0.041295
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-07-12 | ng/L | 0.76294 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 16.515 | CARBAMAZEPINE | . | 11 | 12.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76294 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74236 | 0.030565 | 0.75689 | 0.055707 | 0.041295
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-10-10 | ng/L | 0.70724 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 8.2575 | CARBAMAZEPINE | . | 11 | 5.84 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.70724 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 3 | 0.74236 | 0.030565 | 0.75689 | 0.055707 | 0.041295
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-11-04 | ng/L | 0.70277 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 8.808 | CARBAMAZEPINE | . | 11 | 6.19 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.70277 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 1 | [5 empty] | 4 | 0.869 | 0.14361 | 0.85982 | 0.17541 | 0.13003
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-12-06 | ng/L | 0.85982 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 16.515 | CARBAMAZEPINE | . | 11 | 14.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85982 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.869 | 0.14361 | 0.85982 | 0.17541 | 0.13003
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-01-16 | ng/L | 0.85982 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 16.515 | CARBAMAZEPINE | . | 11 | 14.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85982 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.869 | 0.14361 | 0.85982 | 0.17541 | 0.13003
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-05-07 | ng/L | 1.0536 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 16.515 | CARBAMAZEPINE | . | 11 | 17.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0536 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.869 | 0.14361 | 0.85982 | 0.17541 | 0.13003
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-07-30 | ng/L | 0.85055 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 32.92 | CARBAMAZEPINE | . | 11 | 28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85055 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69684 | 0.21737 | 0.69684 | 0.30741 | 0.22788
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-08-11 | ng/L | 0.54313 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 16.46 | CARBAMAZEPINE | E | 11 | 8.94 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54313 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.69684 | 0.21737 | 0.69684 | 0.30741 | 0.22788
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-06-09 | ng/L | 0.66221 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 16.46 | CARBAMAZEPINE | . | 11 | 10.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66221 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66221 |  | 0.66221 | 0 | 0
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-06-26 | ng/L | 0.76549 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 16.46 | CARBAMAZEPINE | . | 11 | 12.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76549 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74878 | 0.023628 | 0.74878 | 0.033414 | 0.02477
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-07-31 | ng/L | 0.73208 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 32.92 | CARBAMAZEPINE | . | 11 | 24.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73208 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74878 | 0.023628 | 0.74878 | 0.033414 | 0.02477
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-10-01 | ng/L | 0.69259 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 65.84 | CARBAMAZEPINE | . | 11 | 45.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69259 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69259 |  | 0.69259 | 0 | 0
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-07-20 | ng/L | 0.70845 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 8.2575 | CARBAMAZEPINE | . | 11 | 5.85 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.70845 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 3 | 0.77909 | 0.097322 | 0.73872 | 0.18165 | 0.13466
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-08-21 | ng/L | 0.73872 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 16.515 | CARBAMAZEPINE | . | 11 | 12.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73872 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77909 | 0.097322 | 0.73872 | 0.18165 | 0.13466
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-03-11 | ng/L | 0.8901 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 16.515 | CARBAMAZEPINE | . | 11 | 14.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8901 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77909 | 0.097322 | 0.73872 | 0.18165 | 0.13466
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-10-11 | ng/L | 0.64865 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 16.65 | CARBAMAZEPINE | . | 11 | 10.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64865 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74887 | 0.11687 | 0.72072 | 0.2286 | 0.16946
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-12-06 | ng/L | 0.72072 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 16.65 | CARBAMAZEPINE | . | 11 | 12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72072 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74887 | 0.11687 | 0.72072 | 0.2286 | 0.16946
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-12-07 | ng/L | 0.87725 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 8.88 | CARBAMAZEPINE | . | 11 | 7.79 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.87725 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 1 | [5 empty] | 3 | 0.74887 | 0.11687 | 0.72072 | 0.2286 | 0.16946
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-10-11 | ng/L | 0.54167 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 8.88 | CARBAMAZEPINE | . | 11 | 4.81 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.54167 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 3 | 0.6474 | 0.13897 | 0.59572 | 0.26314 | 0.19506
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-03-10 | ng/L | 0.8048 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 16.65 | CARBAMAZEPINE | . | 11 | 13.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8048 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.6474 | 0.13897 | 0.59572 | 0.26314 | 0.19506
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-04-10 | ng/L | 0.59572 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 8.88 | CARBAMAZEPINE | . | 11 | 5.29 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.59572 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 1 | [5 empty] | 3 | 0.6474 | 0.13897 | 0.59572 | 0.26314 | 0.19506
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-07-13 | ng/L | 0.76877 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 8.325 | CARBAMAZEPINE | . | 11 | 6.4 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.76877 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 1 | [5 empty] | 3 | 0.69249 | 0.098877 | 0.72793 | 0.18799 | 0.13935
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-08-16 | ng/L | 0.72793 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 8.325 | CARBAMAZEPINE | . | 11 | 6.06 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.72793 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 1 | [5 empty] | 3 | 0.69249 | 0.098877 | 0.72793 | 0.18799 | 0.13935
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-08-28 | ng/L | 0.58078 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 16.65 | CARBAMAZEPINE | . | 11 | 9.67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58078 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69249 | 0.098877 | 0.72793 | 0.18799 | 0.13935
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-10-01 | ng/L | 0.75942 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 65.84 | CARBAMAZEPINE | . | 11 | 50 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75942 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75942 |  | 0.75942 | 0 | 0
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-09-15 | ng/L | 0.8948 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 16.54 | CARBAMAZEPINE | . | 11 | 14.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8948 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8948 |  | 0.8948 | 0 | 0
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-09-09 | ng/L | 0.73761 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 16.54 | CARBAMAZEPINE | . | 11 | 12.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73761 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73761 |  | 0.73761 | 0 | 0
CARBAMAZEPINE | 2440 | 67441LCM56 | 2015-10-01 | ng/L | 0.69528 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 33.08 | CARBAMAZEPINE | . | 11 | 23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69528 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69528 |  | 0.69528 | 0 | 0
CARBAMAZEPINE | 2440 | 67441LCM56 | 2014-04-23 | ng/L | 0.718 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 10 | CARBAMAZEPINE | . | 11 | 7.18 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.718 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 1 | [5 empty] | 1 | 0.718 |  | 0.718 | 0 | 0