## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CARISOPRODOL | 2440 | 67498LCM56 | 2014-05-17 | ng/L | 0.71866 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 24.9075 | CARISOPRODOL | . | 12.5 | 17.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71866 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75613 | 0.03343 | 0.76684 | 0.064238 | 0.047619
CARISOPRODOL | 2440 | 67498LCM56 | 2014-06-11 | ng/L | 0.7829 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 49.815 | CARISOPRODOL | . | 12.5 | 39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7829 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75613 | 0.03343 | 0.76684 | 0.064238 | 0.047619
CARISOPRODOL | 2440 | 67498LCM56 | 2014-06-28 | ng/L | 0.76684 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 24.9075 | CARISOPRODOL | . | 12.5 | 19.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76684 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75613 | 0.03343 | 0.76684 | 0.064238 | 0.047619
CARISOPRODOL | 2440 | 67498LCM56 | 2014-09-12 | ng/L | 0.54365 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 25.2 | CARISOPRODOL | . | 12.5 | 13.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54365 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.70126 | 0.11068 | 0.73636 | 0.15253 | 0.11307
CARISOPRODOL | 2440 | 67498LCM56 | 2014-10-25 | ng/L | 0.70635 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 50.4 | CARISOPRODOL | . | 12.5 | 35.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70635 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.70126 | 0.11068 | 0.73636 | 0.15253 | 0.11307
CARISOPRODOL | 2440 | 67498LCM56 | 2015-02-10 | ng/L | 0.78869 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 26.88 | CARISOPRODOL | . | 12.5 | 21.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78869 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.70126 | 0.11068 | 0.73636 | 0.15253 | 0.11307
CARISOPRODOL | 2440 | 67498LCM56 | 2015-04-30 | ng/L | 0.76637 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 26.88 | CARISOPRODOL | . | 12.5 | 20.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76637 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.70126 | 0.11068 | 0.73636 | 0.15253 | 0.11307
CARISOPRODOL | 2440 | 67498LCM56 | 2014-05-21 | ng/L | 0.86319 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 49.815 | CARISOPRODOL | . | 12.5 | 43 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86319 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77353 | 0.12532 | 0.82706 | 0.23286 | 0.17262
CARISOPRODOL | 2440 | 67498LCM56 | 2014-07-12 | ng/L | 0.82706 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 49.815 | CARISOPRODOL | . | 12.5 | 41.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82706 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77353 | 0.12532 | 0.82706 | 0.23286 | 0.17262
CARISOPRODOL | 2440 | 67498LCM56 | 2014-10-10 | ng/L | 0.63033 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 24.9075 | CARISOPRODOL | . | 12.5 | 15.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63033 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77353 | 0.12532 | 0.82706 | 0.23286 | 0.17262
CARISOPRODOL | 2440 | 67498LCM56 | 2014-11-04 | ng/L | 0.53824 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 26.568 | CARISOPRODOL | . | 12.5 | 14.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53824 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76138 | 0.21042 | 0.75479 | 0.34616 | 0.2566
CARISOPRODOL | 2440 | 67498LCM56 | 2014-12-06 | ng/L | 0.63836 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 49.815 | CARISOPRODOL | . | 12.5 | 31.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63836 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76138 | 0.21042 | 0.75479 | 0.34616 | 0.2566
CARISOPRODOL | 2440 | 67498LCM56 | 2015-01-16 | ng/L | 0.87122 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 49.815 | CARISOPRODOL | . | 12.5 | 43.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87122 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76138 | 0.21042 | 0.75479 | 0.34616 | 0.2566
CARISOPRODOL | 2440 | 67498LCM56 | 2015-05-07 | ng/L | 0.99769 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 49.815 | CARISOPRODOL | . | 12.5 | 49.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99769 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76138 | 0.21042 | 0.75479 | 0.34616 | 0.2566
CARISOPRODOL | 2440 | 67498LCM56 | 2015-07-30 | ng/L | 0.70968 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 37.3408 | CARISOPRODOL | . | 12.5 | 26.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70968 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67353 | 0.051129 | 0.67353 | 0.072307 | 0.0536
CARISOPRODOL | 2440 | 67498LCM56 | 2015-08-11 | ng/L | 0.63737 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 18.6704 | CARISOPRODOL | E | 12.5 | 11.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63737 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67353 | 0.051129 | 0.67353 | 0.072307 | 0.0536
CARISOPRODOL | 2440 | 67498LCM56 | 2015-07-09 | ng/L | 0.80877 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 18.6704 | CARISOPRODOL | E | 12.5 | 15.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80877 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.80877 |  | 0.80877 | 0 | 0
CARISOPRODOL | 2440 | 67498LCM56 | 2015-06-09 | ng/L | 0.71236 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 18.6704 | CARISOPRODOL | . | 12.5 | 13.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71236 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.71236 |  | 0.71236 | 0 | 0
CARISOPRODOL | 2440 | 67498LCM56 | 2014-07-20 | ng/L | 0.73873 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 24.9075 | CARISOPRODOL | . | 12.5 | 18.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73873 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80163 | 0.12132 | 0.73873 | 0.2168 | 0.16071
CARISOPRODOL | 2440 | 67498LCM56 | 2014-08-21 | ng/L | 0.72468 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 49.815 | CARISOPRODOL | . | 12.5 | 36.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72468 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80163 | 0.12132 | 0.73873 | 0.2168 | 0.16071
CARISOPRODOL | 2440 | 67498LCM56 | 2015-03-11 | ng/L | 0.94148 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 49.815 | CARISOPRODOL | . | 12.5 | 46.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94148 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80163 | 0.12132 | 0.73873 | 0.2168 | 0.16071
CARISOPRODOL | 2440 | 67498LCM56 | 2014-10-11 | ng/L | 0.57341 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 50.4 | CARISOPRODOL | E | 12.5 | 28.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57341 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.62814 | 0.14981 | 0.57341 | 0.28423 | 0.21069
CARISOPRODOL | 2440 | 67498LCM56 | 2014-12-06 | ng/L | 0.79762 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 50.4 | CARISOPRODOL | . | 12.5 | 40.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79762 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.62814 | 0.14981 | 0.57341 | 0.28423 | 0.21069
CARISOPRODOL | 2440 | 67498LCM56 | 2014-12-07 | ng/L | 0.51339 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 26.88 | CARISOPRODOL | . | 12.5 | 13.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51339 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.62814 | 0.14981 | 0.57341 | 0.28423 | 0.21069
CARISOPRODOL | 2440 | 67498LCM56 | 2014-10-11 | ng/L | 0.65104 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 26.88 | CARISOPRODOL | E | 12.5 | 17.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65104 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.69726 | 0.11635 | 0.65104 | 0.2185 | 0.16197
CARISOPRODOL | 2440 | 67498LCM56 | 2015-03-10 | ng/L | 0.61111 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 50.4 | CARISOPRODOL | . | 12.5 | 30.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61111 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69726 | 0.11635 | 0.65104 | 0.2185 | 0.16197
CARISOPRODOL | 2440 | 67498LCM56 | 2015-04-10 | ng/L | 0.82961 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 26.88 | CARISOPRODOL | . | 12.5 | 22.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82961 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69726 | 0.11635 | 0.65104 | 0.2185 | 0.16197
CARISOPRODOL | 2440 | 67498LCM56 | 2014-07-13 | ng/L | 0.87698 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 25.2 | CARISOPRODOL | . | 12.5 | 22.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87698 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70503 | 0.16875 | 0.69841 | 0.3373 | 0.25004
CARISOPRODOL | 2440 | 67498LCM56 | 2014-08-16 | ng/L | 0.69841 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 25.2 | CARISOPRODOL | . | 12.5 | 17.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69841 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70503 | 0.16875 | 0.69841 | 0.3373 | 0.25004
CARISOPRODOL | 2440 | 67498LCM56 | 2014-08-28 | ng/L | 0.53968 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 50.4 | CARISOPRODOL | E | 12.5 | 27.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53968 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.70503 | 0.16875 | 0.69841 | 0.3373 | 0.25004
CARISOPRODOL | 2440 | 67498LCM56 | 2014-04-23 | ng/L | 0.844 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 25 | CARISOPRODOL | . | 12.5 | 21.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.844 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.844 |  | 0.844 | 0 | 0