## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2014-06-28 | ng/L | 0.3857 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 9.0225 | CHLORPHENIRAMINE | . | 4.68 | 3.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3857 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.3857 |  | 0.3857 | 0 | 0
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2014-09-12 | ng/L | 0.32698 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 9.45 | CHLORPHENIRAMINE | . | 4.68 | 3.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.32698 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.40366 | 0.10012 | 0.36706 | 0.18995 | 0.14081
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2014-10-25 | ng/L | 0.51693 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 18.9 | CHLORPHENIRAMINE | . | 4.68 | 9.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51693 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.40366 | 0.10012 | 0.36706 | 0.18995 | 0.14081
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2015-04-30 | ng/L | 0.36706 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 10.08 | CHLORPHENIRAMINE | . | 4.68 | 3.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36706 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.40366 | 0.10012 | 0.36706 | 0.18995 | 0.14081
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2014-07-12 | ng/L | 0.3458 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 18.045 | CHLORPHENIRAMINE | . | 4.68 | 6.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3458 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.4655 | 0.16928 | 0.4655 | 0.2394 | 0.17747
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2014-10-10 | ng/L | 0.5852 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 9.0225 | CHLORPHENIRAMINE | . | 4.68 | 5.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5852 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.4655 | 0.16928 | 0.4655 | 0.2394 | 0.17747
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2014-12-06 | ng/L | 0.47548 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 18.045 | CHLORPHENIRAMINE | E | 4.68 | 8.58 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47548 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.44648 | 0.042336 | 0.46606 | 0.077584 | 0.057512
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2015-01-16 | ng/L | 0.46606 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 18.045 | CHLORPHENIRAMINE | . | 4.68 | 8.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46606 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.44648 | 0.042336 | 0.46606 | 0.077584 | 0.057512
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2015-05-07 | ng/L | 0.39789 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 18.045 | CHLORPHENIRAMINE | . | 4.68 | 7.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39789 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.44648 | 0.042336 | 0.46606 | 0.077584 | 0.057512
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2014-07-20 | ng/L | 0.27709 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 9.0225 | CHLORPHENIRAMINE | . | 4.68 | 2.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.27709 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.39254 | 0.23186 | 0.27709 | 0.4184 | 0.31015
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2014-08-21 | ng/L | 0.24106 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 18.045 | CHLORPHENIRAMINE | . | 4.68 | 4.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.24106 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.39254 | 0.23186 | 0.27709 | 0.4184 | 0.31015
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2015-03-11 | ng/L | 0.65946 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 18.045 | CHLORPHENIRAMINE | E | 4.68 | 11.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65946 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.39254 | 0.23186 | 0.27709 | 0.4184 | 0.31015
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2014-10-11 | ng/L | 0.56085 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 18.9 | CHLORPHENIRAMINE | . | 4.68 | 10.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56085 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55787 | 0.13313 | 0.56085 | 0.2662 | 0.19733
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2014-12-06 | ng/L | 0.42328 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 18.9 | CHLORPHENIRAMINE | E | 4.68 | 8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42328 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.55787 | 0.13313 | 0.56085 | 0.2662 | 0.19733
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2014-12-07 | ng/L | 0.68948 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 10.08 | CHLORPHENIRAMINE | E | 4.68 | 6.95 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68948 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.55787 | 0.13313 | 0.56085 | 0.2662 | 0.19733
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2014-10-11 | ng/L | 0.26885 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 10.08 | CHLORPHENIRAMINE | . | 4.68 | 2.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.26885 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.3006 | 0.044896 | 0.3006 | 0.063492 | 0.047066
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2015-04-10 | ng/L | 0.33234 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 10.08 | CHLORPHENIRAMINE | E | 4.68 | 3.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33234 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.3006 | 0.044896 | 0.3006 | 0.063492 | 0.047066
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2014-07-13 | ng/L | 0.20212 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 9.45 | CHLORPHENIRAMINE | . | 4.68 | 1.91 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.20212 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.34762 | 0.12647 | 0.40952 | 0.2291 | 0.16983
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2014-08-16 | ng/L | 0.40952 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 9.45 | CHLORPHENIRAMINE | E | 4.68 | 3.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40952 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.34762 | 0.12647 | 0.40952 | 0.2291 | 0.16983
CHLORPHENIRAMINE | 2440 | 67497LCM56 | 2014-08-28 | ng/L | 0.43122 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 18.9 | CHLORPHENIRAMINE | . | 4.68 | 8.15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43122 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.34762 | 0.12647 | 0.40952 | 0.2291 | 0.16983