## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CITALOPRAM | 2440 | 67505LCM56 | 2014-05-17 | ng/L | 0.4293 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 12.765 | CITALOPRAM | . | 6.58 | 5.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4293 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.44888 | 0.027697 | 0.44888 | 0.03917 | 0.029036
CITALOPRAM | 2440 | 67505LCM56 | 2014-06-28 | ng/L | 0.46847 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 12.765 | CITALOPRAM | . | 6.58 | 5.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46847 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.44888 | 0.027697 | 0.44888 | 0.03917 | 0.029036
CITALOPRAM | 2440 | 67505LCM56 | 2014-09-12 | ng/L | 0.17391 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 12.765 | CITALOPRAM | . | 6.58 | 2.22 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.17391 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.35892 | 0.16023 | 0.45045 | 0.2785 | 0.20645
CITALOPRAM | 2440 | 67505LCM56 | 2014-10-25 | ng/L | 0.45045 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 25.53 | CITALOPRAM | . | 6.58 | 11.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45045 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.35892 | 0.16023 | 0.45045 | 0.2785 | 0.20645
CITALOPRAM | 2440 | 67505LCM56 | 2015-04-30 | ng/L | 0.45241 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 13.616 | CITALOPRAM | . | 6.58 | 6.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45241 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.35892 | 0.16023 | 0.45045 | 0.2785 | 0.20645
CITALOPRAM | 2440 | 67505LCM56 | 2014-05-30 | ng/L | 0.35096 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 12.765 | CITALOPRAM | . | 6.58 | 4.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35096 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.4891 | 0.13243 | 0.50137 | 0.264 | 0.1957
CITALOPRAM | 2440 | 67505LCM56 | 2014-06-22 | ng/L | 0.61496 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 25.53 | CITALOPRAM | . | 6.58 | 15.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61496 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.4891 | 0.13243 | 0.50137 | 0.264 | 0.1957
CITALOPRAM | 2440 | 67505LCM56 | 2014-07-13 | ng/L | 0.50137 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 12.765 | CITALOPRAM | . | 6.58 | 6.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50137 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.4891 | 0.13243 | 0.50137 | 0.264 | 0.1957
CITALOPRAM | 2440 | 67505LCM56 | 2014-10-10 | ng/L | 0.33103 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 13.05 | CITALOPRAM | . | 6.58 | 4.32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33103 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.37846 | 0.12942 | 0.33103 | 0.24545 | 0.18195
CITALOPRAM | 2440 | 67505LCM56 | 2014-11-04 | ng/L | 0.27945 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 13.92 | CITALOPRAM | . | 6.58 | 3.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.27945 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.37846 | 0.12942 | 0.33103 | 0.24545 | 0.18195
CITALOPRAM | 2440 | 67505LCM56 | 2015-02-06 | ng/L | 0.5249 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 26.1 | CITALOPRAM | . | 6.58 | 13.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5249 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.37846 | 0.12942 | 0.33103 | 0.24545 | 0.18195
CITALOPRAM | 2440 | 67505LCM56 | 2015-07-30 | ng/L | 0.61602 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 19.6421 | CITALOPRAM | E | 6.58 | 12.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61602 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.41543 | 0.28368 | 0.41543 | 0.40118 | 0.29739
CITALOPRAM | 2440 | 67505LCM56 | 2015-08-11 | ng/L | 0.21485 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 9.821 | CITALOPRAM | E | 6.58 | 2.11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.21485 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.41543 | 0.28368 | 0.41543 | 0.40118 | 0.29739
CITALOPRAM | 2440 | 67505LCM56 | 2015-07-09 | ng/L | 0.25557 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 9.821 | CITALOPRAM | E | 6.58 | 2.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.25557 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.25557 |  | 0.25557 | 0 | 0
CITALOPRAM | 2440 | 67505LCM56 | 2014-07-20 | ng/L | 0.37471 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 13.05 | CITALOPRAM | . | 6.58 | 4.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.37471 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.34866 | 0.036845 | 0.34866 | 0.052107 | 0.038627
CITALOPRAM | 2440 | 67505LCM56 | 2014-08-21 | ng/L | 0.32261 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 26.1 | CITALOPRAM | . | 6.58 | 8.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.32261 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.34866 | 0.036845 | 0.34866 | 0.052107 | 0.038627
CITALOPRAM | 2440 | 67505LCM56 | 2014-10-11 | ng/L | 0.48659 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 26.1 | CITALOPRAM | . | 6.58 | 12.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48659 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.48906 | 0.053563 | 0.48659 | 0.10704 | 0.079348
CITALOPRAM | 2440 | 67505LCM56 | 2014-12-06 | ng/L | 0.43678 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 26.1 | CITALOPRAM | . | 6.58 | 11.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43678 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.48906 | 0.053563 | 0.48659 | 0.10704 | 0.079348
CITALOPRAM | 2440 | 67505LCM56 | 2014-12-07 | ng/L | 0.54382 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 13.92 | CITALOPRAM | . | 6.58 | 7.57 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54382 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.48906 | 0.053563 | 0.48659 | 0.10704 | 0.079348
CITALOPRAM | 2440 | 67505LCM56 | 2014-08-30 | ng/L | 0.52184 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 13.05 | CITALOPRAM | . | 6.58 | 6.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52184 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.52184 |  | 0.52184 | 0 | 0
CITALOPRAM | 2440 | 67505LCM56 | 2014-10-24 | ng/L | 0.39586 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 13.616 | CITALOPRAM | . | 6.58 | 5.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39586 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.4212 | 0.035833 | 0.4212 | 0.050676 | 0.037565
CITALOPRAM | 2440 | 67505LCM56 | 2014-12-07 | ng/L | 0.44653 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 25.53 | CITALOPRAM | . | 6.58 | 11.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44653 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.4212 | 0.035833 | 0.4212 | 0.050676 | 0.037565
CITALOPRAM | 2440 | 67505LCM56 | 2015-04-29 | ng/L | 0.60153 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 26.1 | CITALOPRAM | . | 6.58 | 15.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60153 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.60153 |  | 0.60153 | 0 | 0
CITALOPRAM | 2440 | 67505LCM56 | 2015-10-01 | ng/L | 1.2981 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 39.52 | CITALOPRAM | E | 6.58 | 51.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2981 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2981 |  | 1.2981 | 0 | 0
CITALOPRAM | 2440 | 67505LCM56 | 2015-09-15 | ng/L | 0.69231 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 9.88 | CITALOPRAM | . | 6.58 | 6.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69231 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69231 |  | 0.69231 | 0 | 0
CITALOPRAM | 2440 | 67505LCM56 | 2015-10-01 | ng/L | 1.1842 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 9.88 | CITALOPRAM | E | 6.58 | 11.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1842 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1842 |  | 1.1842 | 0 | 0
CITALOPRAM | 2440 | 67505LCM56 | 2015-07-31 | ng/L | 0.5753 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 19.6421 | CITALOPRAM | E | 6.58 | 11.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5753 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.5753 |  | 0.5753 | 0 | 0