## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CLONIDINE | 2440 | 67518LCM56 | 2014-05-21 | ng/L | 0.88542 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 246.21 | CLONIDINE | E | 60.8 | 218 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88542 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.88407 | 0.038603 | 0.88542 | 0.07717 | 0.057205
CLONIDINE | 2440 | 67518LCM56 | 2014-07-12 | ng/L | 0.92198 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 246.21 | CLONIDINE | . | 60.8 | 227 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92198 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88407 | 0.038603 | 0.88542 | 0.07717 | 0.057205
CLONIDINE | 2440 | 67518LCM56 | 2014-10-10 | ng/L | 0.84481 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 123.105 | CLONIDINE | . | 60.8 | 104 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84481 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88407 | 0.038603 | 0.88542 | 0.07717 | 0.057205
CLONIDINE | 2440 | 67518LCM56 | 2014-11-04 | ng/L | 0.83594 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 128 | CLONIDINE | . | 60.8 | 107 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83594 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.84961 | 0.13472 | 0.84297 | 0.17161 | 0.12722
CLONIDINE | 2440 | 67518LCM56 | 2014-12-06 | ng/L | 0.69167 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 240 | CLONIDINE | . | 60.8 | 166 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69167 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.84961 | 0.13472 | 0.84297 | 0.17161 | 0.12722
CLONIDINE | 2440 | 67518LCM56 | 2015-01-16 | ng/L | 0.85 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 240 | CLONIDINE | . | 60.8 | 204 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.84961 | 0.13472 | 0.84297 | 0.17161 | 0.12722
CLONIDINE | 2440 | 67518LCM56 | 2015-05-07 | ng/L | 1.0208 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 240 | CLONIDINE | . | 60.8 | 245 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0208 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.84961 | 0.13472 | 0.84297 | 0.17161 | 0.12722
CLONIDINE | 2440 | 67518LCM56 | 2014-05-30 | ng/L | 0.99915 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 123.105 | CLONIDINE | . | 60.8 | 123 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99915 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0195 | 0.11307 | 0.99915 | 0.22339 | 0.16559
CLONIDINE | 2440 | 67518LCM56 | 2014-06-22 | ng/L | 1.1413 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 246.21 | CLONIDINE | . | 60.8 | 281 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1413 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0195 | 0.11307 | 0.99915 | 0.22339 | 0.16559
CLONIDINE | 2440 | 67518LCM56 | 2014-07-13 | ng/L | 0.91792 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 123.105 | CLONIDINE | . | 60.8 | 113 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91792 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0195 | 0.11307 | 0.99915 | 0.22339 | 0.16559
CLONIDINE | 2440 | 67518LCM56 | 2014-10-10 | ng/L | 0.75708 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 123.105 | CLONIDINE | . | 60.8 | 93.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75708 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83486 | 0.071806 | 0.84887 | 0.14155 | 0.10493
CLONIDINE | 2440 | 67518LCM56 | 2014-11-04 | ng/L | 0.89862 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 131.312 | CLONIDINE | . | 60.8 | 118 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89862 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83486 | 0.071806 | 0.84887 | 0.14155 | 0.10493
CLONIDINE | 2440 | 67518LCM56 | 2015-02-06 | ng/L | 0.84887 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 246.21 | CLONIDINE | . | 60.8 | 209 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84887 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83486 | 0.071806 | 0.84887 | 0.14155 | 0.10493
CLONIDINE | 2440 | 67518LCM56 | 2015-07-30 | ng/L | 0.88255 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 180.16 | CLONIDINE | . | 60.8 | 159 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88255 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74378 | 0.19624 | 0.74378 | 0.27753 | 0.20573
CLONIDINE | 2440 | 67518LCM56 | 2015-08-11 | ng/L | 0.60502 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 90.08 | CLONIDINE | E | 60.8 | 54.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60502 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.74378 | 0.19624 | 0.74378 | 0.27753 | 0.20573
CLONIDINE | 2440 | 67518LCM56 | 2015-06-09 | ng/L | 0.76488 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 90.08 | CLONIDINE | . | 60.8 | 68.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76488 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76488 |  | 0.76488 | 0 | 0
CLONIDINE | 2440 | 67518LCM56 | 2015-06-26 | ng/L | 0.81261 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 90.08 | CLONIDINE | . | 60.8 | 73.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81261 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7893 | 0.032969 | 0.7893 | 0.046625 | 0.034563
CLONIDINE | 2440 | 67518LCM56 | 2015-07-31 | ng/L | 0.76599 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 180.16 | CLONIDINE | . | 60.8 | 138 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76599 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.7893 | 0.032969 | 0.7893 | 0.046625 | 0.034563
CLONIDINE | 2440 | 67518LCM56 | 2015-10-01 | ng/L | 0.8881 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 360.32 | CLONIDINE | . | 60.8 | 320 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8881 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8881 |  | 0.8881 | 0 | 0
CLONIDINE | 2440 | 67518LCM56 | 2014-08-30 | ng/L | 0.77667 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 120 | CLONIDINE | . | 60.8 | 93.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77667 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77667 |  | 0.77667 | 0 | 0
CLONIDINE | 2440 | 67518LCM56 | 2014-10-11 | ng/L | 0.74098 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 131.312 | CLONIDINE | . | 60.8 | 97.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74098 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.786 | 0.045841 | 0.78439 | 0.091639 | 0.067931
CLONIDINE | 2440 | 67518LCM56 | 2015-03-10 | ng/L | 0.83262 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 246.21 | CLONIDINE | . | 60.8 | 205 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83262 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.786 | 0.045841 | 0.78439 | 0.091639 | 0.067931
CLONIDINE | 2440 | 67518LCM56 | 2015-04-10 | ng/L | 0.78439 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 131.312 | CLONIDINE | . | 60.8 | 103 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78439 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.786 | 0.045841 | 0.78439 | 0.091639 | 0.067931
CLONIDINE | 2440 | 67518LCM56 | 2014-07-13 | ng/L | 0.86667 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 120 | CLONIDINE | . | 60.8 | 104 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68833 | 0.19661 | 0.72083 | 0.38917 | 0.28849
CLONIDINE | 2440 | 67518LCM56 | 2014-08-16 | ng/L | 0.4775 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 120 | CLONIDINE | . | 60.8 | 57.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4775 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68833 | 0.19661 | 0.72083 | 0.38917 | 0.28849
CLONIDINE | 2440 | 67518LCM56 | 2014-08-28 | ng/L | 0.72083 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 240 | CLONIDINE | . | 60.8 | 173 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72083 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68833 | 0.19661 | 0.72083 | 0.38917 | 0.28849
CLONIDINE | 2440 | 67518LCM56 | 2014-10-24 | ng/L | 0.78906 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 128 | CLONIDINE | . | 60.8 | 101 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78906 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79774 | 0.05675 | 0.78906 | 0.1125 | 0.083395
CLONIDINE | 2440 | 67518LCM56 | 2014-12-07 | ng/L | 0.74583 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 240 | CLONIDINE | . | 60.8 | 179 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74583 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79774 | 0.05675 | 0.78906 | 0.1125 | 0.083395
CLONIDINE | 2440 | 67518LCM56 | 2015-03-10 | ng/L | 0.85833 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 240 | CLONIDINE | . | 60.8 | 206 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79774 | 0.05675 | 0.78906 | 0.1125 | 0.083395
CLONIDINE | 2440 | 67518LCM56 | 2015-04-29 | ng/L | 0.9375 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 240 | CLONIDINE | . | 60.8 | 225 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9375 |  | 0.9375 | 0 | 0
CLONIDINE | 2440 | 67518LCM56 | 2015-10-01 | ng/L | 0.82982 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 360.32 | CLONIDINE | . | 60.8 | 299 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82982 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82982 |  | 0.82982 | 0 | 0
CLONIDINE | 2440 | 67518LCM56 | 2015-09-15 | ng/L | 0.75494 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 91 | CLONIDINE | . | 60.8 | 68.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75495 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75495 |  | 0.75495 | 0 | 0
CLONIDINE | 2440 | 67518LCM56 | 2015-09-09 | ng/L | 0.91538 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 91 | CLONIDINE | . | 60.8 | 83.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91538 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91538 |  | 0.91538 | 0 | 0
CLONIDINE | 2440 | 67518LCM56 | 2015-10-01 | ng/L | 0.67582 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 182 | CLONIDINE | . | 60.8 | 123 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67582 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67582 |  | 0.67582 | 0 | 0