## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
COTININE | 2440 | 67444LCM56 | 2014-05-21 | ng/L | 0.86362 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 25.59 | COTININE | . | 6.37 | 22.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86362 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83288 | 0.09299 | 0.86362 | 0.17819 | 0.13209
COTININE | 2440 | 67444LCM56 | 2014-07-12 | ng/L | 0.9066 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 25.59 | COTININE | . | 6.37 | 23.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9066 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83288 | 0.09299 | 0.86362 | 0.17819 | 0.13209
COTININE | 2440 | 67444LCM56 | 2014-10-10 | ng/L | 0.72841 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 12.795 | COTININE | . | 6.37 | 9.32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72841 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83288 | 0.09299 | 0.86362 | 0.17819 | 0.13209
COTININE | 2440 | 67444LCM56 | 2014-11-04 | ng/L | 0.76471 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 13.6 | COTININE | . | 6.37 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76471 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.83627 | 0.10879 | 0.81569 | 0.17059 | 0.12646
COTININE | 2440 | 67444LCM56 | 2014-12-06 | ng/L | 0.73725 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 25.5 | COTININE | E | 6.37 | 18.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73725 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.83627 | 0.10879 | 0.81569 | 0.17059 | 0.12646
COTININE | 2440 | 67444LCM56 | 2015-01-16 | ng/L | 0.86667 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 25.5 | COTININE | . | 6.37 | 22.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.83627 | 0.10879 | 0.81569 | 0.17059 | 0.12646
COTININE | 2440 | 67444LCM56 | 2015-05-07 | ng/L | 0.97647 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 25.5 | COTININE | . | 6.37 | 24.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97647 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.83627 | 0.10879 | 0.81569 | 0.17059 | 0.12646
COTININE | 2440 | 67444LCM56 | 2014-05-30 | ng/L | 0.88316 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 12.795 | COTININE | . | 6.37 | 11.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88316 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95741 | 0.085704 | 0.93787 | 0.16803 | 0.12456
COTININE | 2440 | 67444LCM56 | 2014-06-22 | ng/L | 1.0512 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 25.59 | COTININE | . | 6.37 | 26.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0512 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95741 | 0.085704 | 0.93787 | 0.16803 | 0.12456
COTININE | 2440 | 67444LCM56 | 2014-07-13 | ng/L | 0.93787 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 12.795 | COTININE | . | 6.37 | 12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93787 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95741 | 0.085704 | 0.93787 | 0.16803 | 0.12456
COTININE | 2440 | 67444LCM56 | 2014-10-10 | ng/L | 0.61743 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 12.795 | COTININE | E | 6.37 | 7.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61743 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.69151 | 0.091134 | 0.66383 | 0.17585 | 0.13036
COTININE | 2440 | 67444LCM56 | 2014-11-04 | ng/L | 0.66383 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 13.648 | COTININE | . | 6.37 | 9.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66383 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69151 | 0.091134 | 0.66383 | 0.17585 | 0.13036
COTININE | 2440 | 67444LCM56 | 2015-02-06 | ng/L | 0.79328 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 25.59 | COTININE | . | 6.37 | 20.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79328 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69151 | 0.091134 | 0.66383 | 0.17585 | 0.13036
COTININE | 2440 | 67444LCM56 | 2015-07-30 | ng/L | 0.74719 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 19.2721 | COTININE | . | 6.37 | 14.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74719 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74719 |  | 0.74719 | 0 | 0
COTININE | 2440 | 67444LCM56 | 2015-07-09 | ng/L | 0.81465 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 9.6361 | COTININE | . | 6.37 | 7.85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81465 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81465 |  | 0.81465 | 0 | 0
COTININE | 2440 | 67444LCM56 | 2015-06-09 | ng/L | 0.62474 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 9.6361 | COTININE | . | 6.37 | 6.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62474 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.62474 |  | 0.62474 | 0 | 0
COTININE | 2440 | 67444LCM56 | 2014-08-30 | ng/L | 0.88627 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 12.75 | COTININE | E | 6.37 | 11.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88627 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.88627 |  | 0.88627 | 0 | 0
COTININE | 2440 | 67444LCM56 | 2014-10-11 | ng/L | 0.61035 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 13.648 | COTININE | E | 6.37 | 8.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61035 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.74223 | 0.1193 | 0.77374 | 0.23227 | 0.17218
COTININE | 2440 | 67444LCM56 | 2015-03-10 | ng/L | 0.77374 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 25.59 | COTININE | . | 6.37 | 19.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77374 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74223 | 0.1193 | 0.77374 | 0.23227 | 0.17218
COTININE | 2440 | 67444LCM56 | 2015-04-10 | ng/L | 0.84261 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 13.648 | COTININE | . | 6.37 | 11.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84261 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74223 | 0.1193 | 0.77374 | 0.23227 | 0.17218
COTININE | 2440 | 67444LCM56 | 2014-08-16 | ng/L | 0.56157 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 12.75 | COTININE | . | 6.37 | 7.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56157 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.60627 | 0.063224 | 0.60627 | 0.089412 | 0.06628
COTININE | 2440 | 67444LCM56 | 2014-08-28 | ng/L | 0.65098 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 25.5 | COTININE | E | 6.37 | 16.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65098 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.60627 | 0.063224 | 0.60627 | 0.089412 | 0.06628
COTININE | 2440 | 67444LCM56 | 2014-10-24 | ng/L | 0.91176 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 13.6 | COTININE | E | 6.37 | 12.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91176 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.83464 | 0.06725 | 0.80392 | 0.12353 | 0.091571
COTININE | 2440 | 67444LCM56 | 2014-12-07 | ng/L | 0.80392 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 25.5 | COTININE | E | 6.37 | 20.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80392 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.83464 | 0.06725 | 0.80392 | 0.12353 | 0.091571
COTININE | 2440 | 67444LCM56 | 2015-03-10 | ng/L | 0.78824 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 25.5 | COTININE | . | 6.37 | 20.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78824 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83464 | 0.06725 | 0.80392 | 0.12353 | 0.091571
COTININE | 2440 | 67444LCM56 | 2015-04-29 | ng/L | 0.93333 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 25.5 | COTININE | . | 6.37 | 23.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93333 |  | 0.93333 | 0 | 0
COTININE | 2440 | 67444LCM56 | 2015-10-01 | ng/L | 0.68947 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 38 | COTININE | . | 6.37 | 26.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68947 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68947 |  | 0.68947 | 0 | 0
COTININE | 2440 | 67444LCM56 | 2015-10-01 | ng/L | 0.54105 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 9.5 | COTININE | . | 6.37 | 5.14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54105 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.54105 |  | 0.54105 | 0 | 0
COTININE | 2440 | 67444LCM56 | 2015-07-31 | ng/L | 1.043 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 19.2721 | COTININE | . | 6.37 | 20.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.043 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.043 |  | 1.043 | 0 | 0
COTININE | 2440 | 67444LCM56 | 2014-04-23 | ng/L | 0.92667 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 15 | COTININE | . | 6.37 | 13.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92667 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92667 |  | 0.92667 | 0 | 0