## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-05-17 | ng/L | 0.78299 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 48.915 | DEHYDRONIFEDIPINE | . | 24.5 | 38.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78299 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80446 | 0.1054 | 0.78299 | 0.2075 | 0.15382
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-06-11 | ng/L | 0.91894 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 97.83 | DEHYDRONIFEDIPINE | . | 24.5 | 89.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91894 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80446 | 0.1054 | 0.78299 | 0.2075 | 0.15382
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-06-28 | ng/L | 0.71144 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 48.915 | DEHYDRONIFEDIPINE | . | 24.5 | 34.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71144 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80446 | 0.1054 | 0.78299 | 0.2075 | 0.15382
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-09-12 | ng/L | 0.74924 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 49.65 | DEHYDRONIFEDIPINE | . | 24.5 | 37.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74924 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.85099 | 0.14437 | 0.79865 | 0.19933 | 0.14776
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-10-25 | ng/L | 0.84391 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 99.3 | DEHYDRONIFEDIPINE | . | 24.5 | 83.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84391 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.85099 | 0.14437 | 0.79865 | 0.19933 | 0.14776
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2015-02-10 | ng/L | 1.0574 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 52.96 | DEHYDRONIFEDIPINE | . | 24.5 | 56 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0574 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.85099 | 0.14437 | 0.79865 | 0.19933 | 0.14776
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2015-04-30 | ng/L | 0.7534 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 52.96 | DEHYDRONIFEDIPINE | E | 24.5 | 39.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7534 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.85099 | 0.14437 | 0.79865 | 0.19933 | 0.14776
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-05-21 | ng/L | 0.85352 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 97.83 | DEHYDRONIFEDIPINE | . | 24.5 | 83.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85352 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79185 | 0.053412 | 0.76153 | 0.093019 | 0.068954
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-07-12 | ng/L | 0.76153 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 97.83 | DEHYDRONIFEDIPINE | . | 24.5 | 74.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76153 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79185 | 0.053412 | 0.76153 | 0.093019 | 0.068954
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-10-10 | ng/L | 0.7605 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 48.915 | DEHYDRONIFEDIPINE | . | 24.5 | 37.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7605 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79185 | 0.053412 | 0.76153 | 0.093019 | 0.068954
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-11-04 | ng/L | 0.71105 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 52.176 | DEHYDRONIFEDIPINE | E | 24.5 | 37.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71105 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.87515 | 0.16195 | 0.85812 | 0.25829 | 0.19147
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-12-06 | ng/L | 0.78095 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 97.83 | DEHYDRONIFEDIPINE | . | 24.5 | 76.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78095 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.87515 | 0.16195 | 0.85812 | 0.25829 | 0.19147
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2015-01-16 | ng/L | 0.9353 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 97.83 | DEHYDRONIFEDIPINE | . | 24.5 | 91.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9353 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.87515 | 0.16195 | 0.85812 | 0.25829 | 0.19147
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2015-05-07 | ng/L | 1.0733 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 97.83 | DEHYDRONIFEDIPINE | E | 24.5 | 105 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0733 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.87515 | 0.16195 | 0.85812 | 0.25829 | 0.19147
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2015-07-30 | ng/L | 0.70339 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 73.501 | DEHYDRONIFEDIPINE | . | 24.5 | 51.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70339 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.62244 | 0.11448 | 0.62244 | 0.1619 | 0.12002
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2015-08-11 | ng/L | 0.54149 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 36.7505 | DEHYDRONIFEDIPINE | E | 24.5 | 19.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54149 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.62244 | 0.11448 | 0.62244 | 0.1619 | 0.12002
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2015-07-09 | ng/L | 0.60407 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 36.7505 | DEHYDRONIFEDIPINE | . | 24.5 | 22.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60407 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.60407 |  | 0.60407 | 0 | 0
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2015-06-09 | ng/L | 0.63128 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 36.7505 | DEHYDRONIFEDIPINE | E | 24.5 | 23.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63128 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.63128 |  | 0.63128 | 0 | 0
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2015-09-10 | ng/L | 0.69758 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 74.4 | DEHYDRONIFEDIPINE | . | 24.5 | 51.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69758 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69758 |  | 0.69758 | 0 | 0
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-07-20 | ng/L | 0.66237 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 48.915 | DEHYDRONIFEDIPINE | . | 24.5 | 32.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66237 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76221 | 0.13822 | 0.70428 | 0.25759 | 0.19095
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-08-21 | ng/L | 0.70428 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 97.83 | DEHYDRONIFEDIPINE | . | 24.5 | 68.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70428 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76221 | 0.13822 | 0.70428 | 0.25759 | 0.19095
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2015-03-11 | ng/L | 0.91996 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 97.83 | DEHYDRONIFEDIPINE | . | 24.5 | 90 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91996 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76221 | 0.13822 | 0.70428 | 0.25759 | 0.19095
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-10-11 | ng/L | 0.714 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 99.3 | DEHYDRONIFEDIPINE | . | 24.5 | 70.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.714 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75449 | 0.035092 | 0.77341 | 0.062059 | 0.046004
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-12-06 | ng/L | 0.77341 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 99.3 | DEHYDRONIFEDIPINE | . | 24.5 | 76.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77341 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75449 | 0.035092 | 0.77341 | 0.062059 | 0.046004
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-12-07 | ng/L | 0.77606 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 52.96 | DEHYDRONIFEDIPINE | . | 24.5 | 41.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77606 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75449 | 0.035092 | 0.77341 | 0.062059 | 0.046004
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-10-11 | ng/L | 0.73263 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 52.96 | DEHYDRONIFEDIPINE | . | 24.5 | 38.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73263 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76406 | 0.083786 | 0.73263 | 0.15848 | 0.11748
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2015-03-10 | ng/L | 0.85901 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 99.3 | DEHYDRONIFEDIPINE | . | 24.5 | 85.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85901 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76406 | 0.083786 | 0.73263 | 0.15848 | 0.11748
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2015-04-10 | ng/L | 0.70053 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 52.96 | DEHYDRONIFEDIPINE | E | 24.5 | 37.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70053 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.76406 | 0.083786 | 0.73263 | 0.15848 | 0.11748
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-07-13 | ng/L | 0.7432 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 49.65 | DEHYDRONIFEDIPINE | . | 24.5 | 36.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7432 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.72239 | 0.034319 | 0.74119 | 0.060423 | 0.044791
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-08-16 | ng/L | 0.74119 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 49.65 | DEHYDRONIFEDIPINE | E | 24.5 | 36.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74119 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.72239 | 0.034319 | 0.74119 | 0.060423 | 0.044791
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2014-08-28 | ng/L | 0.68278 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 99.3 | DEHYDRONIFEDIPINE | E | 24.5 | 67.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68278 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.72239 | 0.034319 | 0.74119 | 0.060423 | 0.044791
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2015-10-01 | ng/L | 0.2957 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 148.8 | DEHYDRONIFEDIPINE | E | 24.5 | 44 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.2957 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.2957 |  | 0.2957 | 0 | 0
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2015-09-15 | ng/L | 0.77957 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 37.2 | DEHYDRONIFEDIPINE | . | 24.5 | 29 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77957 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77957 |  | 0.77957 | 0 | 0
DEHYDRONIFEDIPINE | 2440 | 67445LCM56 | 2015-07-31 | ng/L | 0.77278 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 73.501 | DEHYDRONIFEDIPINE | . | 24.5 | 56.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77278 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77278 |  | 0.77278 | 0 | 0