## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2014-05-17 | ng/L | 0.52462 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 24.78 | DESMETHYLDILTIAZEM | E | 12.4 | 13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52462 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.35136 | 0.15383 | 0.29863 | 0.29379 | 0.21778
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2014-06-11 | ng/L | 0.29863 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 49.56 | DESMETHYLDILTIAZEM | E | 12.4 | 14.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29863 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.35136 | 0.15383 | 0.29863 | 0.29379 | 0.21778
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2014-06-28 | ng/L | 0.23083 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 24.78 | DESMETHYLDILTIAZEM | E | 12.4 | 5.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.23083 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.35136 | 0.15383 | 0.29863 | 0.29379 | 0.21778
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2014-10-25 | ng/L | 0.50242 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 49.56 | DESMETHYLDILTIAZEM | E | 12.4 | 24.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50242 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.33734 | 0.14633 | 0.28602 | 0.27883 | 0.20669
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2015-02-10 | ng/L | 0.28602 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 26.432 | DESMETHYLDILTIAZEM | E | 12.4 | 7.56 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.28602 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.33734 | 0.14633 | 0.28602 | 0.27883 | 0.20669
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2015-04-30 | ng/L | 0.22359 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 26.432 | DESMETHYLDILTIAZEM | E | 12.4 | 5.91 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.22359 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.33734 | 0.14633 | 0.28602 | 0.27883 | 0.20669
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2014-05-30 | ng/L | 0.36521 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 24.78 | DESMETHYLDILTIAZEM | E | 12.4 | 9.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36521 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.50444 | 0.16594 | 0.46005 | 0.32284 | 0.23932
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2014-06-22 | ng/L | 0.68805 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 49.56 | DESMETHYLDILTIAZEM | E | 12.4 | 34.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68805 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.50444 | 0.16594 | 0.46005 | 0.32284 | 0.23932
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2014-07-13 | ng/L | 0.46005 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 24.78 | DESMETHYLDILTIAZEM | E | 12.4 | 11.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46005 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.50444 | 0.16594 | 0.46005 | 0.32284 | 0.23932
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2014-11-04 | ng/L | 0.37994 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 26.32 | DESMETHYLDILTIAZEM | E | 12.4 | 10 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.37994 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.43617 | 0.079523 | 0.43617 | 0.11246 | 0.083367
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2015-02-06 | ng/L | 0.4924 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 49.35 | DESMETHYLDILTIAZEM | E | 12.4 | 24.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4924 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.43617 | 0.079523 | 0.43617 | 0.11246 | 0.083367
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2015-09-10 | ng/L | 0.47195 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 37.08 | DESMETHYLDILTIAZEM | E | 12.4 | 17.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47195 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.47195 |  | 0.47195 | 0 | 0
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2014-07-20 | ng/L | 0.21114 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 24.675 | DESMETHYLDILTIAZEM | E | 12.4 | 5.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.21114 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.38014 | 0.239 | 0.38014 | 0.33799 | 0.25055
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2015-03-11 | ng/L | 0.54914 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 49.35 | DESMETHYLDILTIAZEM | E | 12.4 | 27.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54914 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.38014 | 0.239 | 0.38014 | 0.33799 | 0.25055
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2014-10-11 | ng/L | 0.36474 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 49.35 | DESMETHYLDILTIAZEM | E | 12.4 | 18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36474 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.44419 | 0.15187 | 0.36474 | 0.27077 | 0.20072
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2014-12-06 | ng/L | 0.34853 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 49.35 | DESMETHYLDILTIAZEM | E | 12.4 | 17.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34853 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.44419 | 0.15187 | 0.36474 | 0.27077 | 0.20072
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2014-12-07 | ng/L | 0.6193 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 26.32 | DESMETHYLDILTIAZEM | E | 12.4 | 16.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6193 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.44419 | 0.15187 | 0.36474 | 0.27077 | 0.20072
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2014-08-30 | ng/L | 0.37366 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 24.675 | DESMETHYLDILTIAZEM | E | 12.4 | 9.22 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.37366 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.37366 |  | 0.37366 | 0 | 0
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2014-10-24 | ng/L | 0.089664 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 26.432 | DESMETHYLDILTIAZEM | E | 12.4 | 2.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.089664 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.30363 | 0.19178 | 0.36118 | 0.37038 | 0.27456
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2014-12-07 | ng/L | 0.46005 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 49.56 | DESMETHYLDILTIAZEM | E | 12.4 | 22.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46005 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.30363 | 0.19178 | 0.36118 | 0.37038 | 0.27456
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2015-03-10 | ng/L | 0.36118 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 49.56 | DESMETHYLDILTIAZEM | E | 12.4 | 17.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36118 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.30363 | 0.19178 | 0.36118 | 0.37038 | 0.27456
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2015-04-29 | ng/L | 0.39919 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 49.35 | DESMETHYLDILTIAZEM | E | 12.4 | 19.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39919 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.39919 |  | 0.39919 | 0 | 0
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2015-10-01 | ng/L | 0.5205 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 74.16 | DESMETHYLDILTIAZEM | E | 12.4 | 38.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5205 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.5205 |  | 0.5205 | 0 | 0
DESMETHYLDILTIAZEM | 2440 | 67999LCM56 | 2015-10-01 | ng/L | 0.026429 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 18.54 | DESMETHYLDILTIAZEM | E | 12.4 | 0.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.026429 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.026429 |  | 0.026429 | 0 | 0