## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-05-21 | ng/L | 0.64555 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 33.15 | DEXTROMETHORPHAN | . | 8.2 | 21.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64555 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61217 | 0.060453 | 0.64555 | 0.10618 | 0.078713
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-07-12 | ng/L | 0.64857 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 33.15 | DEXTROMETHORPHAN | . | 8.2 | 21.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64857 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61217 | 0.060453 | 0.64555 | 0.10618 | 0.078713
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-10-10 | ng/L | 0.54238 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 16.575 | DEXTROMETHORPHAN | . | 8.2 | 8.99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54238 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61217 | 0.060453 | 0.64555 | 0.10618 | 0.078713
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-11-04 | ng/L | 0.4977 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 17.36 | DEXTROMETHORPHAN | . | 8.2 | 8.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4977 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69278 | 0.15268 | 0.70507 | 0.21813 | 0.16169
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-12-06 | ng/L | 0.66974 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 32.55 | DEXTROMETHORPHAN | . | 8.2 | 21.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66974 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69278 | 0.15268 | 0.70507 | 0.21813 | 0.16169
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-01-16 | ng/L | 0.86329 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 32.55 | DEXTROMETHORPHAN | . | 8.2 | 28.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86329 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69278 | 0.15268 | 0.70507 | 0.21813 | 0.16169
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-05-07 | ng/L | 0.7404 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 32.55 | DEXTROMETHORPHAN | . | 8.2 | 24.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7404 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69278 | 0.15268 | 0.70507 | 0.21813 | 0.16169
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-05-30 | ng/L | 0.69382 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 16.575 | DEXTROMETHORPHAN | . | 8.2 | 11.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69382 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69281 | 0.076928 | 0.69382 | 0.15385 | 0.11404
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-06-22 | ng/L | 0.76923 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 33.15 | DEXTROMETHORPHAN | . | 8.2 | 25.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76923 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69281 | 0.076928 | 0.69382 | 0.15385 | 0.11404
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-07-13 | ng/L | 0.61538 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 16.575 | DEXTROMETHORPHAN | . | 8.2 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61538 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69281 | 0.076928 | 0.69382 | 0.15385 | 0.11404
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-10-10 | ng/L | 0.58643 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 16.575 | DEXTROMETHORPHAN | . | 8.2 | 9.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58643 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57004 | 0.096823 | 0.58643 | 0.19155 | 0.142
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-11-04 | ng/L | 0.46606 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 17.68 | DEXTROMETHORPHAN | . | 8.2 | 8.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46606 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57004 | 0.096823 | 0.58643 | 0.19155 | 0.142
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-02-06 | ng/L | 0.65762 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 33.15 | DEXTROMETHORPHAN | . | 8.2 | 21.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65762 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57004 | 0.096823 | 0.58643 | 0.19155 | 0.142
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-07-30 | ng/L | 0.71778 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 24.52 | DEXTROMETHORPHAN | . | 8.2 | 17.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71778 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.57953 | 0.19552 | 0.57953 | 0.27651 | 0.20497
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-08-11 | ng/L | 0.44127 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 12.26 | DEXTROMETHORPHAN | E | 8.2 | 5.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44127 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.57953 | 0.19552 | 0.57953 | 0.27651 | 0.20497
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-06-09 | ng/L | 0.59706 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 12.26 | DEXTROMETHORPHAN | . | 8.2 | 7.32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59706 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.59706 |  | 0.59706 | 0 | 0
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-06-26 | ng/L | 0.60196 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 12.26 | DEXTROMETHORPHAN | . | 8.2 | 7.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60196 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.57423 | 0.03922 | 0.57423 | 0.055465 | 0.041116
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-07-31 | ng/L | 0.54649 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 24.52 | DEXTROMETHORPHAN | . | 8.2 | 13.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54649 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.57423 | 0.03922 | 0.57423 | 0.055465 | 0.041116
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-10-01 | ng/L | 0.8177 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 49.04 | DEXTROMETHORPHAN | . | 8.2 | 40.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8177 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8177 |  | 0.8177 | 0 | 0
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-08-30 | ng/L | 0.68817 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 16.275 | DEXTROMETHORPHAN | . | 8.2 | 11.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68817 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68817 |  | 0.68817 | 0 | 0
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-10-11 | ng/L | 0.53507 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 17.68 | DEXTROMETHORPHAN | . | 8.2 | 9.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53507 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55116 | 0.05205 | 0.53507 | 0.1003 | 0.074353
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-03-10 | ng/L | 0.60935 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 33.15 | DEXTROMETHORPHAN | . | 8.2 | 20.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60935 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55116 | 0.05205 | 0.53507 | 0.1003 | 0.074353
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-04-10 | ng/L | 0.50905 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 17.68 | DEXTROMETHORPHAN | . | 8.2 | 9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50905 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55116 | 0.05205 | 0.53507 | 0.1003 | 0.074353
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-07-13 | ng/L | 0.40614 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 16.275 | DEXTROMETHORPHAN | . | 8.2 | 6.61 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40614 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.42171 | 0.13035 | 0.40614 | 0.25929 | 0.19221
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-08-16 | ng/L | 0.29985 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 16.275 | DEXTROMETHORPHAN | . | 8.2 | 4.88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29985 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.42171 | 0.13035 | 0.40614 | 0.25929 | 0.19221
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-08-28 | ng/L | 0.55914 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 32.55 | DEXTROMETHORPHAN | . | 8.2 | 18.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55914 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.42171 | 0.13035 | 0.40614 | 0.25929 | 0.19221
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-10-24 | ng/L | 0.72005 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 17.36 | DEXTROMETHORPHAN | . | 8.2 | 12.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72005 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71518 | 0.0052139 | 0.71582 | 0.010369 | 0.0076862
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2014-12-07 | ng/L | 0.71582 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 32.55 | DEXTROMETHORPHAN | . | 8.2 | 23.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71582 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71518 | 0.0052139 | 0.71582 | 0.010369 | 0.0076862
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-03-10 | ng/L | 0.70968 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 32.55 | DEXTROMETHORPHAN | . | 8.2 | 23.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70968 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71518 | 0.0052139 | 0.71582 | 0.010369 | 0.0076862
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-04-29 | ng/L | 0.83564 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 32.55 | DEXTROMETHORPHAN | . | 8.2 | 27.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83564 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83564 |  | 0.83564 | 0 | 0
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-10-01 | ng/L | 0.77692 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 49.04 | DEXTROMETHORPHAN | . | 8.2 | 38.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77692 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77692 |  | 0.77692 | 0 | 0
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-09-15 | ng/L | 0.65253 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 12.26 | DEXTROMETHORPHAN | . | 8.2 | 8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65253 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.65253 |  | 0.65253 | 0 | 0
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-09-09 | ng/L | 0.77814 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 12.26 | DEXTROMETHORPHAN | . | 8.2 | 9.54 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77814 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77814 |  | 0.77814 | 0 | 0
DEXTROMETHORPHAN | 2440 | 67468LCM56 | 2015-10-01 | ng/L | 0.66476 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 24.52 | DEXTROMETHORPHAN | . | 8.2 | 16.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66476 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66476 |  | 0.66476 | 0 | 0