## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-05-17 | ng/L | 0.65559 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 11.2875 | DIPHENHYDRAMINE | . | 5.79 | 7.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65559 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61218 | 0.067663 | 0.64673 | 0.12137 | 0.089973
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-06-11 | ng/L | 0.64673 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 22.575 | DIPHENHYDRAMINE | . | 5.79 | 14.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64673 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61218 | 0.067663 | 0.64673 | 0.12137 | 0.089973
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-06-28 | ng/L | 0.53422 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 11.2875 | DIPHENHYDRAMINE | . | 5.79 | 6.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53422 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61218 | 0.067663 | 0.64673 | 0.12137 | 0.089973
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-09-12 | ng/L | 0.54641 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 11.475 | DIPHENHYDRAMINE | . | 5.79 | 6.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54641 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.66499 | 0.099994 | 0.67116 | 0.16021 | 0.11876
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-10-25 | ng/L | 0.77124 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 22.95 | DIPHENHYDRAMINE | . | 5.79 | 17.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77124 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.66499 | 0.099994 | 0.67116 | 0.16021 | 0.11876
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2015-02-10 | ng/L | 0.62337 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 12.24 | DIPHENHYDRAMINE | . | 5.79 | 7.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62337 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.66499 | 0.099994 | 0.67116 | 0.16021 | 0.11876
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2015-04-30 | ng/L | 0.71895 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 12.24 | DIPHENHYDRAMINE | . | 5.79 | 8.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71895 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.66499 | 0.099994 | 0.67116 | 0.16021 | 0.11876
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-05-21 | ng/L | 0.66888 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 22.575 | DIPHENHYDRAMINE | . | 5.79 | 15.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66888 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.67538 | 0.011253 | 0.66888 | 0.019491 | 0.014448
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-07-12 | ng/L | 0.66888 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 22.575 | DIPHENHYDRAMINE | . | 5.79 | 15.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66888 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.67538 | 0.011253 | 0.66888 | 0.019491 | 0.014448
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-10-10 | ng/L | 0.68837 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 11.2875 | DIPHENHYDRAMINE | . | 5.79 | 7.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68837 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.67538 | 0.011253 | 0.66888 | 0.019491 | 0.014448
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-11-04 | ng/L | 0.63455 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 12.04 | DIPHENHYDRAMINE | E | 5.79 | 7.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63455 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.74336 | 0.12706 | 0.70875 | 0.17885 | 0.13258
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-12-06 | ng/L | 0.67331 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 22.575 | DIPHENHYDRAMINE | . | 5.79 | 15.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67331 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.74336 | 0.12706 | 0.70875 | 0.17885 | 0.13258
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2015-01-16 | ng/L | 0.74419 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 22.575 | DIPHENHYDRAMINE | . | 5.79 | 16.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74419 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.74336 | 0.12706 | 0.70875 | 0.17885 | 0.13258
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2015-05-07 | ng/L | 0.92137 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 22.575 | DIPHENHYDRAMINE | . | 5.79 | 20.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92137 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.74336 | 0.12706 | 0.70875 | 0.17885 | 0.13258
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2015-07-31 | ng/L | 0.90487 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 17.24 | DIPHENHYDRAMINE | E | 5.79 | 15.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90487 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.90487 |  | 0.90487 | 0 | 0
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2015-10-01 | ng/L | 0.60788 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 35.04 | DIPHENHYDRAMINE | E | 5.79 | 21.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60788 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.60788 |  | 0.60788 | 0 | 0
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-07-20 | ng/L | 0.54662 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 11.2875 | DIPHENHYDRAMINE | . | 5.79 | 6.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54662 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.63699 | 0.12499 | 0.58472 | 0.233 | 0.17272
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-08-21 | ng/L | 0.58472 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 22.575 | DIPHENHYDRAMINE | . | 5.79 | 13.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58472 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.63699 | 0.12499 | 0.58472 | 0.233 | 0.17272
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2015-03-11 | ng/L | 0.77962 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 22.575 | DIPHENHYDRAMINE | E | 5.79 | 17.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77962 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.63699 | 0.12499 | 0.58472 | 0.233 | 0.17272
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-10-11 | ng/L | 0.64924 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 22.95 | DIPHENHYDRAMINE | . | 5.79 | 14.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64924 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71069 | 0.063997 | 0.70588 | 0.12772 | 0.09468
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-12-06 | ng/L | 0.70588 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 22.95 | DIPHENHYDRAMINE | . | 5.79 | 16.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70588 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71069 | 0.063997 | 0.70588 | 0.12772 | 0.09468
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-12-07 | ng/L | 0.77696 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 12.24 | DIPHENHYDRAMINE | . | 5.79 | 9.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77696 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71069 | 0.063997 | 0.70588 | 0.12772 | 0.09468
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-10-11 | ng/L | 0.6348 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 12.24 | DIPHENHYDRAMINE | . | 5.79 | 7.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6348 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66294 | 0.025378 | 0.66993 | 0.049292 | 0.03654
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2015-03-10 | ng/L | 0.6841 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 22.95 | DIPHENHYDRAMINE | E | 5.79 | 15.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6841 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.66294 | 0.025378 | 0.66993 | 0.049292 | 0.03654
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2015-04-10 | ng/L | 0.66993 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 12.24 | DIPHENHYDRAMINE | E | 5.79 | 8.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66993 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.66294 | 0.025378 | 0.66993 | 0.049292 | 0.03654
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-07-13 | ng/L | 0.54031 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 11.475 | DIPHENHYDRAMINE | . | 5.79 | 6.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54031 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.5772 | 0.034046 | 0.58388 | 0.067102 | 0.049742
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-08-16 | ng/L | 0.60741 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 11.475 | DIPHENHYDRAMINE | . | 5.79 | 6.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60741 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.5772 | 0.034046 | 0.58388 | 0.067102 | 0.049742
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-08-28 | ng/L | 0.58388 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 22.95 | DIPHENHYDRAMINE | . | 5.79 | 13.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58388 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.5772 | 0.034046 | 0.58388 | 0.067102 | 0.049742
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2015-10-01 | ng/L | 0.79338 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 17.52 | DIPHENHYDRAMINE | E | 5.79 | 13.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79338 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.79338 |  | 0.79338 | 0 | 0
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2015-07-31 | ng/L | 0.58219 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 17.52 | DIPHENHYDRAMINE | E | 5.79 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58219 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.58219 |  | 0.58219 | 0 | 0