## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DULOXETINE | 2440 | 67448LCM56 | 2014-05-17 | ng/L | 0.55687 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 73.0875 | DULOXETINE | E | 36.6 | 40.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55687 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.47591 | 0.084709 | 0.48298 | 0.16898 | 0.12526
DULOXETINE | 2440 | 67448LCM56 | 2014-06-11 | ng/L | 0.38789 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 146.175 | DULOXETINE | E | 36.6 | 56.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38789 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.47591 | 0.084709 | 0.48298 | 0.16898 | 0.12526
DULOXETINE | 2440 | 67448LCM56 | 2014-06-28 | ng/L | 0.48298 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 73.0875 | DULOXETINE | E | 36.6 | 35.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48298 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.47591 | 0.084709 | 0.48298 | 0.16898 | 0.12526
DULOXETINE | 2440 | 67448LCM56 | 2014-09-12 | ng/L | 0.44126 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 73.2 | DULOXETINE | E | 36.6 | 32.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44126 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.48698 | 0.15038 | 0.50137 | 0.23301 | 0.17273
DULOXETINE | 2440 | 67448LCM56 | 2014-10-25 | ng/L | 0.56148 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 146.4 | DULOXETINE | E | 36.6 | 82.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56148 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.48698 | 0.15038 | 0.50137 | 0.23301 | 0.17273
DULOXETINE | 2440 | 67448LCM56 | 2015-02-10 | ng/L | 0.29969 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 78.08 | DULOXETINE | E | 36.6 | 23.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29969 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.48698 | 0.15038 | 0.50137 | 0.23301 | 0.17273
DULOXETINE | 2440 | 67448LCM56 | 2015-04-30 | ng/L | 0.64549 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 78.08 | DULOXETINE | E | 36.6 | 50.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64549 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.48698 | 0.15038 | 0.50137 | 0.23301 | 0.17273
DULOXETINE | 2440 | 67448LCM56 | 2014-05-21 | ng/L | 0.53292 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 146.175 | DULOXETINE | E | 36.6 | 77.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53292 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.52403 | 0.012577 | 0.52403 | 0.017787 | 0.013185
DULOXETINE | 2440 | 67448LCM56 | 2014-07-12 | ng/L | 0.51514 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 146.175 | DULOXETINE | E | 36.6 | 75.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51514 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.52403 | 0.012577 | 0.52403 | 0.017787 | 0.013185
DULOXETINE | 2440 | 67448LCM56 | 2014-11-04 | ng/L | 0.31939 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 77.96 | DULOXETINE | E | 36.6 | 24.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31939 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.46774 | 0.11364 | 0.4864 | 0.17278 | 0.12808
DULOXETINE | 2440 | 67448LCM56 | 2014-12-06 | ng/L | 0.5295 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 146.175 | DULOXETINE | E | 36.6 | 77.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5295 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.46774 | 0.11364 | 0.4864 | 0.17278 | 0.12808
DULOXETINE | 2440 | 67448LCM56 | 2015-01-16 | ng/L | 0.57876 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 146.175 | DULOXETINE | E | 36.6 | 84.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57876 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.46774 | 0.11364 | 0.4864 | 0.17278 | 0.12808
DULOXETINE | 2440 | 67448LCM56 | 2015-05-07 | ng/L | 0.4433 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 146.175 | DULOXETINE | E | 36.6 | 64.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4433 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.46774 | 0.11364 | 0.4864 | 0.17278 | 0.12808
DULOXETINE | 2440 | 67448LCM56 | 2015-07-09 | ng/L | 0.50516 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 54.24 | DULOXETINE | E | 36.6 | 27.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50516 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.50516 |  | 0.50516 | 0 | 0
DULOXETINE | 2440 | 67448LCM56 | 2015-06-26 | ng/L | 1.1449 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 54.24 | DULOXETINE | E | 36.6 | 62.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1449 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.84301 | 0.42695 | 0.84301 | 0.6038 | 0.44759
DULOXETINE | 2440 | 67448LCM56 | 2015-07-31 | ng/L | 0.54111 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 108.48 | DULOXETINE | E | 36.6 | 58.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54111 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.84301 | 0.42695 | 0.84301 | 0.6038 | 0.44759
DULOXETINE | 2440 | 67448LCM56 | 2015-10-01 | ng/L | 0.681 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 223.2 | DULOXETINE | E | 36.6 | 152 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.681 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.681 |  | 0.681 | 0 | 0
DULOXETINE | 2440 | 67448LCM56 | 2015-09-10 | ng/L | 0.63053 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 108.48 | DULOXETINE | E | 36.6 | 68.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63053 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.63053 |  | 0.63053 | 0 | 0
DULOXETINE | 2440 | 67448LCM56 | 2014-07-20 | ng/L | 0.23533 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 73.0875 | DULOXETINE | E | 36.6 | 17.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.23533 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.35893 | 0.16891 | 0.29006 | 0.31606 | 0.23429
DULOXETINE | 2440 | 67448LCM56 | 2014-08-21 | ng/L | 0.29006 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 146.175 | DULOXETINE | E | 36.6 | 42.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29006 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.35893 | 0.16891 | 0.29006 | 0.31606 | 0.23429
DULOXETINE | 2440 | 67448LCM56 | 2015-03-11 | ng/L | 0.55139 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 146.175 | DULOXETINE | E | 36.6 | 80.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55139 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.35893 | 0.16891 | 0.29006 | 0.31606 | 0.23429
DULOXETINE | 2440 | 67448LCM56 | 2014-10-11 | ng/L | 0.60109 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 146.4 | DULOXETINE | E | 36.6 | 88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60109 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.61945 | 0.083704 | 0.60109 | 0.16436 | 0.12184
DULOXETINE | 2440 | 67448LCM56 | 2014-12-06 | ng/L | 0.54645 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 146.4 | DULOXETINE | E | 36.6 | 80 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54645 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.61945 | 0.083704 | 0.60109 | 0.16436 | 0.12184
DULOXETINE | 2440 | 67448LCM56 | 2014-12-07 | ng/L | 0.71081 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 78.08 | DULOXETINE | E | 36.6 | 55.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71081 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.61945 | 0.083704 | 0.60109 | 0.16436 | 0.12184
DULOXETINE | 2440 | 67448LCM56 | 2014-10-11 | ng/L | 0.43673 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 78.08 | DULOXETINE | E | 36.6 | 34.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43673 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.46837 | 0.044738 | 0.46837 | 0.063268 | 0.0469
DULOXETINE | 2440 | 67448LCM56 | 2015-03-10 | ng/L | 0.5 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 146.4 | DULOXETINE | E | 36.6 | 73.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.46837 | 0.044738 | 0.46837 | 0.063268 | 0.0469
DULOXETINE | 2440 | 67448LCM56 | 2014-07-13 | ng/L | 0.25 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 73.2 | DULOXETINE | E | 36.6 | 18.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.25 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.35838 | 0.12023 | 0.33743 | 0.2377 | 0.17621
DULOXETINE | 2440 | 67448LCM56 | 2014-08-16 | ng/L | 0.33743 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 73.2 | DULOXETINE | E | 36.6 | 24.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33743 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.35838 | 0.12023 | 0.33743 | 0.2377 | 0.17621
DULOXETINE | 2440 | 67448LCM56 | 2014-08-28 | ng/L | 0.4877 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 146.4 | DULOXETINE | E | 36.6 | 71.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4877 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.35838 | 0.12023 | 0.33743 | 0.2377 | 0.17621
DULOXETINE | 2440 | 67448LCM56 | 2015-09-09 | ng/L | 0.5826 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 54.24 | DULOXETINE | E | 36.6 | 31.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5826 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.5826 |  | 0.5826 | 0 | 0
DULOXETINE | 2440 | 67448LCM56 | 2015-10-01 | ng/L | 0.56541 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 111.6 | DULOXETINE | E | 36.6 | 63.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56541 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.56541 |  | 0.56541 | 0 | 0
DULOXETINE | 2440 | 67448LCM56 | 2015-07-31 | ng/L | 0.78226 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 111.6 | DULOXETINE | E | 36.6 | 87.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78226 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.78226 |  | 0.78226 | 0 | 0