## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
EZETIMIBE | 2440 | 67487LCM56 | 2014-05-17 | ng/L | 0.67388 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 126.135 | EZETIMIBE | E | 63.5 | 85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67388 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.67388 |  | 0.67388 | 0 | 0
EZETIMIBE | 2440 | 67487LCM56 | 2014-10-25 | ng/L | 0.50739 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 252.27 | EZETIMIBE | E | 63.5 | 128 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50739 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.65877 | 0.21408 | 0.65877 | 0.30275 | 0.22443
EZETIMIBE | 2440 | 67487LCM56 | 2015-04-30 | ng/L | 0.81014 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 134.544 | EZETIMIBE | E | 63.5 | 109 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81014 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.65877 | 0.21408 | 0.65877 | 0.30275 | 0.22443
EZETIMIBE | 2440 | 67487LCM56 | 2014-11-04 | ng/L | 0.375 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 136 | EZETIMIBE | E | 63.5 | 51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.375 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.38358 | 0.012132 | 0.38358 | 0.017157 | 0.012718
EZETIMIBE | 2440 | 67487LCM56 | 2015-02-06 | ng/L | 0.39216 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 255 | EZETIMIBE | E | 63.5 | 100 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39216 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.38358 | 0.012132 | 0.38358 | 0.017157 | 0.012718
EZETIMIBE | 2440 | 67487LCM56 | 2015-07-30 | ng/L | 0.23592 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 188.2 | EZETIMIBE | E | 63.5 | 44.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.23592 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.23592 |  | 0.23592 | 0 | 0
EZETIMIBE | 2440 | 67487LCM56 | 2015-06-09 | ng/L | 2.6567 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 94.1 | EZETIMIBE | E | 63.5 | 250 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 2 |  | 2 | 0 | 0 | 2
EZETIMIBE | 2440 | 67487LCM56 | 2015-06-26 | ng/L | 1.2434 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 94.1 | EZETIMIBE | E | 63.5 | 117 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2434 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.71174 | 0.75182 | 0.71174 | 1.0632 | 0.78816
EZETIMIBE | 2440 | 67487LCM56 | 2015-07-31 | ng/L | 0.18013 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 188.2 | EZETIMIBE | E | 63.5 | 33.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.18013 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.71174 | 0.75182 | 0.71174 | 1.0632 | 0.78816
EZETIMIBE | 2440 | 67487LCM56 | 2015-10-01 | ng/L | 0.77046 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 376.4 | EZETIMIBE | E | 63.5 | 290 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77046 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.77046 |  | 0.77046 | 0 | 0
EZETIMIBE | 2440 | 67487LCM56 | 2015-03-11 | ng/L | 0.85098 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 255 | EZETIMIBE | E | 63.5 | 217 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85098 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.85098 |  | 0.85098 | 0 | 0
EZETIMIBE | 2440 | 67487LCM56 | 2014-10-11 | ng/L | 0.22314 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 255 | EZETIMIBE | E | 63.5 | 56.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.22314 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.24987 | 0.078492 | 0.22314 | 0.15 | 0.11119
EZETIMIBE | 2440 | 67487LCM56 | 2014-12-06 | ng/L | 0.18824 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 255 | EZETIMIBE | E | 63.5 | 48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.18824 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.24987 | 0.078492 | 0.22314 | 0.15 | 0.11119
EZETIMIBE | 2440 | 67487LCM56 | 2014-12-07 | ng/L | 0.33824 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 136 | EZETIMIBE | E | 63.5 | 46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33824 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.24987 | 0.078492 | 0.22314 | 0.15 | 0.11119
EZETIMIBE | 2440 | 67487LCM56 | 2014-10-24 | ng/L | 0.39392 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 134.544 | EZETIMIBE | E | 63.5 | 53 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39392 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.40904 | 0.021373 | 0.40904 | 0.030226 | 0.022406
EZETIMIBE | 2440 | 67487LCM56 | 2014-12-07 | ng/L | 0.42415 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 252.27 | EZETIMIBE | E | 63.5 | 107 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42415 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.40904 | 0.021373 | 0.40904 | 0.030226 | 0.022406
EZETIMIBE | 2440 | 67487LCM56 | 2015-10-01 | ng/L | 1.3098 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 376.4 | EZETIMIBE | E | 63.5 | 493 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3098 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3098 |  | 1.3098 | 0 | 0
EZETIMIBE | 2440 | 67487LCM56 | 2015-10-01 | ng/L | 0.35504 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 190.4 | EZETIMIBE | E | 63.5 | 67.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35504 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.35504 |  | 0.35504 | 0 | 0
EZETIMIBE | 2440 | 67487LCM56 | 2014-04-23 | ng/L | 0.4384 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 125 | EZETIMIBE | E | 63.5 | 54.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4384 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.4384 |  | 0.4384 | 0 | 0