## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FAMOTIDINE | 2440 | 68000LCM56 | 2014-07-12 | ng/L | 0.53362 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 42.165 | FAMOTIDINE | E | 10.7 | 22.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53362 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.53362 |  | 0.53362 | 0 | 0
FAMOTIDINE | 2440 | 68000LCM56 | 2014-11-04 | ng/L | 0.4417 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 22.64 | FAMOTIDINE | E | 10.7 | 10 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4417 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.53327 | 0.094402 | 0.51355 | 0.12544 | 0.092989
FAMOTIDINE | 2440 | 68000LCM56 | 2014-12-06 | ng/L | 0.52768 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 42.45 | FAMOTIDINE | E | 10.7 | 22.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52768 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.53327 | 0.094402 | 0.51355 | 0.12544 | 0.092989
FAMOTIDINE | 2440 | 68000LCM56 | 2015-01-16 | ng/L | 0.66431 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 42.45 | FAMOTIDINE | E | 10.7 | 28.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66431 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.53327 | 0.094402 | 0.51355 | 0.12544 | 0.092989
FAMOTIDINE | 2440 | 68000LCM56 | 2015-05-07 | ng/L | 0.49941 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 42.45 | FAMOTIDINE | E | 10.7 | 21.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49941 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.53327 | 0.094402 | 0.51355 | 0.12544 | 0.092989
FAMOTIDINE | 2440 | 68000LCM56 | 2014-06-22 | ng/L | 1.5012 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 42.165 | FAMOTIDINE | E | 10.7 | 63.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5012 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0684 | 0.6121 | 1.0684 | 0.86565 | 0.6417
FAMOTIDINE | 2440 | 68000LCM56 | 2014-07-13 | ng/L | 0.6356 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 21.0825 | FAMOTIDINE | E | 10.7 | 13.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6356 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0684 | 0.6121 | 1.0684 | 0.86565 | 0.6417
FAMOTIDINE | 2440 | 68000LCM56 | 2014-11-04 | ng/L | 0.92494 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 22.488 | FAMOTIDINE | E | 10.7 | 20.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92494 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.92494 |  | 0.92494 | 0 | 0
FAMOTIDINE | 2440 | 68000LCM56 | 2015-06-26 | ng/L | 0.54057 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 16.02 | FAMOTIDINE | E | 10.7 | 8.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54057 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.54057 |  | 0.54057 | 0 | 0
FAMOTIDINE | 2440 | 68000LCM56 | 2014-08-30 | ng/L | 0.59364 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 21.225 | FAMOTIDINE | E | 10.7 | 12.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59364 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.59364 |  | 0.59364 | 0 | 0
FAMOTIDINE | 2440 | 68000LCM56 | 2015-03-10 | ng/L | 2.6325 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 42.165 | FAMOTIDINE | E | 10.7 | 111 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.6314 | 0.52121 | 1.6314 | 0.7371 | 0.54641 | 2
FAMOTIDINE | 2440 | 68000LCM56 | 2015-04-10 | ng/L | 1.2629 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 22.488 | FAMOTIDINE | E | 10.7 | 28.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2629 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.6314 | 0.52121 | 1.6314 | 0.7371 | 0.54641
FAMOTIDINE | 2440 | 68000LCM56 | 2014-08-16 | ng/L | 0.64075 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 21.225 | FAMOTIDINE | E | 10.7 | 13.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64075 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.68198 | 0.058301 | 0.68198 | 0.08245 | 0.061119
FAMOTIDINE | 2440 | 68000LCM56 | 2014-08-28 | ng/L | 0.7232 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 42.45 | FAMOTIDINE | E | 10.7 | 30.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7232 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.68198 | 0.058301 | 0.68198 | 0.08245 | 0.061119
FAMOTIDINE | 2440 | 68000LCM56 | 2014-10-24 | ng/L | 0.61396 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 22.64 | FAMOTIDINE | E | 10.7 | 13.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61396 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0535 | 0.82039 | 0.61396 | 1.4535 | 1.0774
FAMOTIDINE | 2440 | 68000LCM56 | 2014-12-07 | ng/L | 0.54653 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 42.45 | FAMOTIDINE | E | 10.7 | 23.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54653 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0535 | 0.82039 | 0.61396 | 1.4535 | 1.0774
FAMOTIDINE | 2440 | 68000LCM56 | 2015-03-10 | ng/L | 2.3204 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 42.45 | FAMOTIDINE | E | 10.7 | 98.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0535 | 0.82039 | 0.61396 | 1.4535 | 1.0774 | 2
FAMOTIDINE | 2440 | 68000LCM56 | 2015-04-29 | ng/L | 0.44523 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 42.45 | FAMOTIDINE | E | 10.7 | 18.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44523 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.44523 |  | 0.44523 | 0 | 0