## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FENOFIBRATE | 2440 | 67489LCM56 | 2014-06-11 | ng/L | 0.63927 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 24.09 | FENOFIBRATE | . | 6.28 | 15.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63927 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.63927 |  | 0.63927 | 0 | 0
FENOFIBRATE | 2440 | 67489LCM56 | 2014-10-25 | ng/L | 0.24048 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 25.2 | FENOFIBRATE | . | 6.28 | 6.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.24048 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.40595 | 0.23402 | 0.40595 | 0.33095 | 0.24533
FENOFIBRATE | 2440 | 67489LCM56 | 2015-02-10 | ng/L | 0.57143 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 13.44 | FENOFIBRATE | E | 6.28 | 7.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57143 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.40595 | 0.23402 | 0.40595 | 0.33095 | 0.24533
FENOFIBRATE | 2440 | 67489LCM56 | 2014-05-21 | ng/L | 0.48983 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 24.09 | FENOFIBRATE | E | 6.28 | 11.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48983 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.42867 | 0.078938 | 0.45662 | 0.15027 | 0.11139
FENOFIBRATE | 2440 | 67489LCM56 | 2014-07-12 | ng/L | 0.45662 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 24.09 | FENOFIBRATE | . | 6.28 | 11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45662 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.42867 | 0.078938 | 0.45662 | 0.15027 | 0.11139
FENOFIBRATE | 2440 | 67489LCM56 | 2014-10-10 | ng/L | 0.33956 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 12.045 | FENOFIBRATE | . | 6.28 | 4.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33956 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.42867 | 0.078938 | 0.45662 | 0.15027 | 0.11139
FENOFIBRATE | 2440 | 67489LCM56 | 2014-12-06 | ng/L | 0.42756 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 24.09 | FENOFIBRATE | . | 6.28 | 10.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42756 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.53826 | 0.095955 | 0.58946 | 0.1702 | 0.12616
FENOFIBRATE | 2440 | 67489LCM56 | 2015-01-16 | ng/L | 0.59776 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 24.09 | FENOFIBRATE | . | 6.28 | 14.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59776 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.53826 | 0.095955 | 0.58946 | 0.1702 | 0.12616
FENOFIBRATE | 2440 | 67489LCM56 | 2015-05-07 | ng/L | 0.58946 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 24.09 | FENOFIBRATE | . | 6.28 | 14.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58946 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.53826 | 0.095955 | 0.58946 | 0.1702 | 0.12616
FENOFIBRATE | 2440 | 67489LCM56 | 2015-06-26 | ng/L | 1.0911 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 9.44 | FENOFIBRATE | E | 6.28 | 10.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0911 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0911 |  | 1.0911 | 0 | 0
FENOFIBRATE | 2440 | 67489LCM56 | 2015-08-27 | ng/L | 0.55191 | 2015-08-06 08:00 | 20152190007 | Abs, Abs | 052215, 050115 | Abs 052215: 20 µl & Abs 050115: 20 µl | 9.44 | FENOFIBRATE | E | 6.28 | 5.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55191 | Ab052215, Ab050115 | Ab | Ab | Ab | 052215 | 050115 | 050115 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.55191 |  | 0.55191 | 0 | 0
FENOFIBRATE | 2440 | 67489LCM56 | 2015-09-10 | ng/L | 0.64089 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 18.88 | FENOFIBRATE | E | 6.28 | 12.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64089 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.64089 |  | 0.64089 | 0 | 0
FENOFIBRATE | 2440 | 67489LCM56 | 2014-08-21 | ng/L | 0.39809 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 24.09 | FENOFIBRATE | . | 6.28 | 9.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39809 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.39809 |  | 0.39809 | 0 | 0
FENOFIBRATE | 2440 | 67489LCM56 | 2014-10-11 | ng/L | 0.31746 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 25.2 | FENOFIBRATE | . | 6.28 | 8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31746 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.33892 | 0.022099 | 0.3377 | 0.044147 | 0.032726
FENOFIBRATE | 2440 | 67489LCM56 | 2014-12-06 | ng/L | 0.3377 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 25.2 | FENOFIBRATE | . | 6.28 | 8.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3377 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.33892 | 0.022099 | 0.3377 | 0.044147 | 0.032726
FENOFIBRATE | 2440 | 67489LCM56 | 2014-12-07 | ng/L | 0.36161 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 13.44 | FENOFIBRATE | . | 6.28 | 4.86 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36161 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.33892 | 0.022099 | 0.3377 | 0.044147 | 0.032726
FENOFIBRATE | 2440 | 67489LCM56 | 2014-10-11 | ng/L | 0.14658 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 13.44 | FENOFIBRATE | . | 6.28 | 1.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.14658 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.2094 | 0.088844 | 0.2094 | 0.12564 | 0.093139
FENOFIBRATE | 2440 | 67489LCM56 | 2015-03-10 | ng/L | 0.27222 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 25.2 | FENOFIBRATE | E | 6.28 | 6.86 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.27222 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.2094 | 0.088844 | 0.2094 | 0.12564 | 0.093139
FENOFIBRATE | 2440 | 67489LCM56 | 2015-09-09 | ng/L | 0.61653 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 9.44 | FENOFIBRATE | E | 6.28 | 5.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61653 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.61653 |  | 0.61653 | 0 | 0
FENOFIBRATE | 2440 | 67489LCM56 | 2015-10-01 | ng/L | 0.66631 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 18.76 | FENOFIBRATE | E | 6.28 | 12.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66631 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.66631 |  | 0.66631 | 0 | 0