## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FEXOFENADINE | 2440 | 67510LCM56 | 2014-05-17 | ng/L | 0.77284 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 39.9825 | FEXOFENADINE | . | 19.9 | 30.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77284 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71698 | 0.061991 | 0.72782 | 0.12255 | 0.090848
FEXOFENADINE | 2440 | 67510LCM56 | 2014-06-11 | ng/L | 0.72782 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 79.965 | FEXOFENADINE | E | 19.9 | 58.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72782 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.71698 | 0.061991 | 0.72782 | 0.12255 | 0.090848
FEXOFENADINE | 2440 | 67510LCM56 | 2014-06-28 | ng/L | 0.65028 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 39.9825 | FEXOFENADINE | . | 19.9 | 26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65028 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71698 | 0.061991 | 0.72782 | 0.12255 | 0.090848
FEXOFENADINE | 2440 | 67510LCM56 | 2014-09-12 | ng/L | 0.61027 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 39.9825 | FEXOFENADINE | . | 19.9 | 24.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61027 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.56458 | 0.069529 | 0.58401 | 0.10247 | 0.075958
FEXOFENADINE | 2440 | 67510LCM56 | 2014-10-25 | ng/L | 0.55774 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 79.965 | FEXOFENADINE | . | 19.9 | 44.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55774 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.56458 | 0.069529 | 0.58401 | 0.10247 | 0.075958
FEXOFENADINE | 2440 | 67510LCM56 | 2015-02-10 | ng/L | 0.62137 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 42.648 | FEXOFENADINE | . | 19.9 | 26.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62137 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.56458 | 0.069529 | 0.58401 | 0.10247 | 0.075958
FEXOFENADINE | 2440 | 67510LCM56 | 2015-04-30 | ng/L | 0.46896 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 42.648 | FEXOFENADINE | . | 19.9 | 20 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46896 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.56458 | 0.069529 | 0.58401 | 0.10247 | 0.075958
FEXOFENADINE | 2440 | 67510LCM56 | 2014-05-30 | ng/L | 0.66279 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 39.9825 | FEXOFENADINE | . | 19.9 | 26.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66279 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.73365 | 0.11419 | 0.67279 | 0.20259 | 0.15018
FEXOFENADINE | 2440 | 67510LCM56 | 2014-06-22 | ng/L | 0.86538 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 79.965 | FEXOFENADINE | E | 19.9 | 69.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86538 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.73365 | 0.11419 | 0.67279 | 0.20259 | 0.15018
FEXOFENADINE | 2440 | 67510LCM56 | 2014-07-13 | ng/L | 0.67279 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 39.9825 | FEXOFENADINE | . | 19.9 | 26.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67279 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.73365 | 0.11419 | 0.67279 | 0.20259 | 0.15018
FEXOFENADINE | 2440 | 67510LCM56 | 2014-10-10 | ng/L | 0.43866 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 40.35 | FEXOFENADINE | . | 19.9 | 17.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43866 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.56108 | 0.1072 | 0.60641 | 0.1995 | 0.14789
FEXOFENADINE | 2440 | 67510LCM56 | 2014-11-04 | ng/L | 0.60641 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 43.04 | FEXOFENADINE | . | 19.9 | 26.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60641 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.56108 | 0.1072 | 0.60641 | 0.1995 | 0.14789
FEXOFENADINE | 2440 | 67510LCM56 | 2015-02-06 | ng/L | 0.63817 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 80.7 | FEXOFENADINE | . | 19.9 | 51.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63817 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.56108 | 0.1072 | 0.60641 | 0.1995 | 0.14789
FEXOFENADINE | 2440 | 67510LCM56 | 2015-07-09 | ng/L | 0.60414 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 29.96 | FEXOFENADINE | E | 19.9 | 18.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60414 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.60414 |  | 0.60414 | 0 | 0
FEXOFENADINE | 2440 | 67510LCM56 | 2015-06-26 | ng/L | 0.56409 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 29.96 | FEXOFENADINE | E | 19.9 | 16.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56409 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54322 | 0.029502 | 0.54322 | 0.041722 | 0.030928
FEXOFENADINE | 2440 | 67510LCM56 | 2015-07-31 | ng/L | 0.52236 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 59.92 | FEXOFENADINE | E | 19.9 | 31.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52236 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.54322 | 0.029502 | 0.54322 | 0.041722 | 0.030928
FEXOFENADINE | 2440 | 67510LCM56 | 2015-09-10 | ng/L | 0.68425 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 59.92 | FEXOFENADINE | . | 19.9 | 41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68425 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68425 |  | 0.68425 | 0 | 0
FEXOFENADINE | 2440 | 67510LCM56 | 2014-07-20 | ng/L | 0.57001 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 40.35 | FEXOFENADINE | . | 19.9 | 23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57001 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61627 | 0.057248 | 0.59851 | 0.11029 | 0.081753
FEXOFENADINE | 2440 | 67510LCM56 | 2014-08-21 | ng/L | 0.59851 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 80.7 | FEXOFENADINE | . | 19.9 | 48.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59851 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61627 | 0.057248 | 0.59851 | 0.11029 | 0.081753
FEXOFENADINE | 2440 | 67510LCM56 | 2015-03-11 | ng/L | 0.6803 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 80.7 | FEXOFENADINE | . | 19.9 | 54.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6803 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61627 | 0.057248 | 0.59851 | 0.11029 | 0.081753
FEXOFENADINE | 2440 | 67510LCM56 | 2014-10-11 | ng/L | 0.5031 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 80.7 | FEXOFENADINE | . | 19.9 | 40.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5031 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55426 | 0.048577 | 0.55994 | 0.096654 | 0.071649
FEXOFENADINE | 2440 | 67510LCM56 | 2014-12-06 | ng/L | 0.59975 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 80.7 | FEXOFENADINE | . | 19.9 | 48.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59975 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55426 | 0.048577 | 0.55994 | 0.096654 | 0.071649
FEXOFENADINE | 2440 | 67510LCM56 | 2014-12-07 | ng/L | 0.55994 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 43.04 | FEXOFENADINE | . | 19.9 | 24.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55994 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55426 | 0.048577 | 0.55994 | 0.096654 | 0.071649
FEXOFENADINE | 2440 | 67510LCM56 | 2014-08-30 | ng/L | 0.5948 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 40.35 | FEXOFENADINE | . | 19.9 | 24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5948 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.5948 |  | 0.5948 | 0 | 0
FEXOFENADINE | 2440 | 67510LCM56 | 2014-10-24 | ng/L | 0.6073 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 42.648 | FEXOFENADINE | . | 19.9 | 25.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6073 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57801 | 0.026277 | 0.57025 | 0.050803 | 0.03766
FEXOFENADINE | 2440 | 67510LCM56 | 2014-12-07 | ng/L | 0.55649 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 79.965 | FEXOFENADINE | . | 19.9 | 44.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55649 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57801 | 0.026277 | 0.57025 | 0.050803 | 0.03766
FEXOFENADINE | 2440 | 67510LCM56 | 2015-03-10 | ng/L | 0.57025 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 79.965 | FEXOFENADINE | . | 19.9 | 45.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57025 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57801 | 0.026277 | 0.57025 | 0.050803 | 0.03766
FEXOFENADINE | 2440 | 67510LCM56 | 2015-04-29 | ng/L | 0.49195 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 80.7 | FEXOFENADINE | . | 19.9 | 39.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49195 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.49195 |  | 0.49195 | 0 | 0
FEXOFENADINE | 2440 | 67510LCM56 | 2015-09-09 | ng/L | 0.67423 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 29.96 | FEXOFENADINE | . | 19.9 | 20.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67423 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67423 |  | 0.67423 | 0 | 0
FEXOFENADINE | 2440 | 67510LCM56 | 2015-10-01 | ng/L | 0.59833 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 60 | FEXOFENADINE | E | 19.9 | 35.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59833 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.59833 |  | 0.59833 | 0 | 0
FEXOFENADINE | 2440 | 67510LCM56 | 2015-07-31 | ng/L | 0.66667 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 60 | FEXOFENADINE | E | 19.9 | 40 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66667 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.66667 |  | 0.66667 | 0 | 0
FEXOFENADINE | 2440 | 67510LCM56 | 2014-04-23 | ng/L | 0.5925 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 40 | FEXOFENADINE | . | 19.9 | 23.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5925 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.5925 |  | 0.5925 | 0 | 0