## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-05-21 | ng/L | 0.76718 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 282.855 | FLUCONAZOLE | . | 71 | 217 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76718 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85674 | 0.09396 | 0.84849 | 0.18738 | 0.1389
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-07-12 | ng/L | 0.84849 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 282.855 | FLUCONAZOLE | . | 71 | 240 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84849 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85674 | 0.09396 | 0.84849 | 0.18738 | 0.1389
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-10-10 | ng/L | 0.95455 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 141.4275 | FLUCONAZOLE | . | 71 | 135 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95455 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85674 | 0.09396 | 0.84849 | 0.18738 | 0.1389
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-11-04 | ng/L | 0.82461 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 152.8 | FLUCONAZOLE | . | 71 | 126 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82461 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.94524 | 0.11794 | 0.93717 | 0.19328 | 0.14328
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-12-06 | ng/L | 0.8726 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 286.5 | FLUCONAZOLE | . | 71 | 250 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8726 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.94524 | 0.11794 | 0.93717 | 0.19328 | 0.14328
FLUCONAZOLE | 2440 | 67478LCM56 | 2015-01-16 | ng/L | 1.082 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 286.5 | FLUCONAZOLE | . | 71 | 310 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.082 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.94524 | 0.11794 | 0.93717 | 0.19328 | 0.14328
FLUCONAZOLE | 2440 | 67478LCM56 | 2015-05-07 | ng/L | 1.0017 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 286.5 | FLUCONAZOLE | . | 71 | 287 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0017 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.94524 | 0.11794 | 0.93717 | 0.19328 | 0.14328
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-05-30 | ng/L | 0.93334 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 141.4275 | FLUCONAZOLE | . | 71 | 132 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93334 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90506 | 0.18546 | 0.93334 | 0.36768 | 0.27256
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-06-22 | ng/L | 1.0748 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 282.855 | FLUCONAZOLE | . | 71 | 304 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0748 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90506 | 0.18546 | 0.93334 | 0.36768 | 0.27256
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-07-13 | ng/L | 0.70708 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 141.4275 | FLUCONAZOLE | . | 71 | 100 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70708 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90506 | 0.18546 | 0.93334 | 0.36768 | 0.27256
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-10-10 | ng/L | 0.97576 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 141.4275 | FLUCONAZOLE | . | 71 | 138 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97576 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.97812 | 0.024832 | 0.97576 | 0.049495 | 0.03669
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-11-04 | ng/L | 0.95455 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 150.856 | FLUCONAZOLE | . | 71 | 144 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95455 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.97812 | 0.024832 | 0.97576 | 0.049495 | 0.03669
FLUCONAZOLE | 2440 | 67478LCM56 | 2015-02-06 | ng/L | 1.004 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 282.855 | FLUCONAZOLE | . | 71 | 284 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.004 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.97812 | 0.024832 | 0.97576 | 0.049495 | 0.03669
FLUCONAZOLE | 2440 | 67478LCM56 | 2015-07-09 | ng/L | 0.79947 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 106.32 | FLUCONAZOLE | . | 71 | 85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79947 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79947 |  | 0.79947 | 0 | 0
FLUCONAZOLE | 2440 | 67478LCM56 | 2015-06-26 | ng/L | 0.83521 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 106.32 | FLUCONAZOLE | . | 71 | 88.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83521 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79148 | 0.061852 | 0.79148 | 0.087472 | 0.064842
FLUCONAZOLE | 2440 | 67478LCM56 | 2015-07-31 | ng/L | 0.74774 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 212.64 | FLUCONAZOLE | E | 71 | 159 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74774 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.79148 | 0.061852 | 0.79148 | 0.087472 | 0.064842
FLUCONAZOLE | 2440 | 67478LCM56 | 2015-10-01 | ng/L | 0.42448 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 426.4 | FLUCONAZOLE | E | 71 | 181 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42448 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.42448 |  | 0.42448 | 0 | 0
FLUCONAZOLE | 2440 | 67478LCM56 | 2015-09-10 | ng/L | 0.61136 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 212.64 | FLUCONAZOLE | . | 71 | 130 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61136 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.61136 |  | 0.61136 | 0 | 0
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-08-30 | ng/L | 0.94241 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 143.25 | FLUCONAZOLE | . | 71 | 135 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94241 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94241 |  | 0.94241 | 0 | 0
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-10-11 | ng/L | 0.85512 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 150.856 | FLUCONAZOLE | . | 71 | 129 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85512 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89887 | 0.039927 | 0.90815 | 0.07822 | 0.057984
FLUCONAZOLE | 2440 | 67478LCM56 | 2015-03-10 | ng/L | 0.93334 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 282.855 | FLUCONAZOLE | . | 71 | 264 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93334 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89887 | 0.039927 | 0.90815 | 0.07822 | 0.057984
FLUCONAZOLE | 2440 | 67478LCM56 | 2015-04-10 | ng/L | 0.90815 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 150.856 | FLUCONAZOLE | . | 71 | 137 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90815 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89887 | 0.039927 | 0.90815 | 0.07822 | 0.057984
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-07-13 | ng/L | 0.78883 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 143.25 | FLUCONAZOLE | . | 71 | 113 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78883 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74485 | 0.21939 | 0.78883 | 0.43211 | 0.32032
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-08-16 | ng/L | 0.50681 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 143.25 | FLUCONAZOLE | E | 71 | 72.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50681 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.74485 | 0.21939 | 0.78883 | 0.43211 | 0.32032
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-08-28 | ng/L | 0.93892 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 286.5 | FLUCONAZOLE | . | 71 | 269 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93892 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74485 | 0.21939 | 0.78883 | 0.43211 | 0.32032
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-10-24 | ng/L | 1.0209 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 152.8 | FLUCONAZOLE | . | 71 | 156 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0209 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.071 | 0.067958 | 1.0436 | 0.1274 | 0.09444
FLUCONAZOLE | 2440 | 67478LCM56 | 2014-12-07 | ng/L | 1.1483 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 286.5 | FLUCONAZOLE | . | 71 | 329 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1483 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.071 | 0.067958 | 1.0436 | 0.1274 | 0.09444
FLUCONAZOLE | 2440 | 67478LCM56 | 2015-03-10 | ng/L | 1.0436 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 286.5 | FLUCONAZOLE | . | 71 | 299 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0436 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.071 | 0.067958 | 1.0436 | 0.1274 | 0.09444
FLUCONAZOLE | 2440 | 67478LCM56 | 2015-04-29 | ng/L | 1.1449 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 286.5 | FLUCONAZOLE | . | 71 | 328 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1449 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1449 |  | 1.1449 | 0 | 0
FLUCONAZOLE | 2440 | 67478LCM56 | 2015-09-09 | ng/L | 0.95937 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 106.32 | FLUCONAZOLE | . | 71 | 102 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95937 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95937 |  | 0.95937 | 0 | 0
FLUCONAZOLE | 2440 | 67478LCM56 | 2015-10-01 | ng/L | 0.67073 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 213.2 | FLUCONAZOLE | . | 71 | 143 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67073 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67073 |  | 0.67073 | 0 | 0
FLUCONAZOLE | 2440 | 67478LCM56 | 2015-07-31 | ng/L | 0.88649 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 213.2 | FLUCONAZOLE | E | 71 | 189 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88649 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.88649 |  | 0.88649 | 0 | 0