## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FLUOXETINE | 2440 | 67450LCM56 | 2014-05-21 | ng/L | 0.71285 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 106.755 | FLUOXETINE | E | 26.9 | 76.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71285 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.63635 | 0.071782 | 0.62573 | 0.14238 | 0.10555
FLUOXETINE | 2440 | 67450LCM56 | 2014-07-12 | ng/L | 0.57047 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 106.755 | FLUOXETINE | E | 26.9 | 60.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57047 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.63635 | 0.071782 | 0.62573 | 0.14238 | 0.10555
FLUOXETINE | 2440 | 67450LCM56 | 2014-10-10 | ng/L | 0.62573 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 53.3775 | FLUOXETINE | E | 26.9 | 33.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62573 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.63635 | 0.071782 | 0.62573 | 0.14238 | 0.10555
FLUOXETINE | 2440 | 67450LCM56 | 2014-11-04 | ng/L | 0.40966 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 57.12 | FLUOXETINE | E | 26.9 | 23.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40966 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.54359 | 0.14683 | 0.50747 | 0.19853 | 0.14717
FLUOXETINE | 2440 | 67450LCM56 | 2014-12-06 | ng/L | 0.47899 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 107.1 | FLUOXETINE | E | 26.9 | 51.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47899 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.54359 | 0.14683 | 0.50747 | 0.19853 | 0.14717
FLUOXETINE | 2440 | 67450LCM56 | 2015-01-16 | ng/L | 0.53595 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 107.1 | FLUOXETINE | E | 26.9 | 57.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53595 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.54359 | 0.14683 | 0.50747 | 0.19853 | 0.14717
FLUOXETINE | 2440 | 67450LCM56 | 2015-05-07 | ng/L | 0.74977 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 107.1 | FLUOXETINE | E | 26.9 | 80.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74977 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.54359 | 0.14683 | 0.50747 | 0.19853 | 0.14717
FLUOXETINE | 2440 | 67450LCM56 | 2014-05-30 | ng/L | 0.73252 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 53.3775 | FLUOXETINE | E | 26.9 | 39.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73252 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.63135 | 0.15616 | 0.71004 | 0.28102 | 0.20832
FLUOXETINE | 2440 | 67450LCM56 | 2014-06-22 | ng/L | 0.71004 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 106.755 | FLUOXETINE | E | 26.9 | 75.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71004 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.63135 | 0.15616 | 0.71004 | 0.28102 | 0.20832
FLUOXETINE | 2440 | 67450LCM56 | 2014-07-13 | ng/L | 0.4515 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 53.3775 | FLUOXETINE | E | 26.9 | 24.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4515 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.63135 | 0.15616 | 0.71004 | 0.28102 | 0.20832
FLUOXETINE | 2440 | 67450LCM56 | 2014-10-10 | ng/L | 0.50583 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 53.3775 | FLUOXETINE | E | 26.9 | 27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50583 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.48706 | 0.043491 | 0.50583 | 0.080675 | 0.059804
FLUOXETINE | 2440 | 67450LCM56 | 2014-11-04 | ng/L | 0.43733 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 56.936 | FLUOXETINE | E | 26.9 | 24.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43733 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.48706 | 0.043491 | 0.50583 | 0.080675 | 0.059804
FLUOXETINE | 2440 | 67450LCM56 | 2015-02-06 | ng/L | 0.51801 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 106.755 | FLUOXETINE | E | 26.9 | 55.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51801 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.48706 | 0.043491 | 0.50583 | 0.080675 | 0.059804
FLUOXETINE | 2440 | 67450LCM56 | 2015-07-30 | ng/L | 0.7762 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 80.6494 | FLUOXETINE | E | 26.9 | 62.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7762 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64849 | 0.18061 | 0.64849 | 0.25543 | 0.18935
FLUOXETINE | 2440 | 67450LCM56 | 2015-08-11 | ng/L | 0.52077 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 40.3247 | FLUOXETINE | E | 26.9 | 21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52077 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64849 | 0.18061 | 0.64849 | 0.25543 | 0.18935
FLUOXETINE | 2440 | 67450LCM56 | 2015-07-09 | ng/L | 0.4439 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 40.3247 | FLUOXETINE | E | 26.9 | 17.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4439 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.4439 |  | 0.4439 | 0 | 0
FLUOXETINE | 2440 | 67450LCM56 | 2015-06-09 | ng/L | 0.57781 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 40.3247 | FLUOXETINE | E | 26.9 | 23.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57781 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.57781 |  | 0.57781 | 0 | 0
FLUOXETINE | 2440 | 67450LCM56 | 2015-09-10 | ng/L | 0.61453 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 81.2 | FLUOXETINE | E | 26.9 | 49.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61453 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.61453 |  | 0.61453 | 0 | 0
FLUOXETINE | 2440 | 67450LCM56 | 2014-08-30 | ng/L | 0.61438 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 53.55 | FLUOXETINE | E | 26.9 | 32.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61438 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.61438 |  | 0.61438 | 0 | 0
FLUOXETINE | 2440 | 67450LCM56 | 2014-10-11 | ng/L | 0.50934 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 56.936 | FLUOXETINE | E | 26.9 | 29 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50934 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.51602 | 0.0094387 | 0.51602 | 0.013348 | 0.009895
FLUOXETINE | 2440 | 67450LCM56 | 2015-03-10 | ng/L | 0.52269 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 106.755 | FLUOXETINE | E | 26.9 | 55.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52269 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.51602 | 0.0094387 | 0.51602 | 0.013348 | 0.009895
FLUOXETINE | 2440 | 67450LCM56 | 2014-08-28 | ng/L | 0.47526 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 107.1 | FLUOXETINE | E | 26.9 | 50.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47526 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.47526 |  | 0.47526 | 0 | 0
FLUOXETINE | 2440 | 67450LCM56 | 2014-10-24 | ng/L | 0.46919 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 57.12 | FLUOXETINE | E | 26.9 | 26.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46919 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.53953 | 0.068477 | 0.54342 | 0.13679 | 0.1014
FLUOXETINE | 2440 | 67450LCM56 | 2014-12-07 | ng/L | 0.60598 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 107.1 | FLUOXETINE | E | 26.9 | 64.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60598 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.53953 | 0.068477 | 0.54342 | 0.13679 | 0.1014
FLUOXETINE | 2440 | 67450LCM56 | 2015-03-10 | ng/L | 0.54342 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 107.1 | FLUOXETINE | E | 26.9 | 58.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54342 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.53953 | 0.068477 | 0.54342 | 0.13679 | 0.1014
FLUOXETINE | 2440 | 67450LCM56 | 2015-04-29 | ng/L | 0.77218 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 107.1 | FLUOXETINE | E | 26.9 | 82.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77218 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.77218 |  | 0.77218 | 0 | 0
FLUOXETINE | 2440 | 67450LCM56 | 2015-10-01 | ng/L | 0.52956 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 162.4 | FLUOXETINE | E | 26.9 | 86 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52956 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.52956 |  | 0.52956 | 0 | 0
FLUOXETINE | 2440 | 67450LCM56 | 2015-09-15 | ng/L | 0.6601 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 40.6 | FLUOXETINE | E | 26.9 | 26.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6601 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.6601 |  | 0.6601 | 0 | 0
FLUOXETINE | 2440 | 67450LCM56 | 2015-10-01 | ng/L | 0.41626 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 40.6 | FLUOXETINE | E | 26.9 | 16.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41626 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.41626 |  | 0.41626 | 0 | 0
FLUOXETINE | 2440 | 67450LCM56 | 2015-07-31 | ng/L | 0.88283 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 80.6494 | FLUOXETINE | E | 26.9 | 71.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88283 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.88283 |  | 0.88283 | 0 | 0
FLUOXETINE | 2440 | 67450LCM56 | 2014-04-23 | ng/L | 0.58 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 55 | FLUOXETINE | E | 26.9 | 31.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.58 |  | 0.58 | 0 | 0