## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-05-17 | ng/L | 1.0722 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 9.075 | FLUTICASONE_PROPIONATE | . | 4.62 | 9.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0722 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77282 | 0.28832 | 0.74931 | 0.57521 | 0.42639
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-06-11 | ng/L | 0.74931 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 18.15 | FLUTICASONE_PROPIONATE | E | 4.62 | 13.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74931 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.77282 | 0.28832 | 0.74931 | 0.57521 | 0.42639
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-06-28 | ng/L | 0.49697 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 9.075 | FLUTICASONE_PROPIONATE | E | 4.62 | 4.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49697 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.77282 | 0.28832 | 0.74931 | 0.57521 | 0.42639
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-09-12 | ng/L | 0.39449 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 9.075 | FLUTICASONE_PROPIONATE | . | 4.62 | 3.58 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39449 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.48163 | 0.24821 | 0.53609 | 0.39935 | 0.29603
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-10-25 | ng/L | 0.67769 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 18.15 | FLUTICASONE_PROPIONATE | . | 4.62 | 12.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67769 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.48163 | 0.24821 | 0.53609 | 0.39935 | 0.29603
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2015-02-10 | ng/L | 0.68492 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 9.68 | FLUTICASONE_PROPIONATE | . | 4.62 | 6.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68492 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.48163 | 0.24821 | 0.53609 | 0.39935 | 0.29603
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2015-04-30 | ng/L | 0.16942 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 9.68 | FLUTICASONE_PROPIONATE | . | 4.62 | 1.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.16942 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.48163 | 0.24821 | 0.53609 | 0.39935 | 0.29603
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-05-30 | ng/L | 0.92452 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 9.075 | FLUTICASONE_PROPIONATE | . | 4.62 | 8.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92452 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8 | 0.28611 | 0.92452 | 0.53003 | 0.3929
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-06-22 | ng/L | 1.0028 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 18.15 | FLUTICASONE_PROPIONATE | E | 4.62 | 18.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0028 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.8 | 0.28611 | 0.92452 | 0.53003 | 0.3929
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-07-13 | ng/L | 0.47273 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 9.075 | FLUTICASONE_PROPIONATE | . | 4.62 | 4.29 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47273 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8 | 0.28611 | 0.92452 | 0.53003 | 0.3929
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-10-10 | ng/L | 0.6624 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 9.375 | FLUTICASONE_PROPIONATE | . | 4.62 | 6.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6624 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.58613 | 0.19926 | 0.6624 | 0.376 | 0.27872
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-11-04 | ng/L | 0.36 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 10 | FLUTICASONE_PROPIONATE | . | 4.62 | 3.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.58613 | 0.19926 | 0.6624 | 0.376 | 0.27872
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2015-02-06 | ng/L | 0.736 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 18.75 | FLUTICASONE_PROPIONATE | . | 4.62 | 13.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.736 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.58613 | 0.19926 | 0.6624 | 0.376 | 0.27872
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2015-07-09 | ng/L | 0.6474 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 6.92 | FLUTICASONE_PROPIONATE | E | 4.62 | 4.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6474 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.6474 |  | 0.6474 | 0 | 0
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2015-06-26 | ng/L | 0.53902 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 6.92 | FLUTICASONE_PROPIONATE | . | 4.62 | 3.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53902 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.65607 | 0.16554 | 0.65607 | 0.2341 | 0.17354
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2015-07-31 | ng/L | 0.77312 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 13.84 | FLUTICASONE_PROPIONATE | E | 4.62 | 10.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77312 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.65607 | 0.16554 | 0.65607 | 0.2341 | 0.17354
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2015-09-10 | ng/L | 1.1633 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 13.84 | FLUTICASONE_PROPIONATE | E | 4.62 | 16.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1633 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1633 |  | 1.1633 | 0 | 0
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-08-21 | ng/L | 0.69867 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 18.75 | FLUTICASONE_PROPIONATE | . | 4.62 | 13.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69867 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71467 | 0.022627 | 0.71467 | 0.032 | 0.023721
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2015-03-11 | ng/L | 0.73067 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 18.75 | FLUTICASONE_PROPIONATE | . | 4.62 | 13.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73067 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.71467 | 0.022627 | 0.71467 | 0.032 | 0.023721
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-10-11 | ng/L | 0.688 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 18.75 | FLUTICASONE_PROPIONATE | . | 4.62 | 12.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.688 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70244 | 0.064884 | 0.688 | 0.12733 | 0.094391
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-12-06 | ng/L | 0.77333 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 18.75 | FLUTICASONE_PROPIONATE | . | 4.62 | 14.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77333 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70244 | 0.064884 | 0.688 | 0.12733 | 0.094391
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-12-07 | ng/L | 0.646 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 10 | FLUTICASONE_PROPIONATE | . | 4.62 | 6.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.646 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70244 | 0.064884 | 0.688 | 0.12733 | 0.094391
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-08-30 | ng/L | 0.65067 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 9.375 | FLUTICASONE_PROPIONATE | E | 4.62 | 6.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65067 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.65067 |  | 0.65067 | 0 | 0
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-10-24 | ng/L | 0.4845 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 9.68 | FLUTICASONE_PROPIONATE | . | 4.62 | 4.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4845 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61035 | 0.17912 | 0.53113 | 0.33092 | 0.24531
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2014-12-07 | ng/L | 0.81543 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 18.15 | FLUTICASONE_PROPIONATE | . | 4.62 | 14.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81543 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61035 | 0.17912 | 0.53113 | 0.33092 | 0.24531
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2015-03-10 | ng/L | 0.53113 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 18.15 | FLUTICASONE_PROPIONATE | . | 4.62 | 9.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53113 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61035 | 0.17912 | 0.53113 | 0.33092 | 0.24531
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2015-04-29 | ng/L | 0.832 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 18.75 | FLUTICASONE_PROPIONATE | . | 4.62 | 15.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.832 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.832 |  | 0.832 | 0 | 0
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2015-09-09 | ng/L | 1.0202 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 6.92 | FLUTICASONE_PROPIONATE | . | 4.62 | 7.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0202 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0202 |  | 1.0202 | 0 | 0
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2015-10-01 | ng/L | 0.88663 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 13.76 | FLUTICASONE_PROPIONATE | E | 4.62 | 12.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88663 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.88663 |  | 0.88663 | 0 | 0
FLUTICASONE PROPIONATE | 2440 | 67529LCM56 | 2015-07-31 | ng/L | 1.1192 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 13.76 | FLUTICASONE_PROPIONATE | E | 4.62 | 15.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1192 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1192 |  | 1.1192 | 0 | 0