## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-05-17 | ng/L | 0.39669 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 107.64 | FLUVOXAMINE | E | 53.8 | 42.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39669 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.33274 | 0.058794 | 0.32051 | 0.11566 | 0.08574
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-06-11 | ng/L | 0.28103 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 215.28 | FLUVOXAMINE | E | 53.8 | 60.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.28103 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.33274 | 0.058794 | 0.32051 | 0.11566 | 0.08574
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-06-28 | ng/L | 0.32051 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 107.64 | FLUVOXAMINE | E | 53.8 | 34.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.32051 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.33274 | 0.058794 | 0.32051 | 0.11566 | 0.08574
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-09-12 | ng/L | 0.34653 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 107.64 | FLUVOXAMINE | E | 53.8 | 37.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34653 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.30314 | 0.062459 | 0.301 | 0.10692 | 0.079262
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-10-25 | ng/L | 0.25548 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 215.28 | FLUVOXAMINE | E | 53.8 | 55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.25548 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.30314 | 0.062459 | 0.301 | 0.10692 | 0.079262
FLUVOXAMINE | 2440 | 67521LCM56 | 2015-02-10 | ng/L | 0.24387 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 114.816 | FLUVOXAMINE | E | 53.8 | 28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.24387 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.30314 | 0.062459 | 0.301 | 0.10692 | 0.079262
FLUVOXAMINE | 2440 | 67521LCM56 | 2015-04-30 | ng/L | 0.36667 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 114.816 | FLUVOXAMINE | E | 53.8 | 42.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36667 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.30314 | 0.062459 | 0.301 | 0.10692 | 0.079262
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-05-30 | ng/L | 0.33538 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 107.64 | FLUVOXAMINE | E | 53.8 | 36.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33538 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.37594 | 0.14687 | 0.33538 | 0.28521 | 0.21142
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-06-22 | ng/L | 0.53883 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 215.28 | FLUVOXAMINE | E | 53.8 | 116 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53883 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.37594 | 0.14687 | 0.33538 | 0.28521 | 0.21142
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-07-13 | ng/L | 0.25362 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 107.64 | FLUVOXAMINE | E | 53.8 | 27.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.25362 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.37594 | 0.14687 | 0.33538 | 0.28521 | 0.21142
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-10-10 | ng/L | 0.44907 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 108 | FLUVOXAMINE | E | 53.8 | 48.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44907 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.34848 | 0.20715 | 0.44907 | 0.37587 | 0.27863
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-11-04 | ng/L | 0.11024 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 115.2 | FLUVOXAMINE | E | 53.8 | 12.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.11024 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.34848 | 0.20715 | 0.44907 | 0.37587 | 0.27863
FLUVOXAMINE | 2440 | 67521LCM56 | 2015-02-06 | ng/L | 0.48611 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 216 | FLUVOXAMINE | E | 53.8 | 105 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48611 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.34848 | 0.20715 | 0.44907 | 0.37587 | 0.27863
FLUVOXAMINE | 2440 | 67521LCM56 | 2015-07-30 | ng/L | 0.57644 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 163.4171 | FLUVOXAMINE | E | 53.8 | 94.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57644 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.57644 |  | 0.57644 | 0 | 0
FLUVOXAMINE | 2440 | 67521LCM56 | 2015-07-09 | ng/L | 0.56298 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 81.7086 | FLUVOXAMINE | E | 53.8 | 46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56298 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.56298 |  | 0.56298 | 0 | 0
FLUVOXAMINE | 2440 | 67521LCM56 | 2015-06-09 | ng/L | 0.42713 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 81.7086 | FLUVOXAMINE | E | 53.8 | 34.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42713 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.42713 |  | 0.42713 | 0 | 0
FLUVOXAMINE | 2440 | 67521LCM56 | 2015-08-27 | ng/L | 0.46996 | 2015-08-06 08:00 | 20152190007 | Abs, Abs | 052215, 050115 | Abs 052215: 20 µl & Abs 050115: 20 µl | 81.7086 | FLUVOXAMINE | E | 53.8 | 38.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46996 | Ab052215, Ab050115 | Ab | Ab | Ab | 052215 | 050115 | 050115 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.46996 |  | 0.46996 | 0 | 0
FLUVOXAMINE | 2440 | 67521LCM56 | 2015-09-10 | ng/L | 0.57258 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 161.2 | FLUVOXAMINE | E | 53.8 | 92.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57258 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.57258 |  | 0.57258 | 0 | 0
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-07-20 | ng/L | 0.13889 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 108 | FLUVOXAMINE | E | 53.8 | 15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.13889 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.28565 | 0.16215 | 0.25833 | 0.32083 | 0.23783
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-08-21 | ng/L | 0.25833 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 216 | FLUVOXAMINE | E | 53.8 | 55.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.25833 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.28565 | 0.16215 | 0.25833 | 0.32083 | 0.23783
FLUVOXAMINE | 2440 | 67521LCM56 | 2015-03-11 | ng/L | 0.45972 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 216 | FLUVOXAMINE | E | 53.8 | 99.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45972 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.28565 | 0.16215 | 0.25833 | 0.32083 | 0.23783
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-10-11 | ng/L | 0.5 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 216 | FLUVOXAMINE | E | 53.8 | 108 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.43387 | 0.074152 | 0.44792 | 0.1463 | 0.10845
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-12-06 | ng/L | 0.3537 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 216 | FLUVOXAMINE | E | 53.8 | 76.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3537 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.43387 | 0.074152 | 0.44792 | 0.1463 | 0.10845
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-12-07 | ng/L | 0.44792 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 115.2 | FLUVOXAMINE | E | 53.8 | 51.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44792 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.43387 | 0.074152 | 0.44792 | 0.1463 | 0.10845
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-08-30 | ng/L | 0.43148 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 108 | FLUVOXAMINE | E | 53.8 | 46.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43148 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.43148 |  | 0.43148 | 0 | 0
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-10-24 | ng/L | 0.22819 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 114.816 | FLUVOXAMINE | E | 53.8 | 26.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.22819 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.3365 | 0.096412 | 0.36836 | 0.18476 | 0.13696
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-12-07 | ng/L | 0.41295 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 215.28 | FLUVOXAMINE | E | 53.8 | 88.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41295 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.3365 | 0.096412 | 0.36836 | 0.18476 | 0.13696
FLUVOXAMINE | 2440 | 67521LCM56 | 2015-03-10 | ng/L | 0.36836 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 215.28 | FLUVOXAMINE | E | 53.8 | 79.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36836 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.3365 | 0.096412 | 0.36836 | 0.18476 | 0.13696
FLUVOXAMINE | 2440 | 67521LCM56 | 2015-04-29 | ng/L | 0.63426 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 216 | FLUVOXAMINE | E | 53.8 | 137 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63426 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.63426 |  | 0.63426 | 0 | 0
FLUVOXAMINE | 2440 | 67521LCM56 | 2015-10-01 | ng/L | 0.63896 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 322.4 | FLUVOXAMINE | E | 53.8 | 206 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63896 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.63896 |  | 0.63896 | 0 | 0
FLUVOXAMINE | 2440 | 67521LCM56 | 2015-09-15 | ng/L | 0.48263 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 80.6 | FLUVOXAMINE | E | 53.8 | 38.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48263 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.48263 |  | 0.48263 | 0 | 0
FLUVOXAMINE | 2440 | 67521LCM56 | 2015-07-31 | ng/L | 0.61805 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 163.4171 | FLUVOXAMINE | E | 53.8 | 101 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61805 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.61805 |  | 0.61805 | 0 | 0
FLUVOXAMINE | 2440 | 67521LCM56 | 2014-04-23 | ng/L | 0.44076 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 105.5 | FLUVOXAMINE | E | 53.8 | 46.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44076 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.44076 |  | 0.44076 | 0 | 0