## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
GLYBURIDE | 2440 | 68002LCM56 | 2014-05-21 | ng/L | 0.65467 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 15 | GLYBURIDE | . | 3.95 | 9.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65467 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.54889 | 0.14469 | 0.608 | 0.27067 | 0.20064
GLYBURIDE | 2440 | 68002LCM56 | 2014-07-12 | ng/L | 0.608 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 15 | GLYBURIDE | . | 3.95 | 9.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.608 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.54889 | 0.14469 | 0.608 | 0.27067 | 0.20064
GLYBURIDE | 2440 | 68002LCM56 | 2014-10-10 | ng/L | 0.384 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 7.5 | GLYBURIDE | . | 3.95 | 2.88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.384 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.54889 | 0.14469 | 0.608 | 0.27067 | 0.20064
GLYBURIDE | 2440 | 68002LCM56 | 2014-11-04 | ng/L | 0.65357 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 8.4 | GLYBURIDE | E | 3.95 | 5.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65357 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.76339 | 0.08604 | 0.78095 | 0.13671 | 0.10134
GLYBURIDE | 2440 | 68002LCM56 | 2014-12-06 | ng/L | 0.73651 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 15.75 | GLYBURIDE | . | 3.95 | 11.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73651 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76339 | 0.08604 | 0.78095 | 0.13671 | 0.10134
GLYBURIDE | 2440 | 68002LCM56 | 2015-01-16 | ng/L | 0.8381 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 15.75 | GLYBURIDE | . | 3.95 | 13.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8381 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76339 | 0.08604 | 0.78095 | 0.13671 | 0.10134
GLYBURIDE | 2440 | 68002LCM56 | 2015-05-07 | ng/L | 0.8254 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 15.75 | GLYBURIDE | . | 3.95 | 13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8254 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76339 | 0.08604 | 0.78095 | 0.13671 | 0.10134
GLYBURIDE | 2440 | 68002LCM56 | 2014-06-22 | ng/L | 0.98667 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 15 | GLYBURIDE | E | 3.95 | 14.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98667 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.764 | 0.3149 | 0.764 | 0.44533 | 0.33012
GLYBURIDE | 2440 | 68002LCM56 | 2014-07-13 | ng/L | 0.54133 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 7.5 | GLYBURIDE | . | 3.95 | 4.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54133 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.764 | 0.3149 | 0.764 | 0.44533 | 0.33012
GLYBURIDE | 2440 | 68002LCM56 | 2014-10-10 | ng/L | 0.32267 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 7.5 | GLYBURIDE | . | 3.95 | 2.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.32267 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68311 | 0.32309 | 0.78 | 0.624 | 0.46256
GLYBURIDE | 2440 | 68002LCM56 | 2014-11-04 | ng/L | 0.78 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 8 | GLYBURIDE | E | 3.95 | 6.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68311 | 0.32309 | 0.78 | 0.624 | 0.46256
GLYBURIDE | 2440 | 68002LCM56 | 2015-02-06 | ng/L | 0.94667 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 15 | GLYBURIDE | . | 3.95 | 14.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94667 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68311 | 0.32309 | 0.78 | 0.624 | 0.46256
GLYBURIDE | 2440 | 68002LCM56 | 2015-07-09 | ng/L | 0.63276 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 5.8 | GLYBURIDE | . | 3.95 | 3.67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63276 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.63276 |  | 0.63276 | 0 | 0
GLYBURIDE | 2440 | 68002LCM56 | 2015-06-26 | ng/L | 0.59655 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 5.8 | GLYBURIDE | E | 3.95 | 3.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59655 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.61422 | 0.024993 | 0.61422 | 0.035345 | 0.026201
GLYBURIDE | 2440 | 68002LCM56 | 2015-07-31 | ng/L | 0.6319 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 11.6 | GLYBURIDE | . | 3.95 | 7.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6319 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.61422 | 0.024993 | 0.61422 | 0.035345 | 0.026201
GLYBURIDE | 2440 | 68002LCM56 | 2015-10-01 | ng/L | 0.2138 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 23.76 | GLYBURIDE | E | 3.95 | 5.08 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.2138 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.2138 |  | 0.2138 | 0 | 0
GLYBURIDE | 2440 | 68002LCM56 | 2015-09-10 | ng/L | 0.89655 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 11.6 | GLYBURIDE | E | 3.95 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89655 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.89655 |  | 0.89655 | 0 | 0
GLYBURIDE | 2440 | 68002LCM56 | 2014-08-30 | ng/L | 0.75175 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 7.875 | GLYBURIDE | . | 3.95 | 5.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75175 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75175 |  | 0.75175 | 0 | 0
GLYBURIDE | 2440 | 68002LCM56 | 2014-10-11 | ng/L | 0.305 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 8 | GLYBURIDE | . | 3.95 | 2.44 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.305 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57153 | 0.24722 | 0.61625 | 0.48833 | 0.362
GLYBURIDE | 2440 | 68002LCM56 | 2015-03-10 | ng/L | 0.79333 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 15 | GLYBURIDE | . | 3.95 | 11.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79333 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57153 | 0.24722 | 0.61625 | 0.48833 | 0.362
GLYBURIDE | 2440 | 68002LCM56 | 2015-04-10 | ng/L | 0.61625 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 8 | GLYBURIDE | E | 3.95 | 4.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61625 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.57153 | 0.24722 | 0.61625 | 0.48833 | 0.362
GLYBURIDE | 2440 | 68002LCM56 | 2014-07-13 | ng/L | 0.47111 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 7.875 | GLYBURIDE | . | 3.95 | 3.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47111 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.55937 | 0.12481 | 0.55937 | 0.17651 | 0.13084
GLYBURIDE | 2440 | 68002LCM56 | 2014-08-28 | ng/L | 0.64762 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 15.75 | GLYBURIDE | E | 3.95 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64762 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.55937 | 0.12481 | 0.55937 | 0.17651 | 0.13084
GLYBURIDE | 2440 | 68002LCM56 | 2014-10-24 | ng/L | 0.79643 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 8.4 | GLYBURIDE | . | 3.95 | 6.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79643 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76495 | 0.03726 | 0.7746 | 0.072619 | 0.053832
GLYBURIDE | 2440 | 68002LCM56 | 2014-12-07 | ng/L | 0.72381 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 15.75 | GLYBURIDE | . | 3.95 | 11.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72381 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76495 | 0.03726 | 0.7746 | 0.072619 | 0.053832
GLYBURIDE | 2440 | 68002LCM56 | 2015-03-10 | ng/L | 0.7746 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 15.75 | GLYBURIDE | . | 3.95 | 12.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7746 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76495 | 0.03726 | 0.7746 | 0.072619 | 0.053832
GLYBURIDE | 2440 | 68002LCM56 | 2015-04-29 | ng/L | 0.80635 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 15.75 | GLYBURIDE | . | 3.95 | 12.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80635 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80635 |  | 0.80635 | 0 | 0
GLYBURIDE | 2440 | 68002LCM56 | 2015-09-09 | ng/L | 0.86379 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 5.8 | GLYBURIDE | . | 3.95 | 5.01 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86379 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86379 |  | 0.86379 | 0 | 0
GLYBURIDE | 2440 | 68002LCM56 | 2015-10-01 | ng/L | 0.75673 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 11.88 | GLYBURIDE | E | 3.95 | 8.99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75673 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.75673 |  | 0.75673 | 0 | 0
GLYBURIDE | 2440 | 68002LCM56 | 2015-07-31 | ng/L | 0.81313 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 11.88 | GLYBURIDE | . | 3.95 | 9.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81313 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81313 |  | 0.81313 | 0 | 0
GLYBURIDE | 2440 | 68002LCM56 | 2014-04-23 | ng/L | 0.717 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 10 | GLYBURIDE | . | 3.95 | 7.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.717 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.717 |  | 0.717 | 0 | 0