## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-05-17 | ng/L | 0.82921 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 295.4625 | HYDROCORTISONE | . | 147 | 245 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82921 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85516 | 0.12223 | 0.82921 | 0.2403 | 0.17813
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-06-11 | ng/L | 0.98828 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 590.925 | HYDROCORTISONE | E | 147 | 584 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98828 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.85516 | 0.12223 | 0.82921 | 0.2403 | 0.17813
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-06-28 | ng/L | 0.74798 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 295.4625 | HYDROCORTISONE | E | 147 | 221 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74798 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.85516 | 0.12223 | 0.82921 | 0.2403 | 0.17813
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-09-12 | ng/L | 0.57875 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 295.4625 | HYDROCORTISONE | . | 147 | 171 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57875 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.77077 | 0.16032 | 0.7667 | 0.20445 | 0.15155
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-10-25 | ng/L | 0.77506 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 590.925 | HYDROCORTISONE | . | 147 | 458 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77506 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.77077 | 0.16032 | 0.7667 | 0.20445 | 0.15155
HYDROCORTISONE | 2440 | 67459LCM56 | 2015-02-10 | ng/L | 0.75834 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 315.16 | HYDROCORTISONE | . | 147 | 239 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75834 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.77077 | 0.16032 | 0.7667 | 0.20445 | 0.15155
HYDROCORTISONE | 2440 | 67459LCM56 | 2015-04-30 | ng/L | 0.97094 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 315.16 | HYDROCORTISONE | . | 147 | 306 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97094 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.77077 | 0.16032 | 0.7667 | 0.20445 | 0.15155
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-05-30 | ng/L | 0.86644 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 295.4625 | HYDROCORTISONE | . | 147 | 256 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86644 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0323 | 0.23454 | 1.0323 | 0.33168 | 0.24587
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-06-22 | ng/L | 1.1981 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 590.925 | HYDROCORTISONE | . | 147 | 708 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1981 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0323 | 0.23454 | 1.0323 | 0.33168 | 0.24587
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-10-10 | ng/L | 0.92177 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 294 | HYDROCORTISONE | . | 147 | 271 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92177 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89392 | 0.025907 | 0.88946 | 0.051233 | 0.037978
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-11-04 | ng/L | 0.87054 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 313.6 | HYDROCORTISONE | . | 147 | 273 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87054 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89392 | 0.025907 | 0.88946 | 0.051233 | 0.037978
HYDROCORTISONE | 2440 | 67459LCM56 | 2015-02-06 | ng/L | 0.88946 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 588 | HYDROCORTISONE | . | 147 | 523 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88946 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89392 | 0.025907 | 0.88946 | 0.051233 | 0.037978
HYDROCORTISONE | 2440 | 67459LCM56 | 2015-07-09 | ng/L | 0.96284 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 221.22 | HYDROCORTISONE | . | 147 | 213 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96284 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96284 |  | 0.96284 | 0 | 0
HYDROCORTISONE | 2440 | 67459LCM56 | 2015-06-26 | ng/L | 0.84531 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 221.22 | HYDROCORTISONE | . | 147 | 187 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84531 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85548 | 0.014384 | 0.85548 | 0.020342 | 0.015079
HYDROCORTISONE | 2440 | 67459LCM56 | 2015-07-31 | ng/L | 0.86565 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 442.44 | HYDROCORTISONE | E | 147 | 383 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86565 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.85548 | 0.014384 | 0.85548 | 0.020342 | 0.015079
HYDROCORTISONE | 2440 | 67459LCM56 | 2015-09-10 | ng/L | 0.84531 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 442.44 | HYDROCORTISONE | E | 147 | 374 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84531 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.84531 |  | 0.84531 | 0 | 0
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-07-20 | ng/L | 0.63265 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 294 | HYDROCORTISONE | . | 147 | 186 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63265 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.73753 | 0.17 | 0.64626 | 0.30102 | 0.22314
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-08-21 | ng/L | 0.64626 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 588 | HYDROCORTISONE | . | 147 | 380 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64626 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.73753 | 0.17 | 0.64626 | 0.30102 | 0.22314
HYDROCORTISONE | 2440 | 67459LCM56 | 2015-03-11 | ng/L | 0.93367 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 588 | HYDROCORTISONE | E | 147 | 549 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93367 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.73753 | 0.17 | 0.64626 | 0.30102 | 0.22314
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-10-11 | ng/L | 0.82143 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 588 | HYDROCORTISONE | . | 147 | 483 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82143 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84141 | 0.087819 | 0.82143 | 0.17219 | 0.12765
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-12-06 | ng/L | 0.76531 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 588 | HYDROCORTISONE | . | 147 | 450 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76531 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84141 | 0.087819 | 0.82143 | 0.17219 | 0.12765
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-12-07 | ng/L | 0.9375 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 313.6 | HYDROCORTISONE | . | 147 | 294 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84141 | 0.087819 | 0.82143 | 0.17219 | 0.12765
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-08-30 | ng/L | 0.91497 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 294 | HYDROCORTISONE | . | 147 | 269 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91497 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91497 |  | 0.91497 | 0 | 0
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-10-24 | ng/L | 0.86623 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 315.16 | HYDROCORTISONE | . | 147 | 273 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86623 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80883 | 0.052508 | 0.79706 | 0.10302 | 0.076365
HYDROCORTISONE | 2440 | 67459LCM56 | 2014-12-07 | ng/L | 0.76321 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 590.925 | HYDROCORTISONE | . | 147 | 451 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76321 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80883 | 0.052508 | 0.79706 | 0.10302 | 0.076365
HYDROCORTISONE | 2440 | 67459LCM56 | 2015-03-10 | ng/L | 0.79706 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 590.925 | HYDROCORTISONE | E | 147 | 471 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79706 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.80883 | 0.052508 | 0.79706 | 0.10302 | 0.076365
HYDROCORTISONE | 2440 | 67459LCM56 | 2015-04-29 | ng/L | 1.0323 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 588 | HYDROCORTISONE | . | 147 | 607 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0323 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0323 |  | 1.0323 | 0 | 0
HYDROCORTISONE | 2440 | 67459LCM56 | 2015-09-09 | ng/L | 0.7323 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 221.22 | HYDROCORTISONE | E | 147 | 162 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7323 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.7323 |  | 0.7323 | 0 | 0
HYDROCORTISONE | 2440 | 67459LCM56 | 2015-10-01 | ng/L | 0.80734 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 436 | HYDROCORTISONE | E | 147 | 352 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80734 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.80734 |  | 0.80734 | 0 | 0
HYDROCORTISONE | 2440 | 67459LCM56 | 2015-07-31 | ng/L | 1.0436 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 436 | HYDROCORTISONE | E | 147 | 455 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0436 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0436 |  | 1.0436 | 0 | 0