## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-05-21 | ng/L | 1.0104 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 577.98 | IMINOSTILBENE | . | 145 | 584 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0104 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.03 | 0.11716 | 1.0104 | 0.23184 | 0.17186
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-07-12 | ng/L | 1.1557 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 577.98 | IMINOSTILBENE | . | 145 | 668 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1557 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.03 | 0.11716 | 1.0104 | 0.23184 | 0.17186
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-10-10 | ng/L | 0.92391 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 288.99 | IMINOSTILBENE | . | 145 | 267 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92391 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.03 | 0.11716 | 1.0104 | 0.23184 | 0.17186
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-11-04 | ng/L | 0.26987 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 312 | IMINOSTILBENE | . | 145 | 84.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.26987 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.81576 | 0.38741 | 0.91368 | 0.52062 | 0.38593
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-12-06 | ng/L | 0.84103 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 585 | IMINOSTILBENE | . | 145 | 492 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84103 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.81576 | 0.38741 | 0.91368 | 0.52062 | 0.38593
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-01-16 | ng/L | 0.98632 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 585 | IMINOSTILBENE | . | 145 | 577 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98632 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.81576 | 0.38741 | 0.91368 | 0.52062 | 0.38593
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-05-07 | ng/L | 1.1658 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 585 | IMINOSTILBENE | . | 145 | 682 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1658 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.81576 | 0.38741 | 0.91368 | 0.52062 | 0.38593
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-05-30 | ng/L | 1.0104 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 288.99 | IMINOSTILBENE | . | 145 | 292 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0104 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1125 | 0.1161 | 1.0883 | 0.22838 | 0.1693
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-06-22 | ng/L | 1.0883 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 577.98 | IMINOSTILBENE | . | 145 | 629 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0883 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1125 | 0.1161 | 1.0883 | 0.22838 | 0.1693
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-07-13 | ng/L | 1.2388 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 288.99 | IMINOSTILBENE | . | 145 | 358 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2388 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1125 | 0.1161 | 1.0883 | 0.22838 | 0.1693
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-10-10 | ng/L | 0.98273 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 288.99 | IMINOSTILBENE | . | 145 | 284 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98273 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89832 | 0.23517 | 0.98273 | 0.44703 | 0.33138
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-11-04 | ng/L | 0.63259 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 308.256 | IMINOSTILBENE | . | 145 | 195 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63259 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89832 | 0.23517 | 0.98273 | 0.44703 | 0.33138
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-02-06 | ng/L | 1.0796 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 577.98 | IMINOSTILBENE | . | 145 | 624 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0796 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89832 | 0.23517 | 0.98273 | 0.44703 | 0.33138
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-07-30 | ng/L | 0.45446 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 433.4836 | IMINOSTILBENE | E | 145 | 197 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45446 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.37695 | 0.10962 | 0.37695 | 0.15502 | 0.11492
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-08-11 | ng/L | 0.29943 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 216.7418 | IMINOSTILBENE | E | 145 | 64.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29943 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.37695 | 0.10962 | 0.37695 | 0.15502 | 0.11492
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-07-09 | ng/L | 0.43139 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 216.7418 | IMINOSTILBENE | . | 145 | 93.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43139 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.43139 |  | 0.43139 | 0 | 0
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-06-09 | ng/L | 0.45907 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 216.7418 | IMINOSTILBENE | . | 145 | 99.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45907 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.45907 |  | 0.45907 | 0 | 0
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-09-10 | ng/L | 0.85092 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 436 | IMINOSTILBENE | . | 145 | 371 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85092 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85092 |  | 0.85092 | 0 | 0
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-08-30 | ng/L | 0.9094 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 292.5 | IMINOSTILBENE | . | 145 | 266 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9094 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9094 |  | 0.9094 | 0 | 0
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-10-11 | ng/L | 0.5158 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 308.256 | IMINOSTILBENE | . | 145 | 159 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51581 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.87626 | 0.32146 | 0.97971 | 0.61745 | 0.45771
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-03-10 | ng/L | 1.1333 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 577.98 | IMINOSTILBENE | . | 145 | 655 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.87626 | 0.32146 | 0.97971 | 0.61745 | 0.45771
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-04-10 | ng/L | 0.97971 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 308.256 | IMINOSTILBENE | . | 145 | 302 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97971 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.87626 | 0.32146 | 0.97971 | 0.61745 | 0.45771
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-07-13 | ng/L | 1.2342 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 292.5 | IMINOSTILBENE | . | 145 | 361 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2342 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89288 | 0.30358 | 0.79145 | 0.5812 | 0.43084
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-08-16 | ng/L | 0.65299 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 292.5 | IMINOSTILBENE | . | 145 | 191 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65299 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89288 | 0.30358 | 0.79145 | 0.5812 | 0.43084
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-08-28 | ng/L | 0.79145 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 585 | IMINOSTILBENE | E | 145 | 463 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79145 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.89288 | 0.30358 | 0.79145 | 0.5812 | 0.43084
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-10-24 | ng/L | 0.65385 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 312 | IMINOSTILBENE | . | 145 | 204 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65385 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84929 | 0.26726 | 0.74017 | 0.5 | 0.37064
IMINOSTILBENE | 2440 | 67481LCM56 | 2014-12-07 | ng/L | 0.74017 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 585 | IMINOSTILBENE | . | 145 | 433 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74017 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84929 | 0.26726 | 0.74017 | 0.5 | 0.37064
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-03-10 | ng/L | 1.1538 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 585 | IMINOSTILBENE | . | 145 | 675 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1538 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84929 | 0.26726 | 0.74017 | 0.5 | 0.37064
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-04-29 | ng/L | 1.1897 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 585 | IMINOSTILBENE | . | 145 | 696 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1897 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1897 |  | 1.1897 | 0 | 0
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-10-01 | ng/L | 0.65138 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 872 | IMINOSTILBENE | . | 145 | 568 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65138 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.65138 |  | 0.65138 | 0 | 0
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-09-15 | ng/L | 0.78899 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 218 | IMINOSTILBENE | . | 145 | 172 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78899 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78899 |  | 0.78899 | 0 | 0
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-10-01 | ng/L | 0.64679 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 218 | IMINOSTILBENE | . | 145 | 141 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64679 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.64679 |  | 0.64679 | 0 | 0
IMINOSTILBENE | 2440 | 67481LCM56 | 2015-07-31 | ng/L | 0.40601 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 433.4836 | IMINOSTILBENE | E | 145 | 176 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40601 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.40601 |  | 0.40601 | 0 | 0