## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
KETOCONAZOLE | 2440 | 68014LCM56 | 2014-05-21 | ng/L | 0.82258 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 452.235 | KETOCONAZOLE | . | 113 | 372 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82258 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68401 | 0.16929 | 0.73413 | 0.32726 | 0.2426
KETOCONAZOLE | 2440 | 68014LCM56 | 2014-07-12 | ng/L | 0.49532 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 452.235 | KETOCONAZOLE | . | 113 | 224 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49532 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68401 | 0.16929 | 0.73413 | 0.32726 | 0.2426
KETOCONAZOLE | 2440 | 68014LCM56 | 2014-10-10 | ng/L | 0.73413 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 226.1175 | KETOCONAZOLE | E | 113 | 166 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73413 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68401 | 0.16929 | 0.73413 | 0.32726 | 0.2426
KETOCONAZOLE | 2440 | 68014LCM56 | 2014-12-06 | ng/L | 0.45175 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 456 | KETOCONAZOLE | . | 113 | 206 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45175 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.3845 | 0.072909 | 0.39474 | 0.14474 | 0.10729
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-01-16 | ng/L | 0.30702 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 456 | KETOCONAZOLE | . | 113 | 140 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.30702 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.3845 | 0.072909 | 0.39474 | 0.14474 | 0.10729
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-05-07 | ng/L | 0.39474 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 456 | KETOCONAZOLE | . | 113 | 180 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39474 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.3845 | 0.072909 | 0.39474 | 0.14474 | 0.10729
KETOCONAZOLE | 2440 | 68014LCM56 | 2014-05-30 | ng/L | 0.58819 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 226.1175 | KETOCONAZOLE | E | 113 | 133 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58819 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.62578 | 0.17009 | 0.58819 | 0.3339 | 0.24751
KETOCONAZOLE | 2440 | 68014LCM56 | 2014-06-22 | ng/L | 0.81153 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 452.235 | KETOCONAZOLE | E | 113 | 367 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81152 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.62578 | 0.17009 | 0.58819 | 0.3339 | 0.24751
KETOCONAZOLE | 2440 | 68014LCM56 | 2014-07-13 | ng/L | 0.47763 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 226.1175 | KETOCONAZOLE | . | 113 | 108 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47763 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.62578 | 0.17009 | 0.58819 | 0.3339 | 0.24751
KETOCONAZOLE | 2440 | 68014LCM56 | 2014-10-10 | ng/L | 0.65895 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 226.1175 | KETOCONAZOLE | E | 113 | 149 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65895 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.47652 | 0.25799 | 0.47652 | 0.36485 | 0.27046
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-02-06 | ng/L | 0.29409 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 452.235 | KETOCONAZOLE | . | 113 | 133 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29409 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.47652 | 0.25799 | 0.47652 | 0.36485 | 0.27046
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-07-09 | ng/L | 0.45072 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 168.84 | KETOCONAZOLE | E | 113 | 76.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45072 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.45072 |  | 0.45072 | 0 | 0
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-06-26 | ng/L | 0.27541 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 168.84 | KETOCONAZOLE | . | 113 | 46.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.27541 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.2726 | 0.0039786 | 0.2726 | 0.0056266 | 0.004171
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-07-31 | ng/L | 0.26978 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 337.68 | KETOCONAZOLE | . | 113 | 91.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.26978 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.2726 | 0.0039786 | 0.2726 | 0.0056266 | 0.004171
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-10-01 | ng/L | 0.70814 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 673.6 | KETOCONAZOLE | . | 113 | 477 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70814 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.70814 |  | 0.70814 | 0 | 0
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-09-10 | ng/L | 0.56859 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 337.68 | KETOCONAZOLE | . | 113 | 192 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56859 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.56859 |  | 0.56859 | 0 | 0
KETOCONAZOLE | 2440 | 68014LCM56 | 2014-08-30 | ng/L | 0.59211 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 228 | KETOCONAZOLE | E | 113 | 135 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59211 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.59211 |  | 0.59211 | 0 | 0
KETOCONAZOLE | 2440 | 68014LCM56 | 2014-10-11 | ng/L | 0.1248 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 241.192 | KETOCONAZOLE | E | 113 | 30.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.1248 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.24489 | 0.12717 | 0.23177 | 0.25333 | 0.18779
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-03-10 | ng/L | 0.37812 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 452.235 | KETOCONAZOLE | E | 113 | 171 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.37812 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.24489 | 0.12717 | 0.23177 | 0.25333 | 0.18779
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-04-10 | ng/L | 0.23177 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 241.192 | KETOCONAZOLE | . | 113 | 55.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.23177 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.24489 | 0.12717 | 0.23177 | 0.25333 | 0.18779
KETOCONAZOLE | 2440 | 68014LCM56 | 2014-07-13 | ng/L | 0.35219 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 228 | KETOCONAZOLE | . | 113 | 80.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35219 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.39737 | 0.11952 | 0.35219 | 0.22588 | 0.16744
KETOCONAZOLE | 2440 | 68014LCM56 | 2014-08-16 | ng/L | 0.30702 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 228 | KETOCONAZOLE | E | 113 | 70 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.30702 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.39737 | 0.11952 | 0.35219 | 0.22588 | 0.16744
KETOCONAZOLE | 2440 | 68014LCM56 | 2014-08-28 | ng/L | 0.53289 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 456 | KETOCONAZOLE | E | 113 | 243 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53289 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.39737 | 0.11952 | 0.35219 | 0.22588 | 0.16744
KETOCONAZOLE | 2440 | 68014LCM56 | 2014-10-24 | ng/L | 0.12294 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 243.2 | KETOCONAZOLE | E | 113 | 29.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.12294 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.29171 | 0.14958 | 0.3443 | 0.28495 | 0.21123
KETOCONAZOLE | 2440 | 68014LCM56 | 2014-12-07 | ng/L | 0.3443 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 456 | KETOCONAZOLE | . | 113 | 157 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3443 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.29171 | 0.14958 | 0.3443 | 0.28495 | 0.21123
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-03-10 | ng/L | 0.40789 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 456 | KETOCONAZOLE | E | 113 | 186 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40789 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.29171 | 0.14958 | 0.3443 | 0.28495 | 0.21123
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-04-29 | ng/L | 0.60307 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 456 | KETOCONAZOLE | . | 113 | 275 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60307 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.60307 |  | 0.60307 | 0 | 0
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-10-01 | ng/L | 0.45428 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 168.4 | KETOCONAZOLE | E | 113 | 76.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45428 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.45428 |  | 0.45428 | 0 | 0
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-09-09 | ng/L | 0.5366 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 168.84 | KETOCONAZOLE | . | 113 | 90.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5366 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.5366 |  | 0.5366 | 0 | 0
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-10-01 | ng/L | 0.40083 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 336.8 | KETOCONAZOLE | . | 113 | 135 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40083 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.40083 |  | 0.40083 | 0 | 0
KETOCONAZOLE | 2440 | 68014LCM56 | 2015-07-31 | ng/L | 0.46318 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 336.8 | KETOCONAZOLE | . | 113 | 156 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46318 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.46318 |  | 0.46318 | 0 | 0