## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
LAMIVUDINE | 2440 | 68018LCM56 | 2014-05-17 | ng/L | 0.39309 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 31.545 | LAMIVUDINE | . | 16.1 | 12.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39309 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.20759 | 0.16665 | 0.15914 | 0.32256 | 0.23911
LAMIVUDINE | 2440 | 68018LCM56 | 2014-06-11 | ng/L | 0.070534 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 63.09 | LAMIVUDINE | . | 16.1 | 4.45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.070534 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.20759 | 0.16665 | 0.15914 | 0.32256 | 0.23911
LAMIVUDINE | 2440 | 68018LCM56 | 2014-06-28 | ng/L | 0.15914 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 31.545 | LAMIVUDINE | . | 16.1 | 5.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.15914 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.20759 | 0.16665 | 0.15914 | 0.32256 | 0.23911
LAMIVUDINE | 2440 | 68018LCM56 | 2014-09-12 | ng/L | 0.9421 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 31.95 | LAMIVUDINE | . | 16.1 | 30.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9421 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.2413 | 0.21241 | 1.2971 | 0.2902 | 0.21512
LAMIVUDINE | 2440 | 68018LCM56 | 2014-10-25 | ng/L | 1.2504 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 63.9 | LAMIVUDINE | . | 16.1 | 79.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2504 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.2413 | 0.21241 | 1.2971 | 0.2902 | 0.21512
LAMIVUDINE | 2440 | 68018LCM56 | 2015-02-10 | ng/L | 1.429 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 34.08 | LAMIVUDINE | E | 16.1 | 48.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.429 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 1.2413 | 0.21241 | 1.2971 | 0.2902 | 0.21512
LAMIVUDINE | 2440 | 68018LCM56 | 2015-04-30 | ng/L | 1.3439 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 34.08 | LAMIVUDINE | E | 16.1 | 45.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3439 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 1.2413 | 0.21241 | 1.2971 | 0.2902 | 0.21512
LAMIVUDINE | 2440 | 68018LCM56 | 2014-05-21 | ng/L | 0.48185 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 63.09 | LAMIVUDINE | . | 16.1 | 30.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48185 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84007 | 0.5066 | 0.84007 | 0.71644 | 0.53109
LAMIVUDINE | 2440 | 68018LCM56 | 2014-10-10 | ng/L | 1.1983 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 31.545 | LAMIVUDINE | . | 16.1 | 37.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1983 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84007 | 0.5066 | 0.84007 | 0.71644 | 0.53109
LAMIVUDINE | 2440 | 68018LCM56 | 2015-05-07 | ng/L | 0.12807 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 63.09 | LAMIVUDINE | E | 16.1 | 8.08 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.12807 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.12807 |  | 0.12807 | 0 | 0
LAMIVUDINE | 2440 | 68018LCM56 | 2015-07-30 | ng/L | 0.69525 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 48.04 | LAMIVUDINE | . | 16.1 | 33.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69525 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69525 |  | 0.69525 | 0 | 0
LAMIVUDINE | 2440 | 68018LCM56 | 2015-06-26 | ng/L | 0.90341 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 24.02 | LAMIVUDINE | . | 16.1 | 21.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90341 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90341 |  | 0.90341 | 0 | 0
LAMIVUDINE | 2440 | 68018LCM56 | 2015-03-11 | ng/L | 0.13932 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 63.09 | LAMIVUDINE | E | 16.1 | 8.79 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.13932 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.13932 |  | 0.13932 | 0 | 0
LAMIVUDINE | 2440 | 68018LCM56 | 2014-10-11 | ng/L | 0.98905 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 63.9 | LAMIVUDINE | . | 16.1 | 63.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98905 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.9121 | 0.085517 | 0.92723 | 0.16901 | 0.12529
LAMIVUDINE | 2440 | 68018LCM56 | 2014-12-06 | ng/L | 0.82003 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 63.9 | LAMIVUDINE | E | 16.1 | 52.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82003 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9121 | 0.085517 | 0.92723 | 0.16901 | 0.12529
LAMIVUDINE | 2440 | 68018LCM56 | 2014-12-07 | ng/L | 0.92723 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 34.08 | LAMIVUDINE | E | 16.1 | 31.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92723 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9121 | 0.085517 | 0.92723 | 0.16901 | 0.12529
LAMIVUDINE | 2440 | 68018LCM56 | 2014-10-11 | ng/L | 0.96831 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 34.08 | LAMIVUDINE | . | 16.1 | 33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96831 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.115 | 0.17906 | 1.0622 | 0.34624 | 0.25667
LAMIVUDINE | 2440 | 68018LCM56 | 2015-03-10 | ng/L | 1.3146 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 63.9 | LAMIVUDINE | E | 16.1 | 84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3146 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.115 | 0.17906 | 1.0622 | 0.34624 | 0.25667
LAMIVUDINE | 2440 | 68018LCM56 | 2015-04-10 | ng/L | 1.0622 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 34.08 | LAMIVUDINE | E | 16.1 | 36.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0622 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.115 | 0.17906 | 1.0622 | 0.34624 | 0.25667
LAMIVUDINE | 2440 | 68018LCM56 | 2014-07-13 | ng/L | 0.69484 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 31.95 | LAMIVUDINE | . | 16.1 | 22.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69484 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74178 | 0.048589 | 0.73865 | 0.097027 | 0.071925
LAMIVUDINE | 2440 | 68018LCM56 | 2014-08-16 | ng/L | 0.73865 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 31.95 | LAMIVUDINE | . | 16.1 | 23.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73865 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74178 | 0.048589 | 0.73865 | 0.097027 | 0.071925
LAMIVUDINE | 2440 | 68018LCM56 | 2014-08-28 | ng/L | 0.79186 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 63.9 | LAMIVUDINE | . | 16.1 | 50.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79186 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74178 | 0.048589 | 0.73865 | 0.097027 | 0.071925
LAMIVUDINE | 2440 | 68018LCM56 | 2015-10-01 | ng/L | 0.66923 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 96.08 | LAMIVUDINE | . | 16.1 | 64.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66923 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66923 |  | 0.66923 | 0 | 0
LAMIVUDINE | 2440 | 68018LCM56 | 2015-10-01 | ng/L | 0.66598 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 48.8 | LAMIVUDINE | . | 16.1 | 32.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66598 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66598 |  | 0.66598 | 0 | 0