## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
LIDOCAINE | 2440 | 67462LCM56 | 2014-05-17 | ng/L | 0.83895 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 30.0375 | LIDOCAINE | . | 15.2 | 25.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83895 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.81121 | 0.081842 | 0.83895 | 0.15647 | 0.11599
LIDOCAINE | 2440 | 67462LCM56 | 2014-06-11 | ng/L | 0.87557 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 60.075 | LIDOCAINE | . | 15.2 | 52.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87557 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.81121 | 0.081842 | 0.83895 | 0.15647 | 0.11599
LIDOCAINE | 2440 | 67462LCM56 | 2014-06-28 | ng/L | 0.7191 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 30.0375 | LIDOCAINE | . | 15.2 | 21.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7191 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.81121 | 0.081842 | 0.83895 | 0.15647 | 0.11599
LIDOCAINE | 2440 | 67462LCM56 | 2014-09-12 | ng/L | 0.66583 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 30.0375 | LIDOCAINE | . | 15.2 | 20 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66583 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.98408 | 0.32992 | 0.91448 | 0.44403 | 0.32915
LIDOCAINE | 2440 | 67462LCM56 | 2014-10-25 | ng/L | 1.4415 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 60.075 | LIDOCAINE | . | 15.2 | 86.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4415 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.98408 | 0.32992 | 0.91448 | 0.44403 | 0.32915
LIDOCAINE | 2440 | 67462LCM56 | 2015-02-10 | ng/L | 0.8583 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 32.04 | LIDOCAINE | . | 15.2 | 27.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8583 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.98408 | 0.32992 | 0.91448 | 0.44403 | 0.32915
LIDOCAINE | 2440 | 67462LCM56 | 2015-04-30 | ng/L | 0.97066 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 32.04 | LIDOCAINE | . | 15.2 | 31.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97066 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.98408 | 0.32992 | 0.91448 | 0.44403 | 0.32915
LIDOCAINE | 2440 | 67462LCM56 | 2014-05-30 | ng/L | 0.83229 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 30.0375 | LIDOCAINE | . | 15.2 | 25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83229 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82841 | 0.050881 | 0.83229 | 0.10154 | 0.07527
LIDOCAINE | 2440 | 67462LCM56 | 2014-06-22 | ng/L | 0.87724 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 60.075 | LIDOCAINE | . | 15.2 | 52.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87724 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82841 | 0.050881 | 0.83229 | 0.10154 | 0.07527
LIDOCAINE | 2440 | 67462LCM56 | 2014-07-13 | ng/L | 0.7757 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 30.0375 | LIDOCAINE | . | 15.2 | 23.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7757 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82841 | 0.050881 | 0.83229 | 0.10154 | 0.07527
LIDOCAINE | 2440 | 67462LCM56 | 2015-02-06 | ng/L | 0.84609 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 60.75 | LIDOCAINE | . | 15.2 | 51.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84609 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84609 |  | 0.84609 | 0 | 0
LIDOCAINE | 2440 | 67462LCM56 | 2015-07-09 | ng/L | 0.74934 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 22.82 | LIDOCAINE | . | 15.2 | 17.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74934 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74934 |  | 0.74934 | 0 | 0
LIDOCAINE | 2440 | 67462LCM56 | 2015-06-26 | ng/L | 0.82384 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 22.82 | LIDOCAINE | . | 15.2 | 18.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82384 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77673 | 0.06662 | 0.77673 | 0.094216 | 0.069841
LIDOCAINE | 2440 | 67462LCM56 | 2015-07-31 | ng/L | 0.72962 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 45.64 | LIDOCAINE | . | 15.2 | 33.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72962 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77673 | 0.06662 | 0.77673 | 0.094216 | 0.069841
LIDOCAINE | 2440 | 67462LCM56 | 2015-10-01 | ng/L | 0.82675 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 91.2 | LIDOCAINE | . | 15.2 | 75.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82675 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82675 |  | 0.82675 | 0 | 0
LIDOCAINE | 2440 | 67462LCM56 | 2015-09-10 | ng/L | 0.92463 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 45.64 | LIDOCAINE | . | 15.2 | 42.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92463 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92463 |  | 0.92463 | 0 | 0
LIDOCAINE | 2440 | 67462LCM56 | 2014-07-20 | ng/L | 0.64856 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 30.375 | LIDOCAINE | . | 15.2 | 19.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64856 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.73416 | 0.12614 | 0.6749 | 0.23045 | 0.17083
LIDOCAINE | 2440 | 67462LCM56 | 2014-08-21 | ng/L | 0.6749 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 60.75 | LIDOCAINE | . | 15.2 | 41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6749 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.73416 | 0.12614 | 0.6749 | 0.23045 | 0.17083
LIDOCAINE | 2440 | 67462LCM56 | 2015-03-11 | ng/L | 0.87901 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 60.75 | LIDOCAINE | E | 15.2 | 53.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87901 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.73416 | 0.12614 | 0.6749 | 0.23045 | 0.17083
LIDOCAINE | 2440 | 67462LCM56 | 2014-12-06 | ng/L | 0.89877 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 60.75 | LIDOCAINE | . | 15.2 | 54.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89877 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9216 | 0.0323 | 0.9216 | 0.045679 | 0.033861
LIDOCAINE | 2440 | 67462LCM56 | 2014-12-07 | ng/L | 0.94444 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 32.4 | LIDOCAINE | . | 15.2 | 30.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94444 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9216 | 0.0323 | 0.9216 | 0.045679 | 0.033861
LIDOCAINE | 2440 | 67462LCM56 | 2014-08-30 | ng/L | 0.76049 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 30.375 | LIDOCAINE | . | 15.2 | 23.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76049 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76049 |  | 0.76049 | 0 | 0
LIDOCAINE | 2440 | 67462LCM56 | 2014-12-07 | ng/L | 1.0603 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 60.075 | LIDOCAINE | . | 15.2 | 63.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0603 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9047 | 0.22011 | 0.9047 | 0.31128 | 0.23075
LIDOCAINE | 2440 | 67462LCM56 | 2015-03-10 | ng/L | 0.74906 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 60.075 | LIDOCAINE | E | 15.2 | 45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74906 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.9047 | 0.22011 | 0.9047 | 0.31128 | 0.23075
LIDOCAINE | 2440 | 67462LCM56 | 2015-04-29 | ng/L | 1.0486 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 60.75 | LIDOCAINE | . | 15.2 | 63.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0486 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0486 |  | 1.0486 | 0 | 0
LIDOCAINE | 2440 | 67462LCM56 | 2015-10-01 | ng/L | 0.65351 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 22.8 | LIDOCAINE | . | 15.2 | 14.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65351 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.65351 |  | 0.65351 | 0 | 0
LIDOCAINE | 2440 | 67462LCM56 | 2015-09-09 | ng/L | 0.85013 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 22.82 | LIDOCAINE | . | 15.2 | 19.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85013 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85013 |  | 0.85013 | 0 | 0
LIDOCAINE | 2440 | 67462LCM56 | 2015-10-01 | ng/L | 0.78289 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 45.6 | LIDOCAINE | . | 15.2 | 35.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78289 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78289 |  | 0.78289 | 0 | 0
LIDOCAINE | 2440 | 67462LCM56 | 2015-07-31 | ng/L | 0.89912 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 45.6 | LIDOCAINE | . | 15.2 | 41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89912 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89912 |  | 0.89912 | 0 | 0
LIDOCAINE | 2440 | 67462LCM56 | 2014-04-23 | ng/L | 0.74333 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 30 | LIDOCAINE | . | 15.2 | 22.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74333 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74333 |  | 0.74333 | 0 | 0