## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METAXALONE | 2440 | 67504LCM56 | 2014-05-21 | ng/L | 0.82466 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 61.965 | METAXALONE | E | 15.6 | 51.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82466 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.75096 | 0.10867 | 0.80207 | 0.1985 | 0.14715
METAXALONE | 2440 | 67504LCM56 | 2014-07-12 | ng/L | 0.80207 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 61.965 | METAXALONE | E | 15.6 | 49.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80207 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.75096 | 0.10867 | 0.80207 | 0.1985 | 0.14715
METAXALONE | 2440 | 67504LCM56 | 2014-10-10 | ng/L | 0.62616 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 30.9825 | METAXALONE | E | 15.6 | 19.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62616 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.75096 | 0.10867 | 0.80207 | 0.1985 | 0.14715
METAXALONE | 2440 | 67504LCM56 | 2014-11-04 | ng/L | 0.71429 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 33.6 | METAXALONE | E | 15.6 | 24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71429 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.7127 | 0.16849 | 0.75794 | 0.23492 | 0.17414
METAXALONE | 2440 | 67504LCM56 | 2014-12-06 | ng/L | 0.47619 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 63 | METAXALONE | E | 15.6 | 30 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47619 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.7127 | 0.16849 | 0.75794 | 0.23492 | 0.17414
METAXALONE | 2440 | 67504LCM56 | 2015-01-16 | ng/L | 0.80159 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 63 | METAXALONE | E | 15.6 | 50.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80159 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.7127 | 0.16849 | 0.75794 | 0.23492 | 0.17414
METAXALONE | 2440 | 67504LCM56 | 2015-05-07 | ng/L | 0.85873 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 63 | METAXALONE | E | 15.6 | 54.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85873 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.7127 | 0.16849 | 0.75794 | 0.23492 | 0.17414
METAXALONE | 2440 | 67504LCM56 | 2014-05-30 | ng/L | 0.68748 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 30.9825 | METAXALONE | E | 15.6 | 21.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68748 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.78916 | 0.18455 | 0.68748 | 0.32438 | 0.24046
METAXALONE | 2440 | 67504LCM56 | 2014-06-22 | ng/L | 1.0022 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 61.965 | METAXALONE | E | 15.6 | 62.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0022 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.78916 | 0.18455 | 0.68748 | 0.32438 | 0.24046
METAXALONE | 2440 | 67504LCM56 | 2014-07-13 | ng/L | 0.6778 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 30.9825 | METAXALONE | E | 15.6 | 21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6778 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.78916 | 0.18455 | 0.68748 | 0.32438 | 0.24046
METAXALONE | 2440 | 67504LCM56 | 2014-10-10 | ng/L | 0.43896 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 30.9825 | METAXALONE | E | 15.6 | 13.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43896 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.63147 | 0.16673 | 0.72622 | 0.29028 | 0.21519
METAXALONE | 2440 | 67504LCM56 | 2014-11-04 | ng/L | 0.72924 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 33.048 | METAXALONE | E | 15.6 | 24.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72924 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.63147 | 0.16673 | 0.72622 | 0.29028 | 0.21519
METAXALONE | 2440 | 67504LCM56 | 2015-02-06 | ng/L | 0.72622 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 61.965 | METAXALONE | E | 15.6 | 45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72622 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.63147 | 0.16673 | 0.72622 | 0.29028 | 0.21519
METAXALONE | 2440 | 67504LCM56 | 2015-07-30 | ng/L | 0.70985 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 47.1932 | METAXALONE | E | 15.6 | 33.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70985 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.63463 | 0.10638 | 0.63463 | 0.15045 | 0.11152
METAXALONE | 2440 | 67504LCM56 | 2015-08-11 | ng/L | 0.5594 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 23.5966 | METAXALONE | E | 15.6 | 13.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5594 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.63463 | 0.10638 | 0.63463 | 0.15045 | 0.11152
METAXALONE | 2440 | 67504LCM56 | 2015-07-09 | ng/L | 0.89843 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 23.5966 | METAXALONE | E | 15.6 | 21.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89843 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.89843 |  | 0.89843 | 0 | 0
METAXALONE | 2440 | 67504LCM56 | 2015-06-09 | ng/L | 0.6484 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 23.5966 | METAXALONE | E | 15.6 | 15.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6484 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.6484 |  | 0.6484 | 0 | 0
METAXALONE | 2440 | 67504LCM56 | 2014-08-30 | ng/L | 0.78413 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 31.5 | METAXALONE | E | 15.6 | 24.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78413 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.78413 |  | 0.78413 | 0 | 0
METAXALONE | 2440 | 67504LCM56 | 2014-10-11 | ng/L | 0.45994 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 33.048 | METAXALONE | E | 15.6 | 15.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45994 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.56853 | 0.094534 | 0.61325 | 0.17248 | 0.12786
METAXALONE | 2440 | 67504LCM56 | 2015-03-10 | ng/L | 0.61325 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 61.965 | METAXALONE | E | 15.6 | 38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61325 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.56853 | 0.094534 | 0.61325 | 0.17248 | 0.12786
METAXALONE | 2440 | 67504LCM56 | 2015-04-10 | ng/L | 0.63241 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 33.048 | METAXALONE | E | 15.6 | 20.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63241 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.56853 | 0.094534 | 0.61325 | 0.17248 | 0.12786
METAXALONE | 2440 | 67504LCM56 | 2014-07-13 | ng/L | 0.62222 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 31.5 | METAXALONE | E | 15.6 | 19.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62222 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.53439 | 0.10434 | 0.5619 | 0.20317 | 0.15061
METAXALONE | 2440 | 67504LCM56 | 2014-08-16 | ng/L | 0.41905 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 31.5 | METAXALONE | E | 15.6 | 13.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41905 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.53439 | 0.10434 | 0.5619 | 0.20317 | 0.15061
METAXALONE | 2440 | 67504LCM56 | 2014-08-28 | ng/L | 0.5619 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 63 | METAXALONE | E | 15.6 | 35.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5619 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.53439 | 0.10434 | 0.5619 | 0.20317 | 0.15061
METAXALONE | 2440 | 67504LCM56 | 2014-10-24 | ng/L | 0.79167 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 33.6 | METAXALONE | E | 15.6 | 26.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79167 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68029 | 0.10938 | 0.67619 | 0.21865 | 0.16208
METAXALONE | 2440 | 67504LCM56 | 2014-12-07 | ng/L | 0.57302 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 63 | METAXALONE | E | 15.6 | 36.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57302 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68029 | 0.10938 | 0.67619 | 0.21865 | 0.16208
METAXALONE | 2440 | 67504LCM56 | 2015-03-10 | ng/L | 0.67619 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 63 | METAXALONE | E | 15.6 | 42.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67619 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68029 | 0.10938 | 0.67619 | 0.21865 | 0.16208
METAXALONE | 2440 | 67504LCM56 | 2015-04-29 | ng/L | 0.87143 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 63 | METAXALONE | E | 15.6 | 54.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87143 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.87143 |  | 0.87143 | 0 | 0
METAXALONE | 2440 | 67504LCM56 | 2015-10-01 | ng/L | 0.24894 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 94.4 | METAXALONE | E | 15.6 | 23.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.24894 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.24894 |  | 0.24894 | 0 | 0
METAXALONE | 2440 | 67504LCM56 | 2015-07-31 | ng/L | 0.80732 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 47.1932 | METAXALONE | E | 15.6 | 38.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80732 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.80732 |  | 0.80732 | 0 | 0
METAXALONE | 2440 | 67504LCM56 | 2014-04-23 | ng/L | 0.69667 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 30 | METAXALONE | E | 15.6 | 20.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69667 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.69667 |  | 0.69667 | 0 | 0