## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METHADONE | 2440 | 67500LCM56 | 2014-05-17 | ng/L | 0.61974 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 15.0225 | METHADONE | . | 7.61 | 9.31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61974 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60199 | 0.039095 | 0.61974 | 0.071892 | 0.053293
METHADONE | 2440 | 67500LCM56 | 2014-06-11 | ng/L | 0.62906 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 30.045 | METHADONE | . | 7.61 | 18.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62906 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60199 | 0.039095 | 0.61974 | 0.071892 | 0.053293
METHADONE | 2440 | 67500LCM56 | 2014-06-28 | ng/L | 0.55716 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 15.0225 | METHADONE | . | 7.61 | 8.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55716 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60199 | 0.039095 | 0.61974 | 0.071892 | 0.053293
METHADONE | 2440 | 67500LCM56 | 2014-09-12 | ng/L | 0.42004 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 15.0225 | METHADONE | . | 7.61 | 6.31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42004 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.51403 | 0.12577 | 0.48585 | 0.19926 | 0.14771
METHADONE | 2440 | 67500LCM56 | 2014-10-25 | ng/L | 0.67565 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 30.045 | METHADONE | . | 7.61 | 20.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67565 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.51403 | 0.12577 | 0.48585 | 0.19926 | 0.14771
METHADONE | 2440 | 67500LCM56 | 2015-02-10 | ng/L | 0.40876 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 16.024 | METHADONE | . | 7.61 | 6.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40876 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.51403 | 0.12577 | 0.48585 | 0.19926 | 0.14771
METHADONE | 2440 | 67500LCM56 | 2015-04-30 | ng/L | 0.55167 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 16.024 | METHADONE | . | 7.61 | 8.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55167 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.51403 | 0.12577 | 0.48585 | 0.19926 | 0.14771
METHADONE | 2440 | 67500LCM56 | 2014-05-30 | ng/L | 0.59244 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 15.0225 | METHADONE | . | 7.61 | 8.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59244 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.6457 | 0.1315 | 0.59244 | 0.2463 | 0.18258
METHADONE | 2440 | 67500LCM56 | 2014-06-22 | ng/L | 0.79547 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 30.045 | METHADONE | E | 7.61 | 23.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79547 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.6457 | 0.1315 | 0.59244 | 0.2463 | 0.18258
METHADONE | 2440 | 67500LCM56 | 2014-07-13 | ng/L | 0.54918 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 15.0225 | METHADONE | . | 7.61 | 8.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54918 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.6457 | 0.1315 | 0.59244 | 0.2463 | 0.18258
METHADONE | 2440 | 67500LCM56 | 2015-07-30 | ng/L | 1.1734 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 22.84 | METHADONE | E | 7.61 | 26.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1734 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.94221 | 0.32693 | 0.94221 | 0.46235 | 0.34273
METHADONE | 2440 | 67500LCM56 | 2015-08-11 | ng/L | 0.71103 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 11.42 | METHADONE | E | 7.61 | 8.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71103 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.94221 | 0.32693 | 0.94221 | 0.46235 | 0.34273
METHADONE | 2440 | 67500LCM56 | 2015-06-09 | ng/L | 0.47461 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 11.42 | METHADONE | . | 7.61 | 5.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47461 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.47461 |  | 0.47461 | 0 | 0
METHADONE | 2440 | 67500LCM56 | 2015-06-26 | ng/L | 0.55429 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 11.42 | METHADONE | . | 7.61 | 6.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55429 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.80911 | 0.36036 | 0.80911 | 0.50963 | 0.37779
METHADONE | 2440 | 67500LCM56 | 2015-07-31 | ng/L | 1.0639 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 22.84 | METHADONE | E | 7.61 | 24.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0639 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.80911 | 0.36036 | 0.80911 | 0.50963 | 0.37779
METHADONE | 2440 | 67500LCM56 | 2014-10-24 | ng/L | 0.59161 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 16.024 | METHADONE | . | 7.61 | 9.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59161 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61658 | 0.027282 | 0.61241 | 0.054086 | 0.040093
METHADONE | 2440 | 67500LCM56 | 2014-12-07 | ng/L | 0.61241 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 30.045 | METHADONE | . | 7.61 | 18.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61241 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61658 | 0.027282 | 0.61241 | 0.054086 | 0.040093
METHADONE | 2440 | 67500LCM56 | 2015-03-10 | ng/L | 0.6457 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 30.045 | METHADONE | . | 7.61 | 19.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6457 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61658 | 0.027282 | 0.61241 | 0.054086 | 0.040093