## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-05-17 | ng/L | 0.4614 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 17.295 | METHOCARBAMOL | . | 8.72 | 7.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46141 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60094 | 0.14231 | 0.59555 | 0.28448 | 0.21088
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-06-11 | ng/L | 0.74588 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 34.59 | METHOCARBAMOL | . | 8.72 | 25.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74588 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60094 | 0.14231 | 0.59555 | 0.28448 | 0.21088
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-06-28 | ng/L | 0.59555 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 17.295 | METHOCARBAMOL | . | 8.72 | 10.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59555 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60094 | 0.14231 | 0.59555 | 0.28448 | 0.21088
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-09-12 | ng/L | 0.61868 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 17.295 | METHOCARBAMOL | . | 8.72 | 10.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61868 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.75491 | 0.095211 | 0.78039 | 0.11636 | 0.086259
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-10-25 | ng/L | 0.77479 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 34.59 | METHOCARBAMOL | . | 8.72 | 26.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77479 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.75491 | 0.095211 | 0.78039 | 0.11636 | 0.086259
METHOCARBAMOL | 2440 | 67501LCM56 | 2015-02-10 | ng/L | 0.8402 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 18.448 | METHOCARBAMOL | . | 8.72 | 15.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8402 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.75491 | 0.095211 | 0.78039 | 0.11636 | 0.086259
METHOCARBAMOL | 2440 | 67501LCM56 | 2015-04-30 | ng/L | 0.78599 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 18.448 | METHOCARBAMOL | . | 8.72 | 14.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78599 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.75491 | 0.095211 | 0.78039 | 0.11636 | 0.086259
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-05-30 | ng/L | 0.84996 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 17.295 | METHOCARBAMOL | . | 8.72 | 14.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84996 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88658 | 0.084254 | 0.84996 | 0.15611 | 0.11573
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-06-22 | ng/L | 0.98294 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 34.59 | METHOCARBAMOL | . | 8.72 | 34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98294 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88658 | 0.084254 | 0.84996 | 0.15611 | 0.11573
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-07-13 | ng/L | 0.82683 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 17.295 | METHOCARBAMOL | . | 8.72 | 14.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82683 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88658 | 0.084254 | 0.84996 | 0.15611 | 0.11573
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-11-04 | ng/L | 0.87553 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 18.96 | METHOCARBAMOL | . | 8.72 | 16.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87553 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87096 | 0.0064644 | 0.87096 | 0.0091421 | 0.0067769
METHOCARBAMOL | 2440 | 67501LCM56 | 2015-02-06 | ng/L | 0.86639 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 35.55 | METHOCARBAMOL | . | 8.72 | 30.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86639 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87096 | 0.0064644 | 0.87096 | 0.0091421 | 0.0067769
METHOCARBAMOL | 2440 | 67501LCM56 | 2015-07-30 | ng/L | 0.78976 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 26.084 | METHOCARBAMOL | . | 8.72 | 20.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78976 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9201 | 0.18434 | 0.9201 | 0.2607 | 0.19325
METHOCARBAMOL | 2440 | 67501LCM56 | 2015-08-11 | ng/L | 1.0505 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 13.042 | METHOCARBAMOL | E | 8.72 | 13.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0505 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.9201 | 0.18434 | 0.9201 | 0.2607 | 0.19325
METHOCARBAMOL | 2440 | 67501LCM56 | 2015-07-09 | ng/L | 0.75909 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 13.042 | METHOCARBAMOL | . | 8.72 | 9.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75909 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75909 |  | 0.75909 | 0 | 0
METHOCARBAMOL | 2440 | 67501LCM56 | 2015-06-09 | ng/L | 0.72075 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 13.042 | METHOCARBAMOL | E | 8.72 | 9.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72075 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.72075 |  | 0.72075 | 0 | 0
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-07-20 | ng/L | 0.46526 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 17.775 | METHOCARBAMOL | . | 8.72 | 8.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46526 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69705 | 0.25004 | 0.66385 | 0.49677 | 0.36825
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-08-21 | ng/L | 0.66385 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 35.55 | METHOCARBAMOL | . | 8.72 | 23.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66385 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69705 | 0.25004 | 0.66385 | 0.49677 | 0.36825
METHOCARBAMOL | 2440 | 67501LCM56 | 2015-03-11 | ng/L | 0.96203 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 35.55 | METHOCARBAMOL | . | 8.72 | 34.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96203 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69705 | 0.25004 | 0.66385 | 0.49677 | 0.36825
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-10-11 | ng/L | 0.59072 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 35.55 | METHOCARBAMOL | . | 8.72 | 21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59072 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66397 | 0.064461 | 0.68917 | 0.12131 | 0.089924
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-12-06 | ng/L | 0.68917 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 35.55 | METHOCARBAMOL | . | 8.72 | 24.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68917 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66397 | 0.064461 | 0.68917 | 0.12131 | 0.089924
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-12-07 | ng/L | 0.71203 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 18.96 | METHOCARBAMOL | . | 8.72 | 13.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71203 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66397 | 0.064461 | 0.68917 | 0.12131 | 0.089924
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-08-30 | ng/L | 0.77075 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 17.775 | METHOCARBAMOL | . | 8.72 | 13.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77075 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77075 |  | 0.77075 | 0 | 0
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-10-24 | ng/L | 0.72637 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 18.448 | METHOCARBAMOL | . | 8.72 | 13.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72637 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75576 | 0.046596 | 0.73143 | 0.083117 | 0.061613
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-12-07 | ng/L | 0.73143 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 34.59 | METHOCARBAMOL | . | 8.72 | 25.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73143 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75576 | 0.046596 | 0.73143 | 0.083117 | 0.061613
METHOCARBAMOL | 2440 | 67501LCM56 | 2015-03-10 | ng/L | 0.80948 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 34.59 | METHOCARBAMOL | . | 8.72 | 28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80948 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75576 | 0.046596 | 0.73143 | 0.083117 | 0.061613
METHOCARBAMOL | 2440 | 67501LCM56 | 2015-04-29 | ng/L | 0.98172 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 35.55 | METHOCARBAMOL | . | 8.72 | 34.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98172 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98172 |  | 0.98172 | 0 | 0
METHOCARBAMOL | 2440 | 67501LCM56 | 2015-10-01 | ng/L | 0.70444 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 52.24 | METHOCARBAMOL | . | 8.72 | 36.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70444 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.70444 |  | 0.70444 | 0 | 0
METHOCARBAMOL | 2440 | 67501LCM56 | 2015-10-01 | ng/L | 0.72588 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 13.06 | METHOCARBAMOL | . | 8.72 | 9.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72588 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72588 |  | 0.72588 | 0 | 0
METHOCARBAMOL | 2440 | 67501LCM56 | 2014-04-23 | ng/L | 0.93 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 20 | METHOCARBAMOL | . | 8.72 | 18.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93 |  | 0.93 | 0 | 0