## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METHOTREXATE | 2440 | 67525LCM56 | 2014-05-17 | ng/L | 0.71259 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 105.39 | METHOTREXATE | E | 52.4 | 75.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71259 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.71006 | 0.13096 | 0.71259 | 0.26188 | 0.19413
METHOTREXATE | 2440 | 67525LCM56 | 2014-06-11 | ng/L | 0.83974 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 210.78 | METHOTREXATE | E | 52.4 | 177 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83974 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.71006 | 0.13096 | 0.71259 | 0.26188 | 0.19413
METHOTREXATE | 2440 | 67525LCM56 | 2014-06-28 | ng/L | 0.57785 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 105.39 | METHOTREXATE | E | 52.4 | 60.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57785 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.71006 | 0.13096 | 0.71259 | 0.26188 | 0.19413
METHOTREXATE | 2440 | 67525LCM56 | 2014-09-12 | ng/L | 0.67843 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 105.39 | METHOTREXATE | E | 52.4 | 71.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67843 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.61602 | 0.10676 | 0.60653 | 0.18028 | 0.13364
METHOTREXATE | 2440 | 67525LCM56 | 2014-10-25 | ng/L | 0.51713 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 210.78 | METHOTREXATE | E | 52.4 | 109 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51713 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.61602 | 0.10676 | 0.60653 | 0.18028 | 0.13364
METHOTREXATE | 2440 | 67525LCM56 | 2015-02-10 | ng/L | 0.73388 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 112.416 | METHOTREXATE | E | 52.4 | 82.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73388 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.61602 | 0.10676 | 0.60653 | 0.18028 | 0.13364
METHOTREXATE | 2440 | 67525LCM56 | 2015-04-30 | ng/L | 0.53462 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 112.416 | METHOTREXATE | E | 52.4 | 60.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53462 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.61602 | 0.10676 | 0.60653 | 0.18028 | 0.13364
METHOTREXATE | 2440 | 67525LCM56 | 2014-05-30 | ng/L | 0.65566 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 105.39 | METHOTREXATE | E | 52.4 | 69.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65566 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.67053 | 0.25225 | 0.65566 | 0.50384 | 0.37349
METHOTREXATE | 2440 | 67525LCM56 | 2014-06-22 | ng/L | 0.92988 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 210.78 | METHOTREXATE | E | 52.4 | 196 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92988 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.67053 | 0.25225 | 0.65566 | 0.50384 | 0.37349
METHOTREXATE | 2440 | 67525LCM56 | 2014-07-13 | ng/L | 0.42604 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 105.39 | METHOTREXATE | E | 52.4 | 44.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42604 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.67053 | 0.25225 | 0.65566 | 0.50384 | 0.37349
METHOTREXATE | 2440 | 67525LCM56 | 2014-10-10 | ng/L | 0.92286 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 105 | METHOTREXATE | E | 52.4 | 96.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92286 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.76079 | 0.20981 | 0.83571 | 0.39905 | 0.29581
METHOTREXATE | 2440 | 67525LCM56 | 2014-11-04 | ng/L | 0.83571 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 112 | METHOTREXATE | E | 52.4 | 93.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83571 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.76079 | 0.20981 | 0.83571 | 0.39905 | 0.29581
METHOTREXATE | 2440 | 67525LCM56 | 2015-02-06 | ng/L | 0.52381 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 210 | METHOTREXATE | E | 52.4 | 110 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52381 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.76079 | 0.20981 | 0.83571 | 0.39905 | 0.29581
METHOTREXATE | 2440 | 67525LCM56 | 2015-07-30 | ng/L | 0.69616 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 156.5742 | METHOTREXATE | E | 52.4 | 109 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69616 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.55501 | 0.19961 | 0.55501 | 0.28229 | 0.20926
METHOTREXATE | 2440 | 67525LCM56 | 2015-08-11 | ng/L | 0.41386 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 78.2871 | METHOTREXATE | E | 52.4 | 32.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41386 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.55501 | 0.19961 | 0.55501 | 0.28229 | 0.20926
METHOTREXATE | 2440 | 67525LCM56 | 2015-07-09 | ng/L | 0.58375 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 78.2871 | METHOTREXATE | E | 52.4 | 45.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58375 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.58375 |  | 0.58375 | 0 | 0
METHOTREXATE | 2440 | 67525LCM56 | 2015-06-09 | ng/L | 0.44196 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 78.2871 | METHOTREXATE | E | 52.4 | 34.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44196 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.44196 |  | 0.44196 | 0 | 0
METHOTREXATE | 2440 | 67525LCM56 | 2014-07-20 | ng/L | 0.67143 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 105 | METHOTREXATE | E | 52.4 | 70.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67143 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.7746 | 0.13234 | 0.72857 | 0.25238 | 0.18709
METHOTREXATE | 2440 | 67525LCM56 | 2014-08-21 | ng/L | 0.92381 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 210 | METHOTREXATE | E | 52.4 | 194 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92381 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.7746 | 0.13234 | 0.72857 | 0.25238 | 0.18709
METHOTREXATE | 2440 | 67525LCM56 | 2015-03-11 | ng/L | 0.72857 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 210 | METHOTREXATE | E | 52.4 | 153 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72857 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.7746 | 0.13234 | 0.72857 | 0.25238 | 0.18709
METHOTREXATE | 2440 | 67525LCM56 | 2014-10-11 | ng/L | 0.86667 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 210 | METHOTREXATE | E | 52.4 | 182 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.73145 | 0.14917 | 0.75625 | 0.29524 | 0.21886
METHOTREXATE | 2440 | 67525LCM56 | 2014-12-06 | ng/L | 0.57143 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 210 | METHOTREXATE | E | 52.4 | 120 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57143 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.73145 | 0.14917 | 0.75625 | 0.29524 | 0.21886
METHOTREXATE | 2440 | 67525LCM56 | 2014-12-07 | ng/L | 0.75625 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 112 | METHOTREXATE | E | 52.4 | 84.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75625 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.73145 | 0.14917 | 0.75625 | 0.29524 | 0.21886
METHOTREXATE | 2440 | 67525LCM56 | 2014-08-30 | ng/L | 0.79238 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 105 | METHOTREXATE | E | 52.4 | 83.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79238 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.79238 |  | 0.79238 | 0 | 0
METHOTREXATE | 2440 | 67525LCM56 | 2014-10-24 | ng/L | 0.62802 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 112.416 | METHOTREXATE | E | 52.4 | 70.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62802 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.53828 | 0.079015 | 0.50764 | 0.14885 | 0.11034
METHOTREXATE | 2440 | 67525LCM56 | 2014-12-07 | ng/L | 0.47917 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 210.78 | METHOTREXATE | E | 52.4 | 101 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47917 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.53828 | 0.079015 | 0.50764 | 0.14885 | 0.11034
METHOTREXATE | 2440 | 67525LCM56 | 2015-03-10 | ng/L | 0.50764 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 210.78 | METHOTREXATE | E | 52.4 | 107 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50764 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.53828 | 0.079015 | 0.50764 | 0.14885 | 0.11034
METHOTREXATE | 2440 | 67525LCM56 | 2015-04-29 | ng/L | 0.68095 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 210 | METHOTREXATE | E | 52.4 | 143 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68095 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.68095 |  | 0.68095 | 0 | 0
METHOTREXATE | 2440 | 67525LCM56 | 2015-07-31 | ng/L | 0.6342 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 156.5742 | METHOTREXATE | E | 52.4 | 99.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6342 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.6342 |  | 0.6342 | 0 | 0