## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METOPROLOL | 2440 | 67523LCM56 | 2014-05-17 | ng/L | 0.34873 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 55.0575 | METOPROLOL | . | 27.5 | 19.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34873 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.33813 | 0.014596 | 0.34419 | 0.027244 | 0.020196
METOPROLOL | 2440 | 67523LCM56 | 2014-06-11 | ng/L | 0.34419 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 110.115 | METOPROLOL | . | 27.5 | 37.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34419 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.33813 | 0.014596 | 0.34419 | 0.027244 | 0.020196
METOPROLOL | 2440 | 67523LCM56 | 2014-06-28 | ng/L | 0.32148 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 55.0575 | METOPROLOL | . | 27.5 | 17.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.32148 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.33813 | 0.014596 | 0.34419 | 0.027244 | 0.020196
METOPROLOL | 2440 | 67523LCM56 | 2014-09-12 | ng/L | 0.30332 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 55.0575 | METOPROLOL | . | 27.5 | 16.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.30332 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.36453 | 0.050321 | 0.36882 | 0.079746 | 0.059115
METOPROLOL | 2440 | 67523LCM56 | 2014-10-25 | ng/L | 0.346 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 110.115 | METOPROLOL | . | 27.5 | 38.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.346 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.36453 | 0.050321 | 0.36882 | 0.079746 | 0.059115
METOPROLOL | 2440 | 67523LCM56 | 2015-02-10 | ng/L | 0.41718 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 58.728 | METOPROLOL | . | 27.5 | 24.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41718 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.36453 | 0.050321 | 0.36882 | 0.079746 | 0.059115
METOPROLOL | 2440 | 67523LCM56 | 2015-04-30 | ng/L | 0.39164 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 58.728 | METOPROLOL | E | 27.5 | 23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39164 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.36453 | 0.050321 | 0.36882 | 0.079746 | 0.059115
METOPROLOL | 2440 | 67523LCM56 | 2014-05-30 | ng/L | 0.35962 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 55.0575 | METOPROLOL | . | 27.5 | 19.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35962 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.36114 | 0.071301 | 0.35962 | 0.14258 | 0.10569
METOPROLOL | 2440 | 67523LCM56 | 2014-06-22 | ng/L | 0.43318 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 110.115 | METOPROLOL | . | 27.5 | 47.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43318 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.36114 | 0.071301 | 0.35962 | 0.14258 | 0.10569
METOPROLOL | 2440 | 67523LCM56 | 2014-07-13 | ng/L | 0.29061 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 55.0575 | METOPROLOL | . | 27.5 | 16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29061 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.36114 | 0.071301 | 0.35962 | 0.14258 | 0.10569
METOPROLOL | 2440 | 67523LCM56 | 2014-10-10 | ng/L | 0.28597 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 54.9 | METOPROLOL | . | 27.5 | 15.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.28597 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.3492 | 0.061971 | 0.35178 | 0.12386 | 0.091817
METOPROLOL | 2440 | 67523LCM56 | 2014-11-04 | ng/L | 0.35178 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 58.56 | METOPROLOL | . | 27.5 | 20.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35178 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.3492 | 0.061971 | 0.35178 | 0.12386 | 0.091817
METOPROLOL | 2440 | 67523LCM56 | 2015-02-06 | ng/L | 0.40984 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 109.8 | METOPROLOL | . | 27.5 | 45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40984 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.3492 | 0.061971 | 0.35178 | 0.12386 | 0.091817
METOPROLOL | 2440 | 67523LCM56 | 2015-07-30 | ng/L | 0.36697 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 82.84 | METOPROLOL | . | 27.5 | 30.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36697 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.30662 | 0.085358 | 0.30662 | 0.12071 | 0.089485
METOPROLOL | 2440 | 67523LCM56 | 2015-08-11 | ng/L | 0.24626 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 41.42 | METOPROLOL | E | 27.5 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.24626 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.30662 | 0.085358 | 0.30662 | 0.12071 | 0.089485
METOPROLOL | 2440 | 67523LCM56 | 2015-06-26 | ng/L | 0.36697 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 41.42 | METOPROLOL | . | 27.5 | 15.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36697 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.33197 | 0.049508 | 0.33197 | 0.070014 | 0.051901
METOPROLOL | 2440 | 67523LCM56 | 2015-07-31 | ng/L | 0.29696 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 82.84 | METOPROLOL | . | 27.5 | 24.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29696 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.33197 | 0.049508 | 0.33197 | 0.070014 | 0.051901
METOPROLOL | 2440 | 67523LCM56 | 2015-10-01 | ng/L | 0.3555 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 165.68 | METOPROLOL | . | 27.5 | 58.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3555 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.3555 |  | 0.3555 | 0 | 0
METOPROLOL | 2440 | 67523LCM56 | 2014-07-20 | ng/L | 0.30419 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 54.9 | METOPROLOL | . | 27.5 | 16.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.30419 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.30829 | 0.005796 | 0.30829 | 0.0081967 | 0.0060761
METOPROLOL | 2440 | 67523LCM56 | 2014-08-21 | ng/L | 0.31239 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 109.8 | METOPROLOL | . | 27.5 | 34.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31239 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.30829 | 0.005796 | 0.30829 | 0.0081967 | 0.0060761
METOPROLOL | 2440 | 67523LCM56 | 2014-10-11 | ng/L | 0.30146 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 109.8 | METOPROLOL | . | 27.5 | 33.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.30146 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.32009 | 0.01759 | 0.3224 | 0.03495 | 0.025908
METOPROLOL | 2440 | 67523LCM56 | 2014-12-06 | ng/L | 0.3224 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 109.8 | METOPROLOL | . | 27.5 | 35.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3224 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.32009 | 0.01759 | 0.3224 | 0.03495 | 0.025908
METOPROLOL | 2440 | 67523LCM56 | 2014-12-07 | ng/L | 0.33641 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 58.56 | METOPROLOL | . | 27.5 | 19.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33641 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.32009 | 0.01759 | 0.3224 | 0.03495 | 0.025908
METOPROLOL | 2440 | 67523LCM56 | 2014-08-30 | ng/L | 0.36066 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 54.9 | METOPROLOL | . | 27.5 | 19.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36066 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.36066 |  | 0.36066 | 0 | 0
METOPROLOL | 2440 | 67523LCM56 | 2014-10-24 | ng/L | 0.38993 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 58.728 | METOPROLOL | . | 27.5 | 22.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38993 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.39727 | 0.042704 | 0.38993 | 0.084457 | 0.062607
METOPROLOL | 2440 | 67523LCM56 | 2014-12-07 | ng/L | 0.35872 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 110.115 | METOPROLOL | . | 27.5 | 39.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35872 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.39727 | 0.042704 | 0.38993 | 0.084457 | 0.062607
METOPROLOL | 2440 | 67523LCM56 | 2015-03-10 | ng/L | 0.44317 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 110.115 | METOPROLOL | . | 27.5 | 48.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44317 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.39727 | 0.042704 | 0.38993 | 0.084457 | 0.062607
METOPROLOL | 2440 | 67523LCM56 | 2015-04-29 | ng/L | 0.45902 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 109.8 | METOPROLOL | E | 27.5 | 50.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45902 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.45902 |  | 0.45902 | 0 | 0
METOPROLOL | 2440 | 67523LCM56 | 2015-10-01 | ng/L | 0.39715 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 165.68 | METOPROLOL | . | 27.5 | 65.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39715 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.39715 |  | 0.39715 | 0 | 0
METOPROLOL | 2440 | 67523LCM56 | 2015-09-15 | ng/L | 0.34951 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 41.2 | METOPROLOL | . | 27.5 | 14.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34951 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.34951 |  | 0.34951 | 0 | 0
METOPROLOL | 2440 | 67523LCM56 | 2015-09-09 | ng/L | 0.3665 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 41.2 | METOPROLOL | . | 27.5 | 15.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3665 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.3665 |  | 0.3665 | 0 | 0
METOPROLOL | 2440 | 67523LCM56 | 2015-10-01 | ng/L | 0.38107 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 82.4 | METOPROLOL | . | 27.5 | 31.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38107 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.38107 |  | 0.38107 | 0 | 0