## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
NICOTINE | 2440 | 67493LCM56 | 2014-05-17 | ng/L | 0.72376 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 117.4425 | NICOTINE | E | 57.8 | 85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72376 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.53842 | 0.18869 | 0.54495 | 0.37721 | 0.27962
NICOTINE | 2440 | 67493LCM56 | 2014-06-11 | ng/L | 0.54495 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 234.885 | NICOTINE | E | 57.8 | 128 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54495 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.53842 | 0.18869 | 0.54495 | 0.37721 | 0.27962
NICOTINE | 2440 | 67493LCM56 | 2014-06-28 | ng/L | 0.34655 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 117.4425 | NICOTINE | . | 57.8 | 40.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34655 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.53842 | 0.18869 | 0.54495 | 0.37721 | 0.27962
NICOTINE | 2440 | 67493LCM56 | 2014-09-12 | ng/L | 0.66404 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 114 | NICOTINE | . | 57.8 | 75.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66404 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.71032 | 0.47412 | 0.56434 | 0.6332 | 0.46938
NICOTINE | 2440 | 67493LCM56 | 2014-10-25 | ng/L | 0.32281 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 228 | NICOTINE | . | 57.8 | 73.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.32281 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.71032 | 0.47412 | 0.56434 | 0.6332 | 0.46938
NICOTINE | 2440 | 67493LCM56 | 2015-02-10 | ng/L | 0.46464 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 121.6 | NICOTINE | . | 57.8 | 56.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46464 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.71032 | 0.47412 | 0.56434 | 0.6332 | 0.46938
NICOTINE | 2440 | 67493LCM56 | 2015-04-30 | ng/L | 1.3898 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 121.6 | NICOTINE | . | 57.8 | 169 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3898 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.71032 | 0.47412 | 0.56434 | 0.6332 | 0.46938
NICOTINE | 2440 | 67493LCM56 | 2014-05-21 | ng/L | 0.7493 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 234.885 | NICOTINE | . | 57.8 | 176 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7493 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55616 | 0.29072 | 0.69736 | 0.52749 | 0.39102
NICOTINE | 2440 | 67493LCM56 | 2014-07-12 | ng/L | 0.22181 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 234.885 | NICOTINE | . | 57.8 | 52.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.22181 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55616 | 0.29072 | 0.69736 | 0.52749 | 0.39102
NICOTINE | 2440 | 67493LCM56 | 2014-10-10 | ng/L | 0.69736 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 117.4425 | NICOTINE | . | 57.8 | 81.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69736 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55616 | 0.29072 | 0.69736 | 0.52749 | 0.39102
NICOTINE | 2440 | 67493LCM56 | 2014-11-04 | ng/L | 0.31052 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 125.272 | NICOTINE | . | 57.8 | 38.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31052 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.48719 | 0.2092 | 0.43596 | 0.31986 | 0.23711
NICOTINE | 2440 | 67493LCM56 | 2014-12-06 | ng/L | 0.76633 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 234.885 | NICOTINE | E | 57.8 | 180 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76633 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.48719 | 0.2092 | 0.43596 | 0.31986 | 0.23711
NICOTINE | 2440 | 67493LCM56 | 2015-01-16 | ng/L | 0.52792 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 234.885 | NICOTINE | . | 57.8 | 124 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52792 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.48719 | 0.2092 | 0.43596 | 0.31986 | 0.23711
NICOTINE | 2440 | 67493LCM56 | 2015-05-07 | ng/L | 0.344 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 234.885 | NICOTINE | . | 57.8 | 80.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.344 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.48719 | 0.2092 | 0.43596 | 0.31986 | 0.23711
NICOTINE | 2440 | 67493LCM56 | 2015-07-30 | ng/L | 0.4076 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 172.72 | NICOTINE | . | 57.8 | 70.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4076 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.32191 | 0.12118 | 0.32191 | 0.17138 | 0.12704
NICOTINE | 2440 | 67493LCM56 | 2015-08-11 | ng/L | 0.23622 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 86.36 | NICOTINE | E | 57.8 | 20.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.23622 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.32191 | 0.12118 | 0.32191 | 0.17138 | 0.12704
NICOTINE | 2440 | 67493LCM56 | 2015-06-09 | ng/L | 0.67971 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 86.36 | NICOTINE | . | 57.8 | 58.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67971 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67971 |  | 0.67971 | 0 | 0
NICOTINE | 2440 | 67493LCM56 | 2015-06-26 | ng/L | 0.57202 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 86.36 | NICOTINE | . | 57.8 | 49.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57202 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.57202 |  | 0.57202 | 0 | 0
NICOTINE | 2440 | 67493LCM56 | 2015-10-01 | ng/L | 0.40528 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 345.44 | NICOTINE | . | 57.8 | 140 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40528 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.40528 |  | 0.40528 | 0 | 0
NICOTINE | 2440 | 67493LCM56 | 2014-07-20 | ng/L | 0.42659 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 117.4425 | NICOTINE | . | 57.8 | 50.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42659 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.48705 | 0.068844 | 0.47257 | 0.13539 | 0.10036
NICOTINE | 2440 | 67493LCM56 | 2014-08-21 | ng/L | 0.56198 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 234.885 | NICOTINE | . | 57.8 | 132 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56198 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.48705 | 0.068844 | 0.47257 | 0.13539 | 0.10036
NICOTINE | 2440 | 67493LCM56 | 2015-03-11 | ng/L | 0.47257 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 234.885 | NICOTINE | E | 57.8 | 111 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47257 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.48705 | 0.068844 | 0.47257 | 0.13539 | 0.10036
NICOTINE | 2440 | 67493LCM56 | 2014-10-11 | ng/L | 0.79386 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 228 | NICOTINE | . | 57.8 | 181 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79386 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88231 | 0.17648 | 0.79386 | 0.31798 | 0.23572
NICOTINE | 2440 | 67493LCM56 | 2014-12-06 | ng/L | 0.76754 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 228 | NICOTINE | E | 57.8 | 175 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76754 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.88231 | 0.17648 | 0.79386 | 0.31798 | 0.23572
NICOTINE | 2440 | 67493LCM56 | 2014-12-07 | ng/L | 1.0855 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 121.6 | NICOTINE | E | 57.8 | 132 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0855 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.88231 | 0.17648 | 0.79386 | 0.31798 | 0.23572
NICOTINE | 2440 | 67493LCM56 | 2014-10-11 | ng/L | 0.31332 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 121.6 | NICOTINE | . | 57.8 | 38.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31332 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.46446 | 0.16228 | 0.44408 | 0.32264 | 0.23917
NICOTINE | 2440 | 67493LCM56 | 2015-03-10 | ng/L | 0.63596 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 228 | NICOTINE | E | 57.8 | 145 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63596 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.46446 | 0.16228 | 0.44408 | 0.32264 | 0.23917
NICOTINE | 2440 | 67493LCM56 | 2015-04-10 | ng/L | 0.44408 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 121.6 | NICOTINE | . | 57.8 | 54 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44408 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.46446 | 0.16228 | 0.44408 | 0.32264 | 0.23917
NICOTINE | 2440 | 67493LCM56 | 2014-07-13 | ng/L | 0.60702 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 114 | NICOTINE | . | 57.8 | 69.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60702 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.59737 | 0.066753 | 0.60702 | 0.13246 | 0.098188
NICOTINE | 2440 | 67493LCM56 | 2014-08-16 | ng/L | 0.65877 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 114 | NICOTINE | . | 57.8 | 75.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65877 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.59737 | 0.066753 | 0.60702 | 0.13246 | 0.098188
NICOTINE | 2440 | 67493LCM56 | 2014-08-28 | ng/L | 0.52632 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 228 | NICOTINE | . | 57.8 | 120 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52632 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.59737 | 0.066753 | 0.60702 | 0.13246 | 0.098188
NICOTINE | 2440 | 67493LCM56 | 2015-10-01 | ng/L | 0.55002 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 345.44 | NICOTINE | . | 57.8 | 190 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55002 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.55002 |  | 0.55002 | 0 | 0
NICOTINE | 2440 | 67493LCM56 | 2015-09-15 | ng/L | 0.93303 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 86.6 | NICOTINE | . | 57.8 | 80.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93303 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93303 |  | 0.93303 | 0 | 0
NICOTINE | 2440 | 67493LCM56 | 2015-09-09 | ng/L | 1.1663 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 86.6 | NICOTINE | . | 57.8 | 101 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1663 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1663 |  | 1.1663 | 0 | 0
NICOTINE | 2440 | 67493LCM56 | 2015-10-01 | ng/L | 0.65242 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 173.2 | NICOTINE | . | 57.8 | 113 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65242 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.65242 |  | 0.65242 | 0 | 0
NICOTINE | 2440 | 67493LCM56 | 2014-04-23 | ng/L | 0.54561 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 114 | NICOTINE | . | 57.8 | 62.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54561 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.54561 |  | 0.54561 | 0 | 0