## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
NIZATIDINE | 2440 | 67479LCM56 | 2014-09-12 | ng/L | 0.39418 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 37.8 | NIZATIDINE | E | 19 | 14.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39418 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.46123 | 0.25402 | 0.36442 | 0.30754 | 0.22798
NIZATIDINE | 2440 | 67479LCM56 | 2014-10-25 | ng/L | 0.33466 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 75.6 | NIZATIDINE | E | 19 | 25.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33466 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.46123 | 0.25402 | 0.36442 | 0.30754 | 0.22798
NIZATIDINE | 2440 | 67479LCM56 | 2015-02-10 | ng/L | 0.28026 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 40.32 | NIZATIDINE | E | 19 | 11.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.28026 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.46123 | 0.25402 | 0.36442 | 0.30754 | 0.22798
NIZATIDINE | 2440 | 67479LCM56 | 2015-04-30 | ng/L | 0.83581 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 40.32 | NIZATIDINE | E | 19 | 33.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83581 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.46123 | 0.25402 | 0.36442 | 0.30754 | 0.22798
NIZATIDINE | 2440 | 67479LCM56 | 2014-10-10 | ng/L | 0.44382 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 37.6275 | NIZATIDINE | E | 19 | 16.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44382 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.44382 |  | 0.44382 | 0 | 0
NIZATIDINE | 2440 | 67479LCM56 | 2015-06-26 | ng/L | 0.23315 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 28.48 | NIZATIDINE | E | 19 | 6.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.23315 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.23315 |  | 0.23315 | 0 | 0
NIZATIDINE | 2440 | 67479LCM56 | 2014-10-11 | ng/L | 0.3664 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 75.6 | NIZATIDINE | E | 19 | 27.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3664 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.28069 | 0.1322 | 0.34722 | 0.23796 | 0.1764
NIZATIDINE | 2440 | 67479LCM56 | 2014-12-06 | ng/L | 0.12844 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 75.6 | NIZATIDINE | E | 19 | 9.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.12844 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.28069 | 0.1322 | 0.34722 | 0.23796 | 0.1764
NIZATIDINE | 2440 | 67479LCM56 | 2014-12-07 | ng/L | 0.34722 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 40.32 | NIZATIDINE | E | 19 | 14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34722 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.28069 | 0.1322 | 0.34722 | 0.23796 | 0.1764
NIZATIDINE | 2440 | 67479LCM56 | 2015-04-10 | ng/L | 0.48363 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 40.32 | NIZATIDINE | E | 19 | 19.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48363 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.48363 |  | 0.48363 | 0 | 0
NIZATIDINE | 2440 | 67479LCM56 | 2014-07-13 | ng/L | 0.57672 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 37.8 | NIZATIDINE | E | 19 | 21.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57672 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.6358 | 0.074561 | 0.61111 | 0.14286 | 0.1059
NIZATIDINE | 2440 | 67479LCM56 | 2014-08-16 | ng/L | 0.71958 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 37.8 | NIZATIDINE | E | 19 | 27.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71958 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.6358 | 0.074561 | 0.61111 | 0.14286 | 0.1059
NIZATIDINE | 2440 | 67479LCM56 | 2014-08-28 | ng/L | 0.61111 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 75.6 | NIZATIDINE | E | 19 | 46.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61111 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.6358 | 0.074561 | 0.61111 | 0.14286 | 0.1059
NIZATIDINE | 2440 | 67479LCM56 | 2014-04-23 | ng/L | 0.44974 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 37.8 | NIZATIDINE | E | 19 | 17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44974 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.44974 |  | 0.44974 | 0 | 0