## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
NORDIAZEPAM | 2440 | 68252LCM56 | 2014-05-17 | ng/L | 0.85652 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 84.645 | NORDIAZEPAM | . | 41.4 | 72.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85652 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82108 | 0.056349 | 0.85061 | 0.10042 | 0.07444
NORDIAZEPAM | 2440 | 68252LCM56 | 2014-06-11 | ng/L | 0.85061 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 169.29 | NORDIAZEPAM | . | 41.4 | 144 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85061 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82108 | 0.056349 | 0.85061 | 0.10042 | 0.07444
NORDIAZEPAM | 2440 | 68252LCM56 | 2014-06-28 | ng/L | 0.7561 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 84.645 | NORDIAZEPAM | . | 41.4 | 64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7561 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82108 | 0.056349 | 0.85061 | 0.10042 | 0.07444
NORDIAZEPAM | 2440 | 68252LCM56 | 2014-05-21 | ng/L | 0.82698 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 169.29 | NORDIAZEPAM | E | 41.4 | 140 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82698 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.79312 | 0.036228 | 0.79745 | 0.072066 | 0.053422
NORDIAZEPAM | 2440 | 68252LCM56 | 2014-07-12 | ng/L | 0.79745 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 169.29 | NORDIAZEPAM | . | 41.4 | 135 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79745 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79312 | 0.036228 | 0.79745 | 0.072066 | 0.053422
NORDIAZEPAM | 2440 | 68252LCM56 | 2014-10-10 | ng/L | 0.75492 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 84.645 | NORDIAZEPAM | E | 41.4 | 63.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75492 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.79312 | 0.036228 | 0.79745 | 0.072066 | 0.053422
NORDIAZEPAM | 2440 | 68252LCM56 | 2014-11-04 | ng/L | 0.7465 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 90.288 | NORDIAZEPAM | E | 41.4 | 67.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7465 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.84673 | 0.11218 | 0.82994 | 0.18496 | 0.13711
NORDIAZEPAM | 2440 | 68252LCM56 | 2014-12-06 | ng/L | 0.76201 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 169.29 | NORDIAZEPAM | . | 41.4 | 129 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76201 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.84673 | 0.11218 | 0.82994 | 0.18496 | 0.13711
NORDIAZEPAM | 2440 | 68252LCM56 | 2015-01-16 | ng/L | 0.89787 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 169.29 | NORDIAZEPAM | . | 41.4 | 152 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89787 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.84673 | 0.11218 | 0.82994 | 0.18496 | 0.13711
NORDIAZEPAM | 2440 | 68252LCM56 | 2015-05-07 | ng/L | 0.98057 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 169.29 | NORDIAZEPAM | . | 41.4 | 166 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98057 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.84673 | 0.11218 | 0.82994 | 0.18496 | 0.13711
NORDIAZEPAM | 2440 | 68252LCM56 | 2015-07-30 | ng/L | 0.92038 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 124.9483 | NORDIAZEPAM | E | 41.4 | 115 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92038 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.80193 | 0.16751 | 0.80193 | 0.2369 | 0.17561
NORDIAZEPAM | 2440 | 68252LCM56 | 2015-08-11 | ng/L | 0.68348 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 62.4742 | NORDIAZEPAM | E | 41.4 | 42.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68348 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.80193 | 0.16751 | 0.80193 | 0.2369 | 0.17561
NORDIAZEPAM | 2440 | 68252LCM56 | 2015-07-09 | ng/L | 0.76192 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 62.4742 | NORDIAZEPAM | . | 41.4 | 47.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76192 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76192 |  | 0.76192 | 0 | 0
NORDIAZEPAM | 2440 | 68252LCM56 | 2015-06-09 | ng/L | 0.81794 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 62.4742 | NORDIAZEPAM | . | 41.4 | 51.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81794 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81794 |  | 0.81794 | 0 | 0
NORDIAZEPAM | 2440 | 68252LCM56 | 2014-07-20 | ng/L | 0.75137 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 84.645 | NORDIAZEPAM | . | 41.4 | 63.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75137 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77618 | 0.15215 | 0.75137 | 0.30126 | 0.22332
NORDIAZEPAM | 2440 | 68252LCM56 | 2014-08-21 | ng/L | 0.63796 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 169.29 | NORDIAZEPAM | . | 41.4 | 108 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63796 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77618 | 0.15215 | 0.75137 | 0.30126 | 0.22332
NORDIAZEPAM | 2440 | 68252LCM56 | 2015-03-11 | ng/L | 0.93922 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 169.29 | NORDIAZEPAM | . | 41.4 | 159 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93922 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77618 | 0.15215 | 0.75137 | 0.30126 | 0.22332
NORDIAZEPAM | 2440 | 68252LCM56 | 2015-07-31 | ng/L | 0.87236 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 124.9483 | NORDIAZEPAM | E | 41.4 | 109 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87236 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.87236 |  | 0.87236 | 0 | 0
NORDIAZEPAM | 2440 | 68252LCM56 | 2014-04-23 | ng/L | 0.90241 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 83 | NORDIAZEPAM | . | 41.4 | 74.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90241 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90241 |  | 0.90241 | 0 | 0