## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
NORETHINDRONE | 2440 | 67434LCM56 | 2014-05-17 | ng/L | 0.67835 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 21.8175 | NORETHINDRONE | . | 10.9 | 14.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67835 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.7219 | 0.038142 | 0.73794 | 0.071044 | 0.052664
NORETHINDRONE | 2440 | 67434LCM56 | 2014-06-11 | ng/L | 0.7494 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 43.635 | NORETHINDRONE | E | 10.9 | 32.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7494 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.7219 | 0.038142 | 0.73794 | 0.071044 | 0.052664
NORETHINDRONE | 2440 | 67434LCM56 | 2014-06-28 | ng/L | 0.73794 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 21.8175 | NORETHINDRONE | . | 10.9 | 16.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73794 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.7219 | 0.038142 | 0.73794 | 0.071044 | 0.052664
NORETHINDRONE | 2440 | 67434LCM56 | 2014-09-12 | ng/L | 0.48585 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 21.8175 | NORETHINDRONE | . | 10.9 | 10.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48585 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.55661 | 0.1499 | 0.5821 | 0.24837 | 0.18411
NORETHINDRONE | 2440 | 67434LCM56 | 2014-10-25 | ng/L | 0.67835 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 43.635 | NORETHINDRONE | . | 10.9 | 29.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67835 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.55661 | 0.1499 | 0.5821 | 0.24837 | 0.18411
NORETHINDRONE | 2440 | 67434LCM56 | 2015-02-10 | ng/L | 0.68322 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 23.272 | NORETHINDRONE | . | 10.9 | 15.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68322 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.55661 | 0.1499 | 0.5821 | 0.24837 | 0.18411
NORETHINDRONE | 2440 | 67434LCM56 | 2015-04-30 | ng/L | 0.379 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 23.272 | NORETHINDRONE | . | 10.9 | 8.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.379 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.55661 | 0.1499 | 0.5821 | 0.24837 | 0.18411
NORETHINDRONE | 2440 | 67434LCM56 | 2014-05-30 | ng/L | 0.74711 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 21.8175 | NORETHINDRONE | . | 10.9 | 16.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74711 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.796 | 0.22404 | 0.74711 | 0.44001 | 0.32618
NORETHINDRONE | 2440 | 67434LCM56 | 2014-06-22 | ng/L | 1.0404 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 43.635 | NORETHINDRONE | . | 10.9 | 45.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0404 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.796 | 0.22404 | 0.74711 | 0.44001 | 0.32618
NORETHINDRONE | 2440 | 67434LCM56 | 2014-07-13 | ng/L | 0.60044 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 21.8175 | NORETHINDRONE | . | 10.9 | 13.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60044 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.796 | 0.22404 | 0.74711 | 0.44001 | 0.32618
NORETHINDRONE | 2440 | 67434LCM56 | 2014-10-10 | ng/L | 0.49827 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 21.675 | NORETHINDRONE | E | 10.9 | 10.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49827 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68666 | 0.16384 | 0.76586 | 0.29758 | 0.22059
NORETHINDRONE | 2440 | 67434LCM56 | 2014-11-04 | ng/L | 0.79585 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 23.12 | NORETHINDRONE | E | 10.9 | 18.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79585 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68666 | 0.16384 | 0.76586 | 0.29758 | 0.22059
NORETHINDRONE | 2440 | 67434LCM56 | 2015-02-06 | ng/L | 0.76586 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 43.35 | NORETHINDRONE | . | 10.9 | 33.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76586 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68666 | 0.16384 | 0.76586 | 0.29758 | 0.22059
NORETHINDRONE | 2440 | 67434LCM56 | 2015-07-30 | ng/L | 0.52032 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 32.48 | NORETHINDRONE | E | 10.9 | 16.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52032 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.52032 |  | 0.52032 | 0 | 0
NORETHINDRONE | 2440 | 67434LCM56 | 2015-06-09 | ng/L | 0.97291 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 16.24 | NORETHINDRONE | . | 10.9 | 15.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97291 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97291 |  | 0.97291 | 0 | 0
NORETHINDRONE | 2440 | 67434LCM56 | 2015-10-01 | ng/L | 1.2885 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 64.96 | NORETHINDRONE | . | 10.9 | 83.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2885 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2885 |  | 1.2885 | 0 | 0
NORETHINDRONE | 2440 | 67434LCM56 | 2014-07-20 | ng/L | 0.63668 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 21.675 | NORETHINDRONE | . | 10.9 | 13.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63668 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.64129 | 0.027969 | 0.63668 | 0.055363 | 0.04104
NORETHINDRONE | 2440 | 67434LCM56 | 2014-08-21 | ng/L | 0.67128 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 43.35 | NORETHINDRONE | . | 10.9 | 29.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67128 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.64129 | 0.027969 | 0.63668 | 0.055363 | 0.04104
NORETHINDRONE | 2440 | 67434LCM56 | 2015-03-11 | ng/L | 0.61592 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 43.35 | NORETHINDRONE | . | 10.9 | 26.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61592 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.64129 | 0.027969 | 0.63668 | 0.055363 | 0.04104
NORETHINDRONE | 2440 | 67434LCM56 | 2014-10-11 | ng/L | 0.60669 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 43.35 | NORETHINDRONE | E | 10.9 | 26.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60669 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.69723 | 0.083059 | 0.71511 | 0.16321 | 0.12098
NORETHINDRONE | 2440 | 67434LCM56 | 2014-12-06 | ng/L | 0.71511 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 43.35 | NORETHINDRONE | . | 10.9 | 31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71511 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69723 | 0.083059 | 0.71511 | 0.16321 | 0.12098
NORETHINDRONE | 2440 | 67434LCM56 | 2014-12-07 | ng/L | 0.7699 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 23.12 | NORETHINDRONE | . | 10.9 | 17.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7699 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69723 | 0.083059 | 0.71511 | 0.16321 | 0.12098
NORETHINDRONE | 2440 | 67434LCM56 | 2014-08-30 | ng/L | 0.68743 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 21.675 | NORETHINDRONE | . | 10.9 | 14.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68743 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68743 |  | 0.68743 | 0 | 0
NORETHINDRONE | 2440 | 67434LCM56 | 2014-10-24 | ng/L | 0.51994 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 23.272 | NORETHINDRONE | . | 10.9 | 12.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51994 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.58659 | 0.13968 | 0.51994 | 0.25438 | 0.18857
NORETHINDRONE | 2440 | 67434LCM56 | 2014-12-07 | ng/L | 0.74711 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 43.635 | NORETHINDRONE | . | 10.9 | 32.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74711 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.58659 | 0.13968 | 0.51994 | 0.25438 | 0.18857
NORETHINDRONE | 2440 | 67434LCM56 | 2015-03-10 | ng/L | 0.49272 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 43.635 | NORETHINDRONE | . | 10.9 | 21.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49272 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.58659 | 0.13968 | 0.51994 | 0.25438 | 0.18857
NORETHINDRONE | 2440 | 67434LCM56 | 2015-04-29 | ng/L | 0.76125 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 43.35 | NORETHINDRONE | . | 10.9 | 33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76125 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76125 |  | 0.76125 | 0 | 0
NORETHINDRONE | 2440 | 67434LCM56 | 2015-09-15 | ng/L | 0.57688 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 16.26 | NORETHINDRONE | E | 10.9 | 9.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57688 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.57688 |  | 0.57688 | 0 | 0
NORETHINDRONE | 2440 | 67434LCM56 | 2015-10-01 | ng/L | 1.0547 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 32.52 | NORETHINDRONE | . | 10.9 | 34.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0547 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0547 |  | 1.0547 | 0 | 0