## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
OXAZEPAM | 2440 | 67469LCM56 | 2014-05-17 | ng/L | 0.29352 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 279.3675 | OXAZEPAM | E | 140 | 82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29352 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.42596 | 0.1873 | 0.42596 | 0.26488 | 0.19636
OXAZEPAM | 2440 | 67469LCM56 | 2014-06-11 | ng/L | 0.5584 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 558.735 | OXAZEPAM | . | 140 | 312 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5584 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.42596 | 0.1873 | 0.42596 | 0.26488 | 0.19636
OXAZEPAM | 2440 | 67469LCM56 | 2014-09-12 | ng/L | 0.38659 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 279.3675 | OXAZEPAM | . | 140 | 108 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38659 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.48396 | 0.176 | 0.41813 | 0.22338 | 0.16559
OXAZEPAM | 2440 | 67469LCM56 | 2014-10-25 | ng/L | 0.35795 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 558.735 | OXAZEPAM | . | 140 | 200 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35795 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.48396 | 0.176 | 0.41813 | 0.22338 | 0.16559
OXAZEPAM | 2440 | 67469LCM56 | 2015-02-10 | ng/L | 0.44968 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 297.992 | OXAZEPAM | . | 140 | 134 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44968 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.48396 | 0.176 | 0.41813 | 0.22338 | 0.16559
OXAZEPAM | 2440 | 67469LCM56 | 2015-04-30 | ng/L | 0.74163 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 297.992 | OXAZEPAM | E | 140 | 221 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74163 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.48396 | 0.176 | 0.41813 | 0.22338 | 0.16559
OXAZEPAM | 2440 | 67469LCM56 | 2014-06-22 | ng/L | 0.75528 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 558.735 | OXAZEPAM | E | 140 | 422 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75528 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.57809 | 0.25058 | 0.57809 | 0.35437 | 0.26269
OXAZEPAM | 2440 | 67469LCM56 | 2014-07-13 | ng/L | 0.40091 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 279.3675 | OXAZEPAM | . | 140 | 112 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40091 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.57809 | 0.25058 | 0.57809 | 0.35437 | 0.26269
OXAZEPAM | 2440 | 67469LCM56 | 2015-07-30 | ng/L | 1.0298 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 420.464 | OXAZEPAM | . | 140 | 433 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0298 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86452 | 0.23376 | 0.86452 | 0.33059 | 0.24506
OXAZEPAM | 2440 | 67469LCM56 | 2015-08-11 | ng/L | 0.69923 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 210.232 | OXAZEPAM | E | 140 | 147 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69923 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.86452 | 0.23376 | 0.86452 | 0.33059 | 0.24506
OXAZEPAM | 2440 | 67469LCM56 | 2015-06-09 | ng/L | 0.56604 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 210.232 | OXAZEPAM | . | 140 | 119 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56604 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.56604 |  | 0.56604 | 0 | 0
OXAZEPAM | 2440 | 67469LCM56 | 2015-07-31 | ng/L | 0.80863 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 420.464 | OXAZEPAM | . | 140 | 340 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80863 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80863 |  | 0.80863 | 0 | 0
OXAZEPAM | 2440 | 67469LCM56 | 2014-10-24 | ng/L | 0.29162 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 297.992 | OXAZEPAM | . | 140 | 86.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29162 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.39789 | 0.092654 | 0.44028 | 0.17014 | 0.12612
OXAZEPAM | 2440 | 67469LCM56 | 2014-12-07 | ng/L | 0.44028 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 558.735 | OXAZEPAM | . | 140 | 246 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44028 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.39789 | 0.092654 | 0.44028 | 0.17014 | 0.12612
OXAZEPAM | 2440 | 67469LCM56 | 2015-03-10 | ng/L | 0.46176 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 558.735 | OXAZEPAM | . | 140 | 258 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46176 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.39789 | 0.092654 | 0.44028 | 0.17014 | 0.12612
OXAZEPAM | 2440 | 67469LCM56 | 2014-04-23 | ng/L | 0.80354 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 282.5 | OXAZEPAM | . | 140 | 227 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80354 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80354 |  | 0.80354 | 0 | 0