## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
OXYCODONE | 2440 | 67495LCM56 | 2014-05-21 | ng/L | 0.64526 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 99.495 | OXYCODONE | . | 24.9 | 64.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64526 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.65665 | 0.09999 | 0.64526 | 0.199 | 0.14752
OXYCODONE | 2440 | 67495LCM56 | 2014-07-12 | ng/L | 0.76185 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 99.495 | OXYCODONE | . | 24.9 | 75.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76185 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.65665 | 0.09999 | 0.64526 | 0.199 | 0.14752
OXYCODONE | 2440 | 67495LCM56 | 2014-10-10 | ng/L | 0.56284 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 49.7475 | OXYCODONE | . | 24.9 | 28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56284 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.65665 | 0.09999 | 0.64526 | 0.199 | 0.14752
OXYCODONE | 2440 | 67495LCM56 | 2014-05-30 | ng/L | 0.55078 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 49.7475 | OXYCODONE | . | 24.9 | 27.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55078 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.73706 | 0.16896 | 0.77994 | 0.32966 | 0.24438
OXYCODONE | 2440 | 67495LCM56 | 2014-06-22 | ng/L | 0.88045 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 99.495 | OXYCODONE | E | 24.9 | 87.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88045 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.73706 | 0.16896 | 0.77994 | 0.32966 | 0.24438
OXYCODONE | 2440 | 67495LCM56 | 2014-07-13 | ng/L | 0.77994 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 49.7475 | OXYCODONE | . | 24.9 | 38.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77994 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.73706 | 0.16896 | 0.77994 | 0.32966 | 0.24438
OXYCODONE | 2440 | 67495LCM56 | 2014-10-10 | ng/L | 0.54877 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 49.7475 | OXYCODONE | . | 24.9 | 27.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54877 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.65054 | 0.13434 | 0.60003 | 0.25403 | 0.18831
OXYCODONE | 2440 | 67495LCM56 | 2014-11-04 | ng/L | 0.8028 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 53.064 | OXYCODONE | E | 24.9 | 42.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8028 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.65054 | 0.13434 | 0.60003 | 0.25403 | 0.18831
OXYCODONE | 2440 | 67495LCM56 | 2015-02-06 | ng/L | 0.60003 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 99.495 | OXYCODONE | . | 24.9 | 59.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60003 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.65054 | 0.13434 | 0.60003 | 0.25403 | 0.18831
OXYCODONE | 2440 | 67495LCM56 | 2015-07-30 | ng/L | 0.84407 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 74.52 | OXYCODONE | . | 24.9 | 62.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84407 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77093 | 0.10343 | 0.77093 | 0.14627 | 0.10843
OXYCODONE | 2440 | 67495LCM56 | 2015-08-11 | ng/L | 0.6978 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 37.26 | OXYCODONE | E | 24.9 | 26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6978 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.77093 | 0.10343 | 0.77093 | 0.14627 | 0.10843
OXYCODONE | 2440 | 67495LCM56 | 2015-06-26 | ng/L | 0.64412 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 37.26 | OXYCODONE | . | 24.9 | 24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64412 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.70719 | 0.089195 | 0.70719 | 0.12614 | 0.093507
OXYCODONE | 2440 | 67495LCM56 | 2015-07-31 | ng/L | 0.77026 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 74.52 | OXYCODONE | . | 24.9 | 57.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77026 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.70719 | 0.089195 | 0.70719 | 0.12614 | 0.093507
OXYCODONE | 2440 | 67495LCM56 | 2015-10-01 | ng/L | 0.6609 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 149.04 | OXYCODONE | . | 24.9 | 98.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6609 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.6609 |  | 0.6609 | 0 | 0
OXYCODONE | 2440 | 67495LCM56 | 2014-10-11 | ng/L | 0.51824 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 53.064 | OXYCODONE | . | 24.9 | 27.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51824 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70628 | 0.19753 | 0.68848 | 0.39386 | 0.29197
OXYCODONE | 2440 | 67495LCM56 | 2015-03-10 | ng/L | 0.68848 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 99.495 | OXYCODONE | . | 24.9 | 68.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68848 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70628 | 0.19753 | 0.68848 | 0.39386 | 0.29197
OXYCODONE | 2440 | 67495LCM56 | 2015-04-10 | ng/L | 0.91211 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 53.064 | OXYCODONE | . | 24.9 | 48.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91211 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70628 | 0.19753 | 0.68848 | 0.39386 | 0.29197
OXYCODONE | 2440 | 67495LCM56 | 2015-10-01 | ng/L | 0.68438 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 149.04 | OXYCODONE | . | 24.9 | 102 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68438 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68438 |  | 0.68438 | 0 | 0