## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PAROXETINE | 2440 | 67527LCM56 | 2014-05-17 | ng/L | 0.57854 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 40.7925 | PAROXETINE | E | 20.6 | 23.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57854 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.46087 | 0.1632 | 0.52951 | 0.30398 | 0.22534
PAROXETINE | 2440 | 67527LCM56 | 2014-06-11 | ng/L | 0.27456 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 81.585 | PAROXETINE | E | 20.6 | 22.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.27456 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.46087 | 0.1632 | 0.52951 | 0.30398 | 0.22534
PAROXETINE | 2440 | 67527LCM56 | 2014-06-28 | ng/L | 0.52951 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 40.7925 | PAROXETINE | E | 20.6 | 21.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52951 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.46087 | 0.1632 | 0.52951 | 0.30398 | 0.22534
PAROXETINE | 2440 | 67527LCM56 | 2014-09-12 | ng/L | 0.4058 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 41.4 | PAROXETINE | E | 20.6 | 16.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4058 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.42633 | 0.19055 | 0.46671 | 0.27883 | 0.2067
PAROXETINE | 2440 | 67527LCM56 | 2014-10-25 | ng/L | 0.60386 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 82.8 | PAROXETINE | E | 20.6 | 50 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60386 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.42633 | 0.19055 | 0.46671 | 0.27883 | 0.2067
PAROXETINE | 2440 | 67527LCM56 | 2015-02-10 | ng/L | 0.16803 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 44.16 | PAROXETINE | E | 20.6 | 7.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.16803 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.42633 | 0.19055 | 0.46671 | 0.27883 | 0.2067
PAROXETINE | 2440 | 67527LCM56 | 2015-04-30 | ng/L | 0.52763 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 44.16 | PAROXETINE | E | 20.6 | 23.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52763 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.42633 | 0.19055 | 0.46671 | 0.27883 | 0.2067
PAROXETINE | 2440 | 67527LCM56 | 2014-05-21 | ng/L | 0.52215 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 81.585 | PAROXETINE | E | 20.6 | 42.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52215 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.48538 | 0.052003 | 0.48538 | 0.073543 | 0.054517
PAROXETINE | 2440 | 67527LCM56 | 2014-07-12 | ng/L | 0.44861 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 81.585 | PAROXETINE | E | 20.6 | 36.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44861 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.48538 | 0.052003 | 0.48538 | 0.073543 | 0.054517
PAROXETINE | 2440 | 67527LCM56 | 2014-11-04 | ng/L | 0.14755 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 43.512 | PAROXETINE | E | 20.6 | 6.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.14755 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.25169 | 0.081215 | 0.25679 | 0.10457 | 0.077516
PAROXETINE | 2440 | 67527LCM56 | 2014-12-06 | ng/L | 0.2623 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 81.585 | PAROXETINE | E | 20.6 | 21.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.2623 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.25169 | 0.081215 | 0.25679 | 0.10457 | 0.077516
PAROXETINE | 2440 | 67527LCM56 | 2015-01-16 | ng/L | 0.34565 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 81.585 | PAROXETINE | E | 20.6 | 28.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34565 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.25169 | 0.081215 | 0.25679 | 0.10457 | 0.077516
PAROXETINE | 2440 | 67527LCM56 | 2015-05-07 | ng/L | 0.25127 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 81.585 | PAROXETINE | E | 20.6 | 20.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.25127 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.25169 | 0.081215 | 0.25679 | 0.10457 | 0.077516
PAROXETINE | 2440 | 67527LCM56 | 2015-07-30 | ng/L | 0.42037 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 62.0877 | PAROXETINE | E | 20.6 | 26.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42037 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.42037 |  | 0.42037 | 0 | 0
PAROXETINE | 2440 | 67527LCM56 | 2015-07-09 | ng/L | 0.40588 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 31.0438 | PAROXETINE | E | 20.6 | 12.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40588 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.40588 |  | 0.40588 | 0 | 0
PAROXETINE | 2440 | 67527LCM56 | 2015-06-09 | ng/L | 0.4091 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 31.0438 | PAROXETINE | E | 20.6 | 12.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4091 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.4091 |  | 0.4091 | 0 | 0
PAROXETINE | 2440 | 67527LCM56 | 2014-08-21 | ng/L | 0.18753 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 81.585 | PAROXETINE | E | 20.6 | 15.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.18753 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.28375 | 0.13607 | 0.28375 | 0.19244 | 0.14265
PAROXETINE | 2440 | 67527LCM56 | 2015-03-11 | ng/L | 0.37997 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 81.585 | PAROXETINE | E | 20.6 | 31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.37997 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.28375 | 0.13607 | 0.28375 | 0.19244 | 0.14265
PAROXETINE | 2440 | 67527LCM56 | 2014-10-11 | ng/L | 0.62198 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 82.8 | PAROXETINE | E | 20.6 | 51.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62198 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.5316 | 0.12885 | 0.58877 | 0.23792 | 0.17637
PAROXETINE | 2440 | 67527LCM56 | 2014-12-06 | ng/L | 0.38406 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 82.8 | PAROXETINE | E | 20.6 | 31.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38406 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.5316 | 0.12885 | 0.58877 | 0.23792 | 0.17637
PAROXETINE | 2440 | 67527LCM56 | 2014-12-07 | ng/L | 0.58877 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 44.16 | PAROXETINE | E | 20.6 | 26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58877 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.5316 | 0.12885 | 0.58877 | 0.23792 | 0.17637
PAROXETINE | 2440 | 67527LCM56 | 2014-10-11 | ng/L | 0.43252 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 44.16 | PAROXETINE | E | 20.6 | 19.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43252 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.42097 | 0.016333 | 0.42097 | 0.023098 | 0.017122
PAROXETINE | 2440 | 67527LCM56 | 2015-03-10 | ng/L | 0.40942 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 82.8 | PAROXETINE | E | 20.6 | 33.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40942 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.42097 | 0.016333 | 0.42097 | 0.023098 | 0.017122
PAROXETINE | 2440 | 67527LCM56 | 2014-07-13 | ng/L | 0.22222 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 41.4 | PAROXETINE | E | 20.6 | 9.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.22222 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.38003 | 0.13879 | 0.43478 | 0.26087 | 0.19338
PAROXETINE | 2440 | 67527LCM56 | 2014-08-16 | ng/L | 0.43478 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 41.4 | PAROXETINE | E | 20.6 | 18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43478 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.38003 | 0.13879 | 0.43478 | 0.26087 | 0.19338
PAROXETINE | 2440 | 67527LCM56 | 2014-08-28 | ng/L | 0.48309 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 82.8 | PAROXETINE | E | 20.6 | 40 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48309 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.38003 | 0.13879 | 0.43478 | 0.26087 | 0.19338
PAROXETINE | 2440 | 67527LCM56 | 2015-10-01 | ng/L | 0.81731 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 124.8 | PAROXETINE | E | 20.6 | 102 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81731 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.81731 |  | 0.81731 | 0 | 0
PAROXETINE | 2440 | 67527LCM56 | 2015-09-15 | ng/L | 0.45833 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 31.2 | PAROXETINE | E | 20.6 | 14.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45833 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.45833 |  | 0.45833 | 0 | 0
PAROXETINE | 2440 | 67527LCM56 | 2015-07-31 | ng/L | 0.48319 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 62.0877 | PAROXETINE | E | 20.6 | 30 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48319 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.48319 |  | 0.48319 | 0 | 0
PAROXETINE | 2440 | 67527LCM56 | 2014-04-23 | ng/L | 0.71186 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 41.3 | PAROXETINE | E | 20.6 | 29.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71186 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.71186 |  | 0.71186 | 0 | 0