## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PENCICLOVIR | 2440 | 68021LCM56 | 2014-05-17 | ng/L | 1.2268 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 81.51 | PENCICLOVIR | . | 40.2 | 100 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2268 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0882 | 0.15089 | 1.1103 | 0.29935 | 0.2219
PENCICLOVIR | 2440 | 68021LCM56 | 2014-06-11 | ng/L | 1.1103 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 163.02 | PENCICLOVIR | . | 40.2 | 181 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1103 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0882 | 0.15089 | 1.1103 | 0.29935 | 0.2219
PENCICLOVIR | 2440 | 68021LCM56 | 2014-06-28 | ng/L | 0.92749 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 81.51 | PENCICLOVIR | . | 40.2 | 75.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92749 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0882 | 0.15089 | 1.1103 | 0.29935 | 0.2219
PENCICLOVIR | 2440 | 68021LCM56 | 2014-09-12 | ng/L | 1.1275 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 81.51 | PENCICLOVIR | . | 40.2 | 91.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1275 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 1.2666 | 0.10839 | 1.2736 | 0.14055 | 0.10419
PENCICLOVIR | 2440 | 68021LCM56 | 2014-10-25 | ng/L | 1.2821 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 163.02 | PENCICLOVIR | E | 40.2 | 209 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2821 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 1.2666 | 0.10839 | 1.2736 | 0.14055 | 0.10419
PENCICLOVIR | 2440 | 68021LCM56 | 2015-02-10 | ng/L | 1.2652 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 86.944 | PENCICLOVIR | E | 40.2 | 110 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2652 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 1.2666 | 0.10839 | 1.2736 | 0.14055 | 0.10419
PENCICLOVIR | 2440 | 68021LCM56 | 2015-04-30 | ng/L | 1.3917 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 86.944 | PENCICLOVIR | E | 40.2 | 121 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3917 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 1.2666 | 0.10839 | 1.2736 | 0.14055 | 0.10419
PENCICLOVIR | 2440 | 68021LCM56 | 2014-05-30 | ng/L | 1.1226 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 81.51 | PENCICLOVIR | . | 40.2 | 91.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1226 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1438 | 0.080649 | 1.1226 | 0.15704 | 0.11641
PENCICLOVIR | 2440 | 68021LCM56 | 2014-06-22 | ng/L | 1.233 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 163.02 | PENCICLOVIR | . | 40.2 | 201 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.233 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1438 | 0.080649 | 1.1226 | 0.15704 | 0.11641
PENCICLOVIR | 2440 | 68021LCM56 | 2014-07-13 | ng/L | 1.0759 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 81.51 | PENCICLOVIR | . | 40.2 | 87.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0759 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1438 | 0.080649 | 1.1226 | 0.15704 | 0.11641
PENCICLOVIR | 2440 | 68021LCM56 | 2014-10-10 | ng/L | 0.59065 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 80.25 | PENCICLOVIR | . | 40.2 | 47.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59065 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68663 | 0.086943 | 0.70911 | 0.16947 | 0.12563
PENCICLOVIR | 2440 | 68021LCM56 | 2014-11-04 | ng/L | 0.70911 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 85.6 | PENCICLOVIR | E | 40.2 | 60.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70911 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68663 | 0.086943 | 0.70911 | 0.16947 | 0.12563
PENCICLOVIR | 2440 | 68021LCM56 | 2015-02-06 | ng/L | 0.76012 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 160.5 | PENCICLOVIR | E | 40.2 | 122 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76012 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68663 | 0.086943 | 0.70911 | 0.16947 | 0.12563
PENCICLOVIR | 2440 | 68021LCM56 | 2015-07-09 | ng/L | 1.2007 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 60.38 | PENCICLOVIR | E | 40.2 | 72.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2007 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2007 |  | 1.2007 | 0 | 0
PENCICLOVIR | 2440 | 68021LCM56 | 2015-06-26 | ng/L | 1.0335 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 60.38 | PENCICLOVIR | . | 40.2 | 62.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0335 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0591 | 0.036304 | 1.0591 | 0.051342 | 0.038059
PENCICLOVIR | 2440 | 68021LCM56 | 2015-07-31 | ng/L | 1.0848 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 120.76 | PENCICLOVIR | E | 40.2 | 131 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0848 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0591 | 0.036304 | 1.0591 | 0.051342 | 0.038059
PENCICLOVIR | 2440 | 68021LCM56 | 2015-10-01 | ng/L | 0.6689 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 239.2 | PENCICLOVIR | . | 40.2 | 160 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6689 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.6689 |  | 0.6689 | 0 | 0
PENCICLOVIR | 2440 | 68021LCM56 | 2015-09-10 | ng/L | 1.0103 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 120.76 | PENCICLOVIR | . | 40.2 | 122 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0103 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0103 |  | 1.0103 | 0 | 0
PENCICLOVIR | 2440 | 68021LCM56 | 2014-07-20 | ng/L | 0.60685 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 80.25 | PENCICLOVIR | . | 40.2 | 48.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60685 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.72565 | 0.17641 | 0.64174 | 0.3215 | 0.23832
PENCICLOVIR | 2440 | 68021LCM56 | 2014-08-21 | ng/L | 0.64174 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 160.5 | PENCICLOVIR | . | 40.2 | 103 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64174 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.72565 | 0.17641 | 0.64174 | 0.3215 | 0.23832
PENCICLOVIR | 2440 | 68021LCM56 | 2015-03-11 | ng/L | 0.92835 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 160.5 | PENCICLOVIR | E | 40.2 | 149 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92835 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.72565 | 0.17641 | 0.64174 | 0.3215 | 0.23832
PENCICLOVIR | 2440 | 68021LCM56 | 2014-10-11 | ng/L | 0.67913 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 160.5 | PENCICLOVIR | . | 40.2 | 109 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67913 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68977 | 0.0098616 | 0.69159 | 0.01947 | 0.014433
PENCICLOVIR | 2440 | 68021LCM56 | 2014-12-06 | ng/L | 0.69159 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 160.5 | PENCICLOVIR | E | 40.2 | 111 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69159 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68977 | 0.0098616 | 0.69159 | 0.01947 | 0.014433
PENCICLOVIR | 2440 | 68021LCM56 | 2014-12-07 | ng/L | 0.6986 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 85.6 | PENCICLOVIR | E | 40.2 | 59.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6986 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.68977 | 0.0098616 | 0.69159 | 0.01947 | 0.014433
PENCICLOVIR | 2440 | 68021LCM56 | 2014-08-30 | ng/L | 0.53956 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 80.25 | PENCICLOVIR | E | 40.2 | 43.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53956 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.53956 |  | 0.53956 | 0 | 0
PENCICLOVIR | 2440 | 68021LCM56 | 2014-10-24 | ng/L | 1.3342 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 86.944 | PENCICLOVIR | E | 40.2 | 116 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3342 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.2401 | 0.15501 | 1.325 | 0.27297 | 0.20235
PENCICLOVIR | 2440 | 68021LCM56 | 2014-12-07 | ng/L | 1.0612 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 163.02 | PENCICLOVIR | E | 40.2 | 173 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0612 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.2401 | 0.15501 | 1.325 | 0.27297 | 0.20235
PENCICLOVIR | 2440 | 68021LCM56 | 2015-03-10 | ng/L | 1.325 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 163.02 | PENCICLOVIR | E | 40.2 | 216 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.325 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.2401 | 0.15501 | 1.325 | 0.27297 | 0.20235
PENCICLOVIR | 2440 | 68021LCM56 | 2015-04-29 | ng/L | 1.0343 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 160.5 | PENCICLOVIR | E | 40.2 | 166 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0343 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0343 |  | 1.0343 | 0 | 0
PENCICLOVIR | 2440 | 68021LCM56 | 2014-04-23 | ng/L | 1.179 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 81 | PENCICLOVIR | . | 40.2 | 95.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.179 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.179 |  | 1.179 | 0 | 0