## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-05-17 | ng/L | 0.51256 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 18.0075 | PENTOXIFYLLINE | E | 9.35 | 9.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51256 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.51728 | 0.0066754 | 0.51728 | 0.0094405 | 0.0069982
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-06-11 | ng/L | 0.522 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 36.015 | PENTOXIFYLLINE | E | 9.35 | 18.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.522 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.51728 | 0.0066754 | 0.51728 | 0.0094405 | 0.0069982
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-09-12 | ng/L | 0.4414 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 18.6 | PENTOXIFYLLINE | . | 9.35 | 8.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4414 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69814 | 0.17741 | 0.75722 | 0.23175 | 0.1718
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-10-25 | ng/L | 0.72312 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 37.2 | PENTOXIFYLLINE | . | 9.35 | 26.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72312 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69814 | 0.17741 | 0.75722 | 0.23175 | 0.1718
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2015-02-10 | ng/L | 0.83669 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 19.84 | PENTOXIFYLLINE | . | 9.35 | 16.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83669 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69814 | 0.17741 | 0.75722 | 0.23175 | 0.1718
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2015-04-30 | ng/L | 0.79133 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 19.84 | PENTOXIFYLLINE | . | 9.35 | 15.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79133 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69814 | 0.17741 | 0.75722 | 0.23175 | 0.1718
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-05-21 | ng/L | 0.50812 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 36.015 | PENTOXIFYLLINE | . | 9.35 | 18.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50812 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.48739 | 0.032601 | 0.50423 | 0.058309 | 0.043224
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-07-12 | ng/L | 0.44981 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 36.015 | PENTOXIFYLLINE | E | 9.35 | 16.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44981 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.48739 | 0.032601 | 0.50423 | 0.058309 | 0.043224
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-10-10 | ng/L | 0.50423 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 18.0075 | PENTOXIFYLLINE | . | 9.35 | 9.08 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50423 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.48739 | 0.032601 | 0.50423 | 0.058309 | 0.043224
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-11-04 | ng/L | 0.56747 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 19.208 | PENTOXIFYLLINE | E | 9.35 | 10.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56747 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.76522 | 0.19384 | 0.75246 | 0.31879 | 0.23632
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-12-06 | ng/L | 0.64418 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 36.015 | PENTOXIFYLLINE | . | 9.35 | 23.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64418 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76522 | 0.19384 | 0.75246 | 0.31879 | 0.23632
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2015-01-16 | ng/L | 0.86075 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 36.015 | PENTOXIFYLLINE | . | 9.35 | 31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86075 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76522 | 0.19384 | 0.75246 | 0.31879 | 0.23632
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2015-05-07 | ng/L | 0.98848 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 36.015 | PENTOXIFYLLINE | . | 9.35 | 35.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98848 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76522 | 0.19384 | 0.75246 | 0.31879 | 0.23632
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2015-07-09 | ng/L | 0.75 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 14 | PENTOXIFYLLINE | . | 9.35 | 10.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75 |  | 0.75 | 0 | 0
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2015-06-26 | ng/L | 0.92857 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 14 | PENTOXIFYLLINE | . | 9.35 | 13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92857 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76964 | 0.22476 | 0.76964 | 0.31786 | 0.23562
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2015-07-31 | ng/L | 0.61071 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 28 | PENTOXIFYLLINE | . | 9.35 | 17.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61071 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76964 | 0.22476 | 0.76964 | 0.31786 | 0.23562
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2015-10-01 | ng/L | 0.81909 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 56.16 | PENTOXIFYLLINE | . | 9.35 | 46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81909 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81909 |  | 0.81909 | 0 | 0
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2015-09-10 | ng/L | 0.83929 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 28 | PENTOXIFYLLINE | . | 9.35 | 23.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83929 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83929 |  | 0.83929 | 0 | 0
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-07-20 | ng/L | 0.51756 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 18.0075 | PENTOXIFYLLINE | E | 9.35 | 9.32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51756 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.60012 | 0.236 | 0.51756 | 0.44981 | 0.33344
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-08-21 | ng/L | 0.41649 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 36.015 | PENTOXIFYLLINE | . | 9.35 | 15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41649 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60012 | 0.236 | 0.51756 | 0.44981 | 0.33344
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2015-03-11 | ng/L | 0.86631 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 36.015 | PENTOXIFYLLINE | . | 9.35 | 31.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86631 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60012 | 0.236 | 0.51756 | 0.44981 | 0.33344
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-10-11 | ng/L | 0.61022 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 37.2 | PENTOXIFYLLINE | E | 9.35 | 22.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61022 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.67585 | 0.065861 | 0.6754 | 0.13172 | 0.097643
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-12-06 | ng/L | 0.74194 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 37.2 | PENTOXIFYLLINE | . | 9.35 | 27.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74194 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.67585 | 0.065861 | 0.6754 | 0.13172 | 0.097643
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-12-07 | ng/L | 0.6754 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 19.84 | PENTOXIFYLLINE | . | 9.35 | 13.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6754 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.67585 | 0.065861 | 0.6754 | 0.13172 | 0.097643
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-10-11 | ng/L | 0.4123 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 19.84 | PENTOXIFYLLINE | E | 9.35 | 8.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4123 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.64606 | 0.20363 | 0.74093 | 0.37265 | 0.27624
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2015-03-10 | ng/L | 0.78495 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 37.2 | PENTOXIFYLLINE | . | 9.35 | 29.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78495 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.64606 | 0.20363 | 0.74093 | 0.37265 | 0.27624
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2015-04-10 | ng/L | 0.74093 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 19.84 | PENTOXIFYLLINE | . | 9.35 | 14.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74093 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.64606 | 0.20363 | 0.74093 | 0.37265 | 0.27624
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-08-28 | ng/L | 0.62634 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 37.2 | PENTOXIFYLLINE | E | 9.35 | 23.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62634 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.62634 |  | 0.62634 | 0 | 0
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2015-10-01 | ng/L | 0.86895 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 28.08 | PENTOXIFYLLINE | . | 9.35 | 24.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86895 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86895 |  | 0.86895 | 0 | 0
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2015-07-31 | ng/L | 0.92949 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 28.08 | PENTOXIFYLLINE | . | 9.35 | 26.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92949 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92949 |  | 0.92949 | 0 | 0
PENTOXIFYLLINE | 2440 | 67480LCM56 | 2014-04-23 | ng/L | 0.5508 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 18.7 | PENTOXIFYLLINE | . | 9.35 | 10.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5508 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.5508 |  | 0.5508 | 0 | 0