## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHENYTOIN | 2440 | 67466LCM56 | 2014-05-17 | ng/L | 0.99187 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 378.075 | PHENYTOIN | . | 188 | 375 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99187 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88034 | 0.14473 | 0.93235 | 0.27508 | 0.20391
PHENYTOIN | 2440 | 67466LCM56 | 2014-06-11 | ng/L | 0.93235 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 756.15 | PHENYTOIN | . | 188 | 705 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93235 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88034 | 0.14473 | 0.93235 | 0.27508 | 0.20391
PHENYTOIN | 2440 | 67466LCM56 | 2014-06-28 | ng/L | 0.71679 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 378.075 | PHENYTOIN | . | 188 | 271 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71679 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88034 | 0.14473 | 0.93235 | 0.27508 | 0.20391
PHENYTOIN | 2440 | 67466LCM56 | 2014-09-12 | ng/L | 0.80053 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 381 | PHENYTOIN | . | 188 | 305 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80052 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.93947 | 0.12898 | 0.92872 | 0.19783 | 0.14665
PHENYTOIN | 2440 | 67466LCM56 | 2014-10-25 | ng/L | 0.88058 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 762 | PHENYTOIN | . | 188 | 671 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88058 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.93947 | 0.12898 | 0.92872 | 0.19783 | 0.14665
PHENYTOIN | 2440 | 67466LCM56 | 2015-02-10 | ng/L | 0.97687 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 406.4 | PHENYTOIN | . | 188 | 397 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97687 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.93947 | 0.12898 | 0.92872 | 0.19783 | 0.14665
PHENYTOIN | 2440 | 67466LCM56 | 2015-04-30 | ng/L | 1.0999 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 406.4 | PHENYTOIN | . | 188 | 447 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0999 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.93947 | 0.12898 | 0.92872 | 0.19783 | 0.14665
PHENYTOIN | 2440 | 67466LCM56 | 2014-05-21 | ng/L | 0.83185 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 756.15 | PHENYTOIN | E | 188 | 629 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83185 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.8821 | 0.049607 | 0.88342 | 0.099187 | 0.073526
PHENYTOIN | 2440 | 67466LCM56 | 2014-07-12 | ng/L | 0.88342 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 756.15 | PHENYTOIN | . | 188 | 668 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88342 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8821 | 0.049607 | 0.88342 | 0.099187 | 0.073526
PHENYTOIN | 2440 | 67466LCM56 | 2014-10-10 | ng/L | 0.93103 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 378.075 | PHENYTOIN | . | 188 | 352 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93103 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8821 | 0.049607 | 0.88342 | 0.099187 | 0.073526
PHENYTOIN | 2440 | 67466LCM56 | 2014-11-04 | ng/L | 0.81085 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 403.28 | PHENYTOIN | . | 188 | 327 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81085 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8385 | 0.12111 | 0.8716 | 0.18771 | 0.13915
PHENYTOIN | 2440 | 67466LCM56 | 2014-12-06 | ng/L | 0.67844 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 756.15 | PHENYTOIN | . | 188 | 513 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67844 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8385 | 0.12111 | 0.8716 | 0.18771 | 0.13915
PHENYTOIN | 2440 | 67466LCM56 | 2015-01-16 | ng/L | 0.93235 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 756.15 | PHENYTOIN | . | 188 | 705 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93235 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8385 | 0.12111 | 0.8716 | 0.18771 | 0.13915
PHENYTOIN | 2440 | 67466LCM56 | 2015-05-07 | ng/L | 0.93235 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 756.15 | PHENYTOIN | . | 188 | 705 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93235 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8385 | 0.12111 | 0.8716 | 0.18771 | 0.13915
PHENYTOIN | 2440 | 67466LCM56 | 2015-07-30 | ng/L | 0.71263 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 564.1068 | PHENYTOIN | . | 188 | 402 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71263 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75163 | 0.055154 | 0.75163 | 0.077999 | 0.05782
PHENYTOIN | 2440 | 67466LCM56 | 2015-08-11 | ng/L | 0.79063 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 282.0534 | PHENYTOIN | E | 188 | 223 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79063 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.75163 | 0.055154 | 0.75163 | 0.077999 | 0.05782
PHENYTOIN | 2440 | 67466LCM56 | 2015-07-09 | ng/L | 0.82254 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 282.0534 | PHENYTOIN | . | 188 | 232 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82254 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82254 |  | 0.82254 | 0 | 0
PHENYTOIN | 2440 | 67466LCM56 | 2015-06-09 | ng/L | 0.79418 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 282.0534 | PHENYTOIN | . | 188 | 224 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79418 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79418 |  | 0.79418 | 0 | 0
PHENYTOIN | 2440 | 67466LCM56 | 2015-09-10 | ng/L | 0.85993 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 564 | PHENYTOIN | . | 188 | 485 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85993 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85993 |  | 0.85993 | 0 | 0
PHENYTOIN | 2440 | 67466LCM56 | 2014-07-20 | ng/L | 0.76175 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 378.075 | PHENYTOIN | . | 188 | 288 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76175 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8173 | 0.11143 | 0.76175 | 0.20102 | 0.14901
PHENYTOIN | 2440 | 67466LCM56 | 2014-08-21 | ng/L | 0.74456 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 756.15 | PHENYTOIN | . | 188 | 563 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74456 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8173 | 0.11143 | 0.76175 | 0.20102 | 0.14901
PHENYTOIN | 2440 | 67466LCM56 | 2015-03-11 | ng/L | 0.94558 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 756.15 | PHENYTOIN | . | 188 | 715 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94558 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8173 | 0.11143 | 0.76175 | 0.20102 | 0.14901
PHENYTOIN | 2440 | 67466LCM56 | 2014-10-11 | ng/L | 0.80709 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 762 | PHENYTOIN | . | 188 | 615 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80709 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84378 | 0.03441 | 0.84892 | 0.068241 | 0.050587
PHENYTOIN | 2440 | 67466LCM56 | 2014-12-06 | ng/L | 0.87533 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 762 | PHENYTOIN | . | 188 | 667 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87533 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84378 | 0.03441 | 0.84892 | 0.068241 | 0.050587
PHENYTOIN | 2440 | 67466LCM56 | 2014-12-07 | ng/L | 0.84892 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 406.4 | PHENYTOIN | . | 188 | 345 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84892 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84378 | 0.03441 | 0.84892 | 0.068241 | 0.050587
PHENYTOIN | 2440 | 67466LCM56 | 2014-10-11 | ng/L | 0.7874 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 406.4 | PHENYTOIN | . | 188 | 320 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7874 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83508 | 0.062254 | 0.81234 | 0.11811 | 0.087554
PHENYTOIN | 2440 | 67466LCM56 | 2015-03-10 | ng/L | 0.81234 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 762 | PHENYTOIN | . | 188 | 619 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81234 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83508 | 0.062254 | 0.81234 | 0.11811 | 0.087554
PHENYTOIN | 2440 | 67466LCM56 | 2015-04-10 | ng/L | 0.90551 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 406.4 | PHENYTOIN | . | 188 | 368 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90551 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.83508 | 0.062254 | 0.81234 | 0.11811 | 0.087554
PHENYTOIN | 2440 | 67466LCM56 | 2014-07-13 | ng/L | 0.76903 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 381 | PHENYTOIN | . | 188 | 293 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76903 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74672 | 0.097086 | 0.76903 | 0.19029 | 0.14106
PHENYTOIN | 2440 | 67466LCM56 | 2014-08-16 | ng/L | 0.64042 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 381 | PHENYTOIN | E | 188 | 244 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64042 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.74672 | 0.097086 | 0.76903 | 0.19029 | 0.14106
PHENYTOIN | 2440 | 67466LCM56 | 2014-08-28 | ng/L | 0.83071 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 762 | PHENYTOIN | . | 188 | 633 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83071 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.74672 | 0.097086 | 0.76903 | 0.19029 | 0.14106
PHENYTOIN | 2440 | 67466LCM56 | 2015-10-01 | ng/L | 0.72695 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 1128 | PHENYTOIN | . | 188 | 820 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72695 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72695 |  | 0.72695 | 0 | 0
PHENYTOIN | 2440 | 67466LCM56 | 2015-10-01 | ng/L | 0.48227 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 282 | PHENYTOIN | . | 188 | 136 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48227 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.48227 |  | 0.48227 | 0 | 0
PHENYTOIN | 2440 | 67466LCM56 | 2015-07-31 | ng/L | 0.82431 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 564.1068 | PHENYTOIN | . | 188 | 465 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82431 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82431 |  | 0.82431 | 0 | 0