## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-05-17 | ng/L | 1.322 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 6.18 | PIPERONYL_BUTOXIDE | E | 3.07 | 8.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.322 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.322 |  | 1.322 | 0 | 0
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-09-12 | ng/L | 0.37158 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 6.405 | PIPERONYL_BUTOXIDE | . | 3.07 | 2.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.37158 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.54872 | 0.18912 | 0.54059 | 0.32382 | 0.24004
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-10-25 | ng/L | 0.40203 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 12.81 | PIPERONYL_BUTOXIDE | . | 3.07 | 5.15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40203 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.54872 | 0.18912 | 0.54059 | 0.32382 | 0.24004
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2015-02-10 | ng/L | 0.7421 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 6.832 | PIPERONYL_BUTOXIDE | E | 3.07 | 5.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7421 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.54872 | 0.18912 | 0.54059 | 0.32382 | 0.24004
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2015-04-30 | ng/L | 0.67916 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 6.832 | PIPERONYL_BUTOXIDE | E | 3.07 | 4.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67916 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.54872 | 0.18912 | 0.54059 | 0.32382 | 0.24004
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-05-21 | ng/L | 0.51375 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 12.36 | PIPERONYL_BUTOXIDE | E | 3.07 | 6.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51375 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.37244 | 0.17065 | 0.42071 | 0.33091 | 0.2453
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-07-12 | ng/L | 0.42071 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 12.36 | PIPERONYL_BUTOXIDE | . | 3.07 | 5.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42071 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.37244 | 0.17065 | 0.42071 | 0.33091 | 0.2453
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-10-10 | ng/L | 0.18285 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 6.18 | PIPERONYL_BUTOXIDE | . | 3.07 | 1.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.18285 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.37244 | 0.17065 | 0.42071 | 0.33091 | 0.2453
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-11-04 | ng/L | 0.087985 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 6.592 | PIPERONYL_BUTOXIDE | E | 3.07 | 0.58 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.087985 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.50844 | 0.28735 | 0.61812 | 0.36742 | 0.27236
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-12-06 | ng/L | 0.56149 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 12.36 | PIPERONYL_BUTOXIDE | . | 3.07 | 6.94 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56149 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.50844 | 0.28735 | 0.61812 | 0.36742 | 0.27236
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2015-01-16 | ng/L | 0.67476 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 12.36 | PIPERONYL_BUTOXIDE | . | 3.07 | 8.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67476 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.50844 | 0.28735 | 0.61812 | 0.36742 | 0.27236
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2015-05-07 | ng/L | 0.70955 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 12.36 | PIPERONYL_BUTOXIDE | . | 3.07 | 8.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70955 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.50844 | 0.28735 | 0.61812 | 0.36742 | 0.27236
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2015-07-30 | ng/L | 0.61569 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 9.2092 | PIPERONYL_BUTOXIDE | E | 3.07 | 5.67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61569 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.55 | 0.092907 | 0.55 | 0.13139 | 0.097399
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2015-08-11 | ng/L | 0.4843 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 4.6046 | PIPERONYL_BUTOXIDE | E | 3.07 | 2.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4843 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.55 | 0.092907 | 0.55 | 0.13139 | 0.097399
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2015-07-09 | ng/L | 0.3996 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 4.6046 | PIPERONYL_BUTOXIDE | E | 3.07 | 1.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3996 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.3996 |  | 0.3996 | 0 | 0
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2015-09-10 | ng/L | 0.69408 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 9.12 | PIPERONYL_BUTOXIDE | . | 3.07 | 6.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69408 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69408 |  | 0.69408 | 0 | 0
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-07-20 | ng/L | 0.34466 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 6.18 | PIPERONYL_BUTOXIDE | . | 3.07 | 2.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34466 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.41343 | 0.060279 | 0.43851 | 0.11246 | 0.083365
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-08-21 | ng/L | 0.43851 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 12.36 | PIPERONYL_BUTOXIDE | . | 3.07 | 5.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43851 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.41343 | 0.060279 | 0.43851 | 0.11246 | 0.083365
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2015-03-11 | ng/L | 0.45712 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 12.36 | PIPERONYL_BUTOXIDE | . | 3.07 | 5.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45712 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.41343 | 0.060279 | 0.43851 | 0.11246 | 0.083365
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-10-11 | ng/L | 0.34973 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 12.81 | PIPERONYL_BUTOXIDE | . | 3.07 | 4.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34973 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.46481 | 0.10623 | 0.48556 | 0.20941 | 0.15523
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-12-06 | ng/L | 0.48556 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 12.81 | PIPERONYL_BUTOXIDE | . | 3.07 | 6.22 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48556 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.46481 | 0.10623 | 0.48556 | 0.20941 | 0.15523
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-12-07 | ng/L | 0.55913 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 6.832 | PIPERONYL_BUTOXIDE | . | 3.07 | 3.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55913 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.46481 | 0.10623 | 0.48556 | 0.20941 | 0.15523
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-10-11 | ng/L | 0.068794 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 6.832 | PIPERONYL_BUTOXIDE | . | 3.07 | 0.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.068794 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.27911 | 0.23977 | 0.22834 | 0.47141 | 0.34945
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2015-03-10 | ng/L | 0.5402 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 12.81 | PIPERONYL_BUTOXIDE | E | 3.07 | 6.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5402 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.27911 | 0.23977 | 0.22834 | 0.47141 | 0.34945
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2015-04-10 | ng/L | 0.22834 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 6.832 | PIPERONYL_BUTOXIDE | E | 3.07 | 1.56 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.22834 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.27911 | 0.23977 | 0.22834 | 0.47141 | 0.34945
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-08-16 | ng/L | 0.34192 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 6.405 | PIPERONYL_BUTOXIDE | . | 3.07 | 2.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34192 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.4313 | 0.12641 | 0.4313 | 0.17877 | 0.13252
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-08-28 | ng/L | 0.52069 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 12.81 | PIPERONYL_BUTOXIDE | E | 3.07 | 6.67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52069 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.4313 | 0.12641 | 0.4313 | 0.17877 | 0.13252
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2015-10-01 | ng/L | 0.64145 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 18.24 | PIPERONYL_BUTOXIDE | . | 3.07 | 11.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64145 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.64145 |  | 0.64145 | 0 | 0
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2015-09-15 | ng/L | 0.67105 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 4.56 | PIPERONYL_BUTOXIDE | . | 3.07 | 3.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67105 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67105 |  | 0.67105 | 0 | 0
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2015-10-01 | ng/L | 0.66886 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 4.56 | PIPERONYL_BUTOXIDE | . | 3.07 | 3.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66886 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66886 |  | 0.66886 | 0 | 0
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2015-07-31 | ng/L | 0.6917 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 9.2092 | PIPERONYL_BUTOXIDE | E | 3.07 | 6.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6917 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.6917 |  | 0.6917 | 0 | 0
PIPERONYL BUTOXIDE | 2440 | 67435LCM56 | 2014-04-23 | ng/L | 0.53167 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 6 | PIPERONYL_BUTOXIDE | E | 3.07 | 3.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53167 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.53167 |  | 0.53167 | 0 | 0