## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PREDNISOLONE | 2440 | 67483LCM56 | 2014-05-17 | ng/L | 0.84911 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 300.315 | PREDNISOLONE | E | 150 | 255 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84911 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.84189 | 0.049511 | 0.84911 | 0.09823 | 0.072817
PREDNISOLONE | 2440 | 67483LCM56 | 2014-06-11 | ng/L | 0.8874 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 600.63 | PREDNISOLONE | . | 150 | 533 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8874 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84189 | 0.049511 | 0.84911 | 0.09823 | 0.072817
PREDNISOLONE | 2440 | 67483LCM56 | 2014-06-28 | ng/L | 0.78917 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 300.315 | PREDNISOLONE | . | 150 | 237 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78917 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.84189 | 0.049511 | 0.84911 | 0.09823 | 0.072817
PREDNISOLONE | 2440 | 67483LCM56 | 2014-09-12 | ng/L | 0.74074 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 297 | PREDNISOLONE | . | 150 | 220 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74074 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.73338 | 0.01544 | 0.74074 | 0.015783 | 0.0117
PREDNISOLONE | 2440 | 67483LCM56 | 2014-10-25 | ng/L | 0.74074 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 594 | PREDNISOLONE | E | 150 | 440 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74074 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.73338 | 0.01544 | 0.74074 | 0.015783 | 0.0117
PREDNISOLONE | 2440 | 67483LCM56 | 2015-02-10 | ng/L | 0.71023 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 316.8 | PREDNISOLONE | . | 150 | 225 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71023 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.73338 | 0.01544 | 0.74074 | 0.015783 | 0.0117
PREDNISOLONE | 2440 | 67483LCM56 | 2015-04-30 | ng/L | 0.74179 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 316.8 | PREDNISOLONE | . | 150 | 235 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74179 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.73338 | 0.01544 | 0.74074 | 0.015783 | 0.0117
PREDNISOLONE | 2440 | 67483LCM56 | 2014-05-21 | ng/L | 0.80749 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 600.63 | PREDNISOLONE | . | 150 | 485 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80749 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75365 | 0.061946 | 0.76753 | 0.12154 | 0.090096
PREDNISOLONE | 2440 | 67483LCM56 | 2014-07-12 | ng/L | 0.76753 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 600.63 | PREDNISOLONE | . | 150 | 461 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76753 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75365 | 0.061946 | 0.76753 | 0.12154 | 0.090096
PREDNISOLONE | 2440 | 67483LCM56 | 2014-10-10 | ng/L | 0.68595 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 300.315 | PREDNISOLONE | . | 150 | 206 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68595 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75365 | 0.061946 | 0.76753 | 0.12154 | 0.090096
PREDNISOLONE | 2440 | 67483LCM56 | 2014-11-04 | ng/L | 0.70551 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 320.336 | PREDNISOLONE | . | 150 | 226 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70551 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8207 | 0.16021 | 0.8181 | 0.27325 | 0.20256
PREDNISOLONE | 2440 | 67483LCM56 | 2014-12-06 | ng/L | 0.66264 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 600.63 | PREDNISOLONE | . | 150 | 398 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66264 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8207 | 0.16021 | 0.8181 | 0.27325 | 0.20256
PREDNISOLONE | 2440 | 67483LCM56 | 2015-01-16 | ng/L | 0.93069 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 600.63 | PREDNISOLONE | . | 150 | 559 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93069 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8207 | 0.16021 | 0.8181 | 0.27325 | 0.20256
PREDNISOLONE | 2440 | 67483LCM56 | 2015-05-07 | ng/L | 0.98397 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 600.63 | PREDNISOLONE | . | 150 | 591 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98397 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.8207 | 0.16021 | 0.8181 | 0.27325 | 0.20256
PREDNISOLONE | 2440 | 67483LCM56 | 2015-07-09 | ng/L | 0.73136 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 224.24 | PREDNISOLONE | . | 150 | 164 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73136 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73136 |  | 0.73136 | 0 | 0
PREDNISOLONE | 2440 | 67483LCM56 | 2015-06-26 | ng/L | 0.69568 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 224.24 | PREDNISOLONE | . | 150 | 156 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69568 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72913 | 0.0473 | 0.72913 | 0.066893 | 0.049587
PREDNISOLONE | 2440 | 67483LCM56 | 2015-07-31 | ng/L | 0.76258 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 448.48 | PREDNISOLONE | E | 150 | 342 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76258 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.72913 | 0.0473 | 0.72913 | 0.066893 | 0.049587
PREDNISOLONE | 2440 | 67483LCM56 | 2015-09-10 | ng/L | 0.87183 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 448.48 | PREDNISOLONE | E | 150 | 391 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87183 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.87183 |  | 0.87183 | 0 | 0
PREDNISOLONE | 2440 | 67483LCM56 | 2014-07-20 | ng/L | 0.70926 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 300.315 | PREDNISOLONE | . | 150 | 213 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70926 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79528 | 0.14326 | 0.71591 | 0.2514 | 0.18636
PREDNISOLONE | 2440 | 67483LCM56 | 2014-08-21 | ng/L | 0.71591 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 600.63 | PREDNISOLONE | . | 150 | 430 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71591 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79528 | 0.14326 | 0.71591 | 0.2514 | 0.18636
PREDNISOLONE | 2440 | 67483LCM56 | 2015-03-11 | ng/L | 0.96066 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 600.63 | PREDNISOLONE | E | 150 | 577 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96066 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.79528 | 0.14326 | 0.71591 | 0.2514 | 0.18636
PREDNISOLONE | 2440 | 67483LCM56 | 2014-10-11 | ng/L | 0.68013 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 594 | PREDNISOLONE | . | 150 | 404 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68013 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68049 | 0.014629 | 0.68013 | 0.029251 | 0.021683
PREDNISOLONE | 2440 | 67483LCM56 | 2014-12-06 | ng/L | 0.69529 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 594 | PREDNISOLONE | . | 150 | 413 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69529 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68049 | 0.014629 | 0.68013 | 0.029251 | 0.021683
PREDNISOLONE | 2440 | 67483LCM56 | 2014-12-07 | ng/L | 0.66604 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 316.8 | PREDNISOLONE | . | 150 | 211 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66604 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68049 | 0.014629 | 0.68013 | 0.029251 | 0.021683
PREDNISOLONE | 2440 | 67483LCM56 | 2014-10-11 | ng/L | 0.76705 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 316.8 | PREDNISOLONE | . | 150 | 243 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76705 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83333 | 0.093745 | 0.83333 | 0.13258 | 0.098277
PREDNISOLONE | 2440 | 67483LCM56 | 2015-04-10 | ng/L | 0.89962 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 316.8 | PREDNISOLONE | . | 150 | 285 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89962 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83333 | 0.093745 | 0.83333 | 0.13258 | 0.098277
PREDNISOLONE | 2440 | 67483LCM56 | 2014-07-13 | ng/L | 0.80471 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 297 | PREDNISOLONE | . | 150 | 239 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80471 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69473 | 0.11665 | 0.70707 | 0.23232 | 0.17222
PREDNISOLONE | 2440 | 67483LCM56 | 2014-08-16 | ng/L | 0.57239 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 297 | PREDNISOLONE | E | 150 | 170 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57239 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.69473 | 0.11665 | 0.70707 | 0.23232 | 0.17222
PREDNISOLONE | 2440 | 67483LCM56 | 2014-08-28 | ng/L | 0.70707 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 594 | PREDNISOLONE | E | 150 | 420 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70707 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.69473 | 0.11665 | 0.70707 | 0.23232 | 0.17222
PREDNISOLONE | 2440 | 67483LCM56 | 2015-09-09 | ng/L | 1.0301 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 224.24 | PREDNISOLONE | E | 150 | 231 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0301 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0301 |  | 1.0301 | 0 | 0
PREDNISOLONE | 2440 | 67483LCM56 | 2015-10-01 | ng/L | 0.73673 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 452 | PREDNISOLONE | E | 150 | 333 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73673 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.73673 |  | 0.73673 | 0 | 0
PREDNISOLONE | 2440 | 67483LCM56 | 2015-07-31 | ng/L | 0.85398 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 452 | PREDNISOLONE | E | 150 | 386 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85398 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.85398 |  | 0.85398 | 0 | 0
PREDNISOLONE | 2440 | 67483LCM56 | 2014-04-23 | ng/L | 0.68687 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 297 | PREDNISOLONE | . | 150 | 204 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68687 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.68687 |  | 0.68687 | 0 | 0