## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PREDNISONE | 2440 | 67467LCM56 | 2014-05-17 | ng/L | 0.85457 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 337.0125 | PREDNISONE | . | 168 | 288 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85457 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91292 | 0.07246 | 0.89017 | 0.13946 | 0.10338
PREDNISONE | 2440 | 67467LCM56 | 2014-06-11 | ng/L | 0.99403 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 674.025 | PREDNISONE | E | 168 | 670 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99403 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.91292 | 0.07246 | 0.89017 | 0.13946 | 0.10338
PREDNISONE | 2440 | 67467LCM56 | 2014-06-28 | ng/L | 0.89017 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 337.0125 | PREDNISONE | . | 168 | 300 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89017 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91292 | 0.07246 | 0.89017 | 0.13946 | 0.10338
PREDNISONE | 2440 | 67467LCM56 | 2014-09-12 | ng/L | 0.81896 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 337.0125 | PREDNISONE | . | 168 | 276 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81896 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76921 | 0.076962 | 0.79198 | 0.11136 | 0.082553
PREDNISONE | 2440 | 67467LCM56 | 2014-10-25 | ng/L | 0.83083 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 674.025 | PREDNISONE | . | 168 | 560 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83083 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76921 | 0.076962 | 0.79198 | 0.11136 | 0.082553
PREDNISONE | 2440 | 67467LCM56 | 2015-02-10 | ng/L | 0.76499 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 359.48 | PREDNISONE | . | 168 | 275 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76499 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76921 | 0.076962 | 0.79198 | 0.11136 | 0.082553
PREDNISONE | 2440 | 67467LCM56 | 2015-04-30 | ng/L | 0.66207 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 359.48 | PREDNISONE | . | 168 | 238 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66207 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.76921 | 0.076962 | 0.79198 | 0.11136 | 0.082553
PREDNISONE | 2440 | 67467LCM56 | 2014-05-30 | ng/L | 0.99996 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 337.0125 | PREDNISONE | E | 168 | 337 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99996 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.93617 | 0.24011 | 0.99996 | 0.46734 | 0.34644
PREDNISONE | 2440 | 67467LCM56 | 2014-06-22 | ng/L | 1.1379 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 674.025 | PREDNISONE | . | 168 | 767 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1379 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93617 | 0.24011 | 0.99996 | 0.46734 | 0.34644
PREDNISONE | 2440 | 67467LCM56 | 2014-07-13 | ng/L | 0.6706 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 337.0125 | PREDNISONE | . | 168 | 226 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6706 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93617 | 0.24011 | 0.99996 | 0.46734 | 0.34644
PREDNISONE | 2440 | 67467LCM56 | 2014-10-10 | ng/L | 0.92444 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 337.5 | PREDNISONE | . | 168 | 312 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92444 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88747 | 0.099287 | 0.92444 | 0.18796 | 0.13934
PREDNISONE | 2440 | 67467LCM56 | 2014-11-04 | ng/L | 0.775 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 360 | PREDNISONE | . | 168 | 279 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.775 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88747 | 0.099287 | 0.92444 | 0.18796 | 0.13934
PREDNISONE | 2440 | 67467LCM56 | 2015-02-06 | ng/L | 0.96296 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 675 | PREDNISONE | . | 168 | 650 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96296 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88747 | 0.099287 | 0.92444 | 0.18796 | 0.13934
PREDNISONE | 2440 | 67467LCM56 | 2015-07-30 | ng/L | 1.1928 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 505.5142 | PREDNISONE | E | 168 | 603 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1928 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.90304 | 0.40984 | 0.90304 | 0.57961 | 0.42966
PREDNISONE | 2440 | 67467LCM56 | 2015-08-11 | ng/L | 0.61324 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 252.7571 | PREDNISONE | E | 168 | 155 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61324 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.90304 | 0.40984 | 0.90304 | 0.57961 | 0.42966
PREDNISONE | 2440 | 67467LCM56 | 2015-07-09 | ng/L | 0.94953 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 252.7571 | PREDNISONE | . | 168 | 240 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94953 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94953 |  | 0.94953 | 0 | 0
PREDNISONE | 2440 | 67467LCM56 | 2015-06-09 | ng/L | 0.64884 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 252.7571 | PREDNISONE | . | 168 | 164 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64884 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.64884 |  | 0.64884 | 0 | 0
PREDNISONE | 2440 | 67467LCM56 | 2015-09-10 | ng/L | 0.91468 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 504 | PREDNISONE | . | 168 | 461 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91468 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91468 |  | 0.91468 | 0 | 0
PREDNISONE | 2440 | 67467LCM56 | 2014-07-20 | ng/L | 0.70519 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 337.5 | PREDNISONE | . | 168 | 238 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70519 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79457 | 0.096152 | 0.78222 | 0.19111 | 0.14167
PREDNISONE | 2440 | 67467LCM56 | 2014-08-21 | ng/L | 0.78222 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 675 | PREDNISONE | . | 168 | 528 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78222 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79457 | 0.096152 | 0.78222 | 0.19111 | 0.14167
PREDNISONE | 2440 | 67467LCM56 | 2015-03-11 | ng/L | 0.8963 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 675 | PREDNISONE | . | 168 | 605 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8963 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.79457 | 0.096152 | 0.78222 | 0.19111 | 0.14167
PREDNISONE | 2440 | 67467LCM56 | 2014-10-11 | ng/L | 0.71259 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 675 | PREDNISONE | . | 168 | 481 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71259 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70846 | 0.053731 | 0.71259 | 0.10722 | 0.079483
PREDNISONE | 2440 | 67467LCM56 | 2014-12-06 | ng/L | 0.76 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 675 | PREDNISONE | . | 168 | 513 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70846 | 0.053731 | 0.71259 | 0.10722 | 0.079483
PREDNISONE | 2440 | 67467LCM56 | 2014-12-07 | ng/L | 0.65278 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 360 | PREDNISONE | . | 168 | 235 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65278 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70846 | 0.053731 | 0.71259 | 0.10722 | 0.079483
PREDNISONE | 2440 | 67467LCM56 | 2014-08-30 | ng/L | 0.87407 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 337.5 | PREDNISONE | . | 168 | 295 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87407 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87407 |  | 0.87407 | 0 | 0
PREDNISONE | 2440 | 67467LCM56 | 2014-10-24 | ng/L | 0.94303 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 359.48 | PREDNISONE | . | 168 | 339 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94303 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78317 | 0.13873 | 0.71214 | 0.24869 | 0.18435
PREDNISONE | 2440 | 67467LCM56 | 2014-12-07 | ng/L | 0.71214 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 674.025 | PREDNISONE | . | 168 | 480 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71214 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78317 | 0.13873 | 0.71214 | 0.24869 | 0.18435
PREDNISONE | 2440 | 67467LCM56 | 2015-03-10 | ng/L | 0.69434 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 674.025 | PREDNISONE | . | 168 | 468 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69434 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78317 | 0.13873 | 0.71214 | 0.24869 | 0.18435
PREDNISONE | 2440 | 67467LCM56 | 2015-04-29 | ng/L | 0.85185 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 675 | PREDNISONE | . | 168 | 575 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85185 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85185 |  | 0.85185 | 0 | 0
PREDNISONE | 2440 | 67467LCM56 | 2015-10-01 | ng/L | 0.95139 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 1008 | PREDNISONE | E | 168 | 959 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95139 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.95139 |  | 0.95139 | 0 | 0
PREDNISONE | 2440 | 67467LCM56 | 2015-09-15 | ng/L | 1.131 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 252 | PREDNISONE | E | 168 | 285 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.131 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.131 |  | 1.131 | 0 | 0
PREDNISONE | 2440 | 67467LCM56 | 2015-07-31 | ng/L | 0.92579 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 505.5142 | PREDNISONE | E | 168 | 468 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92579 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.92579 |  | 0.92579 | 0 | 0
PREDNISONE | 2440 | 67467LCM56 | 2014-04-23 | ng/L | 0.7739 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 329.5 | PREDNISONE | . | 168 | 255 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7739 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7739 |  | 0.7739 | 0 | 0