## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROPOXYPHENE | 2440 | 68009LCM56 | 2014-05-17 | ng/L | 0.70642 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 33.8325 | PROPOXYPHENE | . | 17.2 | 23.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70642 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55568 | 0.17125 | 0.59115 | 0.33695 | 0.24978
PROPOXYPHENE | 2440 | 68009LCM56 | 2014-06-11 | ng/L | 0.59115 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 67.665 | PROPOXYPHENE | . | 17.2 | 40 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59115 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55568 | 0.17125 | 0.59115 | 0.33695 | 0.24978
PROPOXYPHENE | 2440 | 68009LCM56 | 2014-06-28 | ng/L | 0.36947 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 33.8325 | PROPOXYPHENE | E | 17.2 | 12.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36947 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.55568 | 0.17125 | 0.59115 | 0.33695 | 0.24978
PROPOXYPHENE | 2440 | 68009LCM56 | 2014-09-12 | ng/L | 0.46405 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 33.8325 | PROPOXYPHENE | . | 17.2 | 15.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46405 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.55443 | 0.065604 | 0.56944 | 0.093383 | 0.069224
PROPOXYPHENE | 2440 | 68009LCM56 | 2014-10-25 | ng/L | 0.61479 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 67.665 | PROPOXYPHENE | . | 17.2 | 41.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61479 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.55443 | 0.065604 | 0.56944 | 0.093383 | 0.069224
PROPOXYPHENE | 2440 | 68009LCM56 | 2015-02-10 | ng/L | 0.58745 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 36.088 | PROPOXYPHENE | . | 17.2 | 21.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58745 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.55443 | 0.065604 | 0.56944 | 0.093383 | 0.069224
PROPOXYPHENE | 2440 | 68009LCM56 | 2015-04-30 | ng/L | 0.55143 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 36.088 | PROPOXYPHENE | . | 17.2 | 19.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55143 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.55443 | 0.065604 | 0.56944 | 0.093383 | 0.069224
PROPOXYPHENE | 2440 | 68009LCM56 | 2014-05-30 | ng/L | 0.5941 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 33.8325 | PROPOXYPHENE | . | 17.2 | 20.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5941 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.64878 | 0.22596 | 0.5941 | 0.44188 | 0.32756
PROPOXYPHENE | 2440 | 68009LCM56 | 2014-06-22 | ng/L | 0.89707 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 67.665 | PROPOXYPHENE | . | 17.2 | 60.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89707 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.64878 | 0.22596 | 0.5941 | 0.44188 | 0.32756
PROPOXYPHENE | 2440 | 68009LCM56 | 2014-07-13 | ng/L | 0.45518 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 33.8325 | PROPOXYPHENE | . | 17.2 | 15.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45518 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.64878 | 0.22596 | 0.5941 | 0.44188 | 0.32756
PROPOXYPHENE | 2440 | 68009LCM56 | 2015-07-30 | ng/L | 0.67656 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 51.88 | PROPOXYPHENE | . | 17.2 | 35.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67656 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67656 |  | 0.67656 | 0 | 0
PROPOXYPHENE | 2440 | 68009LCM56 | 2015-06-09 | ng/L | 0.53971 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 25.94 | PROPOXYPHENE | E | 17.2 | 14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53971 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.53971 |  | 0.53971 | 0 | 0
PROPOXYPHENE | 2440 | 68009LCM56 | 2015-06-26 | ng/L | 0.66692 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 25.94 | PROPOXYPHENE | . | 17.2 | 17.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66692 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.56573 | 0.14311 | 0.56573 | 0.20239 | 0.15003
PROPOXYPHENE | 2440 | 68009LCM56 | 2015-07-31 | ng/L | 0.46453 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 51.88 | PROPOXYPHENE | . | 17.2 | 24.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46453 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.56573 | 0.14311 | 0.56573 | 0.20239 | 0.15003
PROPOXYPHENE | 2440 | 68009LCM56 | 2015-10-01 | ng/L | 1.1854 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 103.76 | PROPOXYPHENE | E | 17.2 | 123 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1854 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1854 |  | 1.1854 | 0 | 0
PROPOXYPHENE | 2440 | 68009LCM56 | 2014-10-24 | ng/L | 0.52649 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 36.088 | PROPOXYPHENE | . | 17.2 | 19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52649 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57304 | 0.094056 | 0.52649 | 0.16995 | 0.12599
PROPOXYPHENE | 2440 | 68009LCM56 | 2014-12-07 | ng/L | 0.6813 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 67.665 | PROPOXYPHENE | . | 17.2 | 46.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6813 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57304 | 0.094056 | 0.52649 | 0.16995 | 0.12599
PROPOXYPHENE | 2440 | 68009LCM56 | 2015-03-10 | ng/L | 0.51134 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 67.665 | PROPOXYPHENE | . | 17.2 | 34.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51134 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57304 | 0.094056 | 0.52649 | 0.16995 | 0.12599
PROPOXYPHENE | 2440 | 68009LCM56 | 2015-10-01 | ng/L | 1.542 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 103.76 | PROPOXYPHENE | E | 17.2 | 160 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.542 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.542 |  | 1.542 | 0 | 0
PROPOXYPHENE | 2440 | 68009LCM56 | 2015-09-15 | ng/L | 0.67692 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 26 | PROPOXYPHENE | . | 17.2 | 17.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67692 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67692 |  | 0.67692 | 0 | 0
PROPOXYPHENE | 2440 | 68009LCM56 | 2015-09-09 | ng/L | 0.73846 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 26 | PROPOXYPHENE | . | 17.2 | 19.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73846 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73846 |  | 0.73846 | 0 | 0
PROPOXYPHENE | 2440 | 68009LCM56 | 2015-10-01 | ng/L | 0.59038 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 52 | PROPOXYPHENE | E | 17.2 | 30.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59038 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.59038 |  | 0.59038 | 0 | 0