## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROPRANOLOL | 2440 | 67516LCM56 | 2014-05-17 | ng/L | 0.72185 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 52.6425 | PROPRANOLOL | . | 26.3 | 38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72185 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66328 | 0.051098 | 0.64017 | 0.09403 | 0.069704
PROPRANOLOL | 2440 | 67516LCM56 | 2014-06-11 | ng/L | 0.62782 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 105.285 | PROPRANOLOL | . | 26.3 | 66.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62782 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66328 | 0.051098 | 0.64017 | 0.09403 | 0.069704
PROPRANOLOL | 2440 | 67516LCM56 | 2014-06-28 | ng/L | 0.64017 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 52.6425 | PROPRANOLOL | . | 26.3 | 33.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64017 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66328 | 0.051098 | 0.64017 | 0.09403 | 0.069704
PROPRANOLOL | 2440 | 67516LCM56 | 2014-09-12 | ng/L | 0.55026 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 51.975 | PROPRANOLOL | . | 26.3 | 28.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55026 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.66014 | 0.081263 | 0.6719 | 0.099026 | 0.073407
PROPRANOLOL | 2440 | 67516LCM56 | 2014-10-25 | ng/L | 0.74651 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 103.95 | PROPRANOLOL | . | 26.3 | 77.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74651 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.66014 | 0.081263 | 0.6719 | 0.099026 | 0.073407
PROPRANOLOL | 2440 | 67516LCM56 | 2015-02-10 | ng/L | 0.671 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 55.44 | PROPRANOLOL | . | 26.3 | 37.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.671 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.66014 | 0.081263 | 0.6719 | 0.099026 | 0.073407
PROPRANOLOL | 2440 | 67516LCM56 | 2015-04-30 | ng/L | 0.6728 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 55.44 | PROPRANOLOL | . | 26.3 | 37.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6728 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.66014 | 0.081263 | 0.6719 | 0.099026 | 0.073407
PROPRANOLOL | 2440 | 67516LCM56 | 2014-05-21 | ng/L | 0.68766 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 105.285 | PROPRANOLOL | . | 26.3 | 72.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68766 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.6408 | 0.045643 | 0.63827 | 0.091181 | 0.067592
PROPRANOLOL | 2440 | 67516LCM56 | 2014-07-12 | ng/L | 0.63827 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 105.285 | PROPRANOLOL | . | 26.3 | 67.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63827 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.6408 | 0.045643 | 0.63827 | 0.091181 | 0.067592
PROPRANOLOL | 2440 | 67516LCM56 | 2014-10-10 | ng/L | 0.59648 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 52.6425 | PROPRANOLOL | . | 26.3 | 31.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59648 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.6408 | 0.045643 | 0.63827 | 0.091181 | 0.067592
PROPRANOLOL | 2440 | 67516LCM56 | 2014-11-04 | ng/L | 0.56988 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 56.152 | PROPRANOLOL | . | 26.3 | 32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56988 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69336 | 0.10816 | 0.7 | 0.17856 | 0.13237
PROPRANOLOL | 2440 | 67516LCM56 | 2014-12-06 | ng/L | 0.63827 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 105.285 | PROPRANOLOL | . | 26.3 | 67.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63827 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69336 | 0.10816 | 0.7 | 0.17856 | 0.13237
PROPRANOLOL | 2440 | 67516LCM56 | 2015-01-16 | ng/L | 0.76174 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 105.285 | PROPRANOLOL | . | 26.3 | 80.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76174 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69336 | 0.10816 | 0.7 | 0.17856 | 0.13237
PROPRANOLOL | 2440 | 67516LCM56 | 2015-05-07 | ng/L | 0.80353 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 105.285 | PROPRANOLOL | . | 26.3 | 84.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80353 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.69336 | 0.10816 | 0.7 | 0.17856 | 0.13237
PROPRANOLOL | 2440 | 67516LCM56 | 2015-07-09 | ng/L | 0.69367 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 39.5 | PROPRANOLOL | . | 26.3 | 27.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69367 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69367 |  | 0.69367 | 0 | 0
PROPRANOLOL | 2440 | 67516LCM56 | 2015-06-26 | ng/L | 0.6481 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 39.5 | PROPRANOLOL | . | 26.3 | 25.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6481 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63228 | 0.022377 | 0.63228 | 0.031646 | 0.023459
PROPRANOLOL | 2440 | 67516LCM56 | 2015-07-31 | ng/L | 0.61646 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 79 | PROPRANOLOL | . | 26.3 | 48.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61646 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63228 | 0.022377 | 0.63228 | 0.031646 | 0.023459
PROPRANOLOL | 2440 | 67516LCM56 | 2015-10-01 | ng/L | 0.84407 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 155.2 | PROPRANOLOL | . | 26.3 | 131 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84407 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84407 |  | 0.84407 | 0 | 0
PROPRANOLOL | 2440 | 67516LCM56 | 2015-09-10 | ng/L | 0.84051 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 79 | PROPRANOLOL | . | 26.3 | 66.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84051 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84051 |  | 0.84051 | 0 | 0
PROPRANOLOL | 2440 | 67516LCM56 | 2014-07-20 | ng/L | 0.51859 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 52.6425 | PROPRANOLOL | . | 26.3 | 27.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51859 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61737 | 0.12712 | 0.57273 | 0.2422 | 0.17954
PROPRANOLOL | 2440 | 67516LCM56 | 2014-08-21 | ng/L | 0.57273 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 105.285 | PROPRANOLOL | . | 26.3 | 60.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57273 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61737 | 0.12712 | 0.57273 | 0.2422 | 0.17954
PROPRANOLOL | 2440 | 67516LCM56 | 2015-03-11 | ng/L | 0.76079 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 105.285 | PROPRANOLOL | E | 26.3 | 80.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76079 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.61737 | 0.12712 | 0.57273 | 0.2422 | 0.17954
PROPRANOLOL | 2440 | 67516LCM56 | 2014-10-11 | ng/L | 0.63877 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 103.95 | PROPRANOLOL | . | 26.3 | 66.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63877 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66671 | 0.034498 | 0.65608 | 0.066498 | 0.049295
PROPRANOLOL | 2440 | 67516LCM56 | 2014-12-06 | ng/L | 0.65608 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 103.95 | PROPRANOLOL | . | 26.3 | 68.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65608 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66671 | 0.034498 | 0.65608 | 0.066498 | 0.049295
PROPRANOLOL | 2440 | 67516LCM56 | 2014-12-07 | ng/L | 0.70527 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 55.44 | PROPRANOLOL | . | 26.3 | 39.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70527 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66671 | 0.034498 | 0.65608 | 0.066498 | 0.049295
PROPRANOLOL | 2440 | 67516LCM56 | 2014-10-11 | ng/L | 0.59524 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 55.44 | PROPRANOLOL | . | 26.3 | 33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59524 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60466 | 0.042576 | 0.59524 | 0.083574 | 0.061952
PROPRANOLOL | 2440 | 67516LCM56 | 2015-03-10 | ng/L | 0.56758 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 103.95 | PROPRANOLOL | . | 26.3 | 59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56758 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.60466 | 0.042576 | 0.59524 | 0.083574 | 0.061952
PROPRANOLOL | 2440 | 67516LCM56 | 2015-04-10 | ng/L | 0.65115 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 55.44 | PROPRANOLOL | E | 26.3 | 36.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65115 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.60466 | 0.042576 | 0.59524 | 0.083574 | 0.061952
PROPRANOLOL | 2440 | 67516LCM56 | 2014-07-13 | ng/L | 0.53487 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 51.975 | PROPRANOLOL | . | 26.3 | 27.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53487 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57848 | 0.037817 | 0.59836 | 0.06734 | 0.049919
PROPRANOLOL | 2440 | 67516LCM56 | 2014-08-16 | ng/L | 0.59836 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 51.975 | PROPRANOLOL | . | 26.3 | 31.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59836 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57848 | 0.037817 | 0.59836 | 0.06734 | 0.049919
PROPRANOLOL | 2440 | 67516LCM56 | 2014-08-28 | ng/L | 0.60221 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 103.95 | PROPRANOLOL | . | 26.3 | 62.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60221 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57848 | 0.037817 | 0.59836 | 0.06734 | 0.049919
PROPRANOLOL | 2440 | 67516LCM56 | 2015-09-09 | ng/L | 0.77722 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 39.5 | PROPRANOLOL | . | 26.3 | 30.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77722 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.77722 |  | 0.77722 | 0 | 0
PROPRANOLOL | 2440 | 67516LCM56 | 2015-10-01 | ng/L | 0.67783 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 77.6 | PROPRANOLOL | . | 26.3 | 52.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67784 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67784 |  | 0.67784 | 0 | 0
PROPRANOLOL | 2440 | 67516LCM56 | 2015-07-31 | ng/L | 0.83376 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 77.6 | PROPRANOLOL | . | 26.3 | 64.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83376 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83376 |  | 0.83376 | 0 | 0