## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
QUININE | 2440 | 68011LCM56 | 2014-05-17 | ng/L | 0.58285 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 160.4175 | QUININE | E | 79.9 | 93.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58285 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.59948 | 0.02614 | 0.58597 | 0.046753 | 0.034658
QUININE | 2440 | 68011LCM56 | 2014-06-11 | ng/L | 0.58597 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 320.835 | QUININE | E | 79.9 | 188 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58597 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.59948 | 0.02614 | 0.58597 | 0.046753 | 0.034658
QUININE | 2440 | 68011LCM56 | 2014-06-28 | ng/L | 0.62961 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 160.4175 | QUININE | E | 79.9 | 101 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62961 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.59948 | 0.02614 | 0.58597 | 0.046753 | 0.034658
QUININE | 2440 | 68011LCM56 | 2014-09-12 | ng/L | 0.50556 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 160.4175 | QUININE | . | 79.9 | 81.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50556 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.5254 | 0.14655 | 0.55667 | 0.21738 | 0.16114
QUININE | 2440 | 68011LCM56 | 2014-10-25 | ng/L | 0.60779 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 320.835 | QUININE | . | 79.9 | 195 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60779 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.5254 | 0.14655 | 0.55667 | 0.21738 | 0.16114
QUININE | 2440 | 68011LCM56 | 2015-02-10 | ng/L | 0.32786 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 171.112 | QUININE | . | 79.9 | 56.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.32786 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.5254 | 0.14655 | 0.55667 | 0.21738 | 0.16114
QUININE | 2440 | 68011LCM56 | 2015-04-30 | ng/L | 0.66039 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 171.112 | QUININE | . | 79.9 | 113 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66039 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.5254 | 0.14655 | 0.55667 | 0.21738 | 0.16114
QUININE | 2440 | 68011LCM56 | 2014-05-30 | ng/L | 0.62961 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 160.4175 | QUININE | E | 79.9 | 101 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62961 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.72415 | 0.092058 | 0.72935 | 0.1839 | 0.13632
QUININE | 2440 | 68011LCM56 | 2014-06-22 | ng/L | 0.8135 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 320.835 | QUININE | E | 79.9 | 261 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8135 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.72415 | 0.092058 | 0.72935 | 0.1839 | 0.13632
QUININE | 2440 | 68011LCM56 | 2014-07-13 | ng/L | 0.72935 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 160.4175 | QUININE | E | 79.9 | 117 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72935 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.72415 | 0.092058 | 0.72935 | 0.1839 | 0.13632
QUININE | 2440 | 68011LCM56 | 2014-10-10 | ng/L | 0.71698 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 159 | QUININE | . | 79.9 | 114 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71698 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55241 | 0.19324 | 0.60063 | 0.37736 | 0.27973
QUININE | 2440 | 68011LCM56 | 2014-11-04 | ng/L | 0.33962 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 169.6 | QUININE | E | 79.9 | 57.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33962 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.55241 | 0.19324 | 0.60063 | 0.37736 | 0.27973
QUININE | 2440 | 68011LCM56 | 2015-02-06 | ng/L | 0.60063 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 318 | QUININE | . | 79.9 | 191 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60063 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55241 | 0.19324 | 0.60063 | 0.37736 | 0.27973
QUININE | 2440 | 68011LCM56 | 2015-07-30 | ng/L | 0.60594 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 237.6492 | QUININE | E | 79.9 | 144 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60594 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.50957 | 0.13627 | 0.50957 | 0.19272 | 0.14286
QUININE | 2440 | 68011LCM56 | 2015-08-11 | ng/L | 0.41321 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 118.8246 | QUININE | E | 79.9 | 49.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41321 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.50957 | 0.13627 | 0.50957 | 0.19272 | 0.14286
QUININE | 2440 | 68011LCM56 | 2015-07-09 | ng/L | 0.76836 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 118.8246 | QUININE | . | 79.9 | 91.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76836 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76836 |  | 0.76836 | 0 | 0
QUININE | 2440 | 68011LCM56 | 2015-06-09 | ng/L | 0.48138 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 118.8246 | QUININE | . | 79.9 | 57.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48138 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.48138 |  | 0.48138 | 0 | 0
QUININE | 2440 | 68011LCM56 | 2015-09-10 | ng/L | 0.78283 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 237.6 | QUININE | . | 79.9 | 186 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78283 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78283 |  | 0.78283 | 0 | 0
QUININE | 2440 | 68011LCM56 | 2014-07-20 | ng/L | 0.51509 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 159 | QUININE | E | 79.9 | 81.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51509 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.65388 | 0.22371 | 0.53459 | 0.39686 | 0.29418
QUININE | 2440 | 68011LCM56 | 2014-08-21 | ng/L | 0.53459 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 318 | QUININE | E | 79.9 | 170 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53459 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.65388 | 0.22371 | 0.53459 | 0.39686 | 0.29418
QUININE | 2440 | 68011LCM56 | 2015-03-11 | ng/L | 0.91195 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 318 | QUININE | . | 79.9 | 290 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91195 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.65388 | 0.22371 | 0.53459 | 0.39686 | 0.29418
QUININE | 2440 | 68011LCM56 | 2014-10-11 | ng/L | 0.81132 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 318 | QUININE | . | 79.9 | 258 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81132 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66274 | 0.16755 | 0.69575 | 0.33019 | 0.24477
QUININE | 2440 | 68011LCM56 | 2014-12-06 | ng/L | 0.48113 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 318 | QUININE | . | 79.9 | 153 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48113 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66274 | 0.16755 | 0.69575 | 0.33019 | 0.24477
QUININE | 2440 | 68011LCM56 | 2014-12-07 | ng/L | 0.69575 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 169.6 | QUININE | . | 79.9 | 118 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69575 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.66274 | 0.16755 | 0.69575 | 0.33019 | 0.24477
QUININE | 2440 | 68011LCM56 | 2014-08-30 | ng/L | 0.62013 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 159 | QUININE | . | 79.9 | 98.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62013 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.62013 |  | 0.62013 | 0 | 0
QUININE | 2440 | 68011LCM56 | 2014-10-24 | ng/L | 0.56805 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 171.112 | QUININE | . | 79.9 | 97.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56805 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57688 | 0.095372 | 0.56805 | 0.19013 | 0.14094
QUININE | 2440 | 68011LCM56 | 2014-12-07 | ng/L | 0.48623 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 320.835 | QUININE | . | 79.9 | 156 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48623 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57688 | 0.095372 | 0.56805 | 0.19013 | 0.14094
QUININE | 2440 | 68011LCM56 | 2015-03-10 | ng/L | 0.67636 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 320.835 | QUININE | . | 79.9 | 217 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67636 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.57688 | 0.095372 | 0.56805 | 0.19013 | 0.14094
QUININE | 2440 | 68011LCM56 | 2015-04-29 | ng/L | 0.89308 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 318 | QUININE | . | 79.9 | 284 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89308 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89308 |  | 0.89308 | 0 | 0
QUININE | 2440 | 68011LCM56 | 2015-10-01 | ng/L | 1.3363 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 475.2 | QUININE | E | 79.9 | 635 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3363 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3363 |  | 1.3363 | 0 | 0
QUININE | 2440 | 68011LCM56 | 2015-10-01 | ng/L | 1.1785 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 118.8 | QUININE | E | 79.9 | 140 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1785 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1785 |  | 1.1785 | 0 | 0
QUININE | 2440 | 68011LCM56 | 2015-07-31 | ng/L | 0.77846 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 237.6492 | QUININE | E | 79.9 | 185 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77846 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.77846 |  | 0.77846 | 0 | 0
QUININE | 2440 | 68011LCM56 | 2014-04-23 | ng/L | 0.75155 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 161 | QUININE | E | 79.9 | 121 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75155 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.75155 |  | 0.75155 | 0 | 0